## Slide 1: QMWG Update to WMS
S. Looney
July 9, 2014

## Slide 2: WMS Assignments
Review of SASM Performance post June 1, 2014 NPRR589 implementation – No SASMs since June 1.
GREDP Report – Resource performance continues to be within normal limits.
NPRR595, RRS Load Treatment in ORDC
  Relevant discussions in Loads in SCED DSWG subgroup
  Will be addressed through system change for implementation of OFF10/OFF30 ORDC capacity payment
ERCOT request for temperature operating limits on WGRs
  Effort is to improve forecasting only
  ERCOT has submitted RRGRR003, Resource Registration Glossary Revision Request, specifying changes and requests WGR entities to submit comments on the requested data
  Looking for temperature and wind speed shutdown set points.
  RRGRR003 will be taken up by ROS for recommendation to TAC

## Slide 3: WMS Assignments
AS RUC Process
  Reviewed ERCOT draft NPRR clarifying AS RUC and assignment process
  If a Resource is RUC’d for AS:
    If Resource opts out, there is no provision for entering an AS award in the settlements system but the Resource would reserve capacity for the AS and receive the ORDC payment for online capacity
    If the Resource does not opt out, would be settled with make-whole for RUC. Revisions to this may be considered by the RUC Task Force.
  If a previously committed online Resource is assigned AS:
    No provision for paying for the AS
    Would probably be most cost effective to have a provision for an ADR to compensate for lost opportunity cost. Explicit Protocol language needed for this? Also want a report of this for market transparency.

## Slide 4: WMS Assignments
ORDC oscillation bandwidth for RTOFFCAP set to zero – No data to review yet, continue to monitor
New Generation Commissioning checklist – No update, expecting version with latest ERCOT comments.
Impact of Emergency Base Points on LMPs – Will review manual overrides before next meeting to estimate impact.
HSL treatment for CCGRs providing RRS – ERCOT expects project start soon for implementation of NPRR 524, 527 and will work with CCGRs with power augmentation through the FAST NPRR process.