## Slide 1: PLWG Report to ROS
July 10, 2014

## Slide 2: ERCOT Planning Process Reviews
Planning Guide 6.9
  ERCOT had questions about the attestation required from Interconnecting Entities (IEs) not required to obtain air or water permits
  ERCOT legal is reviewing the attestation will recommend either changing the Planning Guide language in section 6.9 or changing the attestation
Review scaling methodologies in Planning Studies
White Paper documenting CDR and Planning Study model differences

## Slide 3: PGRR036, Planning Market Data Transparency
PGRR will move all data on the ERCOT Planning and Operations (POI) site to the ERCOT MIS site.
Digital Certificate will be required to gain access to the ERCOT MIS site.
PLWG was in consensus to endorse and forward the 4/23/14 PLWG Report as revised by PLWG and the revised Impact Analysis for PGRR036 to ROS

## Slide 4: PGRR038, Require ERCOT to Report Circuits Loaded Above 95% of Their Facility Rating
PGRR038 was submitted by ERCOT to address concerns raised by the BOD on PGRR031
PGRR038 memorializes the discretion that the BOD believes Planners have when considering transmission projects
PGRR038 requires ERCOT to report circuits loaded above 95% of their facility ratings
No PLWG consensus, but good discussion and the following 3 options are for ROS consideration

## Slide 5: PGRR038, Require ERCOT to Report Circuits Loaded Above 95% of Their Facility Rating
Option 1 – as submitted and revised by PLWG
  ERCOT shall include in the Regional Transmission Plan Report a list of Transmission Facilities that are loaded above 95% of their applicable Ratings for the following conditions:
    (a) Normal system conditions; or
    (b) Following the contingency loss of a single generating unit, transmission circuit, transformer, or common tower outage.

## Slide 6: PGRR038, Require ERCOT to Report Circuits Loaded Above 95% of Their Facility Rating
Option 2 – as submitted and revised by PLWG (leave the percentage open for yearly discussion)
  ERCOT shall include in the Regional Transmission Plan Report a list of Transmission Facilities that are loaded above a percentage of their applicable rating, such as 95%. The percentage will be determined by ERCOT in coordination with the RPG and will be included in the Regional Transmission Plan Report. The analysis will be performed for the following conditions:
    (a) Normal system conditions; or
    (b) Following the contingency loss of a single generating unit, transmission circuit, transformer, or common tower outage.

## Slide 7: PGRR038, Require ERCOT to Report Circuits Loaded Above 95% of Their Facility Rating
Option 3 – no changes necessary, keep the Planning Guide language as is, without PGRR038.

## Slide 8: ROS Direction Regarding Review of Constrained Generation
PLWG has reviewed Generation Deliverability issues for several months and recommends including criteria in Section 4 of the Planning Guides to address generation deliverability in peak load conditions