Operations Working Group Meeting

Wednesday, 6/25/14

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | Bob Temple – WETT |
| --- | --- |
| Michael Cruz-Montes – CenterPoint Energy | Brenda Hampton – Luminant |
| Kevin Morley – CenterPoint Energy | Stephen Solis – ERCOT |
| Brad Collard – ERCOT | David Penney – Texas RE |
| Kelly Blackmer – ERCOT | Matt Carter – Garland Power & Light |
| Camden White – ERCOT | Chad Thompson – ERCOT |
| Agee Springer – ERCOT | Taylor Woodruff – Oncor |
| Jerry Willms – Lone Star Transmission Jimmy Hartmann – ERCOT Stacy Wozny – ERCOT Patrick Peters – ERCOT | Lei Ye – Austin Energy Gene Lowrie – ERCOT David Turner – Lone Star Jeff Healy – ERCOT |

Dial-In Attendees:

| Greg Froehling – Rayburn Electric Robert Bailey – NRG Tony Kroskey – Brazos Linda Rodriguez – AEP | Sherry Looney – Luminant Lisa Martin – Austin Energy Tina Garvey – Austin Energy |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:40 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

NOGRR129, Implement Operational Preparedness for Geomagnetic Disturbances (Vote) ROS Approved. OWG reviewed this NOGRR at 11:13. OWG recommended to submit comments to TAC in regards to changing the effective date to November 1, 2014.

- May OWG Meeting Notes

Reviewed notes with minor changes from Frank Owens.

- NOGRR Reviews

- 131NOGRR Clarification for Generation Resource during an EEA. This Nodal Operating Guide Revision Request (NOGRR) clarifies language that when ERCOT is in an Energy Emergency Alert (EEA), Qualified Scheduling Entities (QSEs) must receive authorization from ERCOT prior to manually removing an On-Line Resource. [ERCOT] IA Review. IA was reviewed, no comments were added since last review. OWG recommended 131NOGRR to ROS.

- 132NOGRR Automatic Under Voltage and Under Frequency Load Shedding Protection Systems Load Restoration. This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT] Language Review. Language was reviewed by ERCOT personnel. Several questions related to UVLS restoration were fielded. Related language was also reviewed by OWG. Language in section 5 was revised to reflect that Loads will be restored when specifically authorized by ERCOT. OWG tabled the NOGRR pending further discussions and revisions with ERCOT.

- 134NOGRR Posting Process for Black Start Plans. This NOGRR clarifies the responsibility of ERCOT to post the ERCOT Black Start plan on the Market Information System (MIS) Certified Area for Transmission Operators (TO) and post TOs’ new or revised Black Start plans on the MIS Certified Area for specified Market Participants. [ERCOT] Language Review. Language background and content was reviewed by ERCOT personnel. Questions were answered. OWG approved of the language and NOGRR will return next month to OWG for IA.

- Monthly Operations Report

Reviewed the report; two questions were answered.

- Operations Task Force

ERCOT personnel presented the results of the recent hurricane drill. Several questions were answered.

- Texas RE Update Report

Overview of standard updates was presented. No questions were asked.

- System Operations Report

No new items this month.

- Seminar Task Force Report

ERCOT personnel presented the results of the 2014 OTS.

- Other

ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. ERCOT Isabell is reviewing language submitted by Walter! No update on ROS directive.

Possible review of draft NPRR and NOGRR on Voltage Control Requirements. OWG reviewed the NPRR and stopped at 3.15.2 on DSP and Resource Entity (within a Private Use Network) Responsibilities Related to Voltage Support.

Update on EEA Workshop: ERCOT will update next meeting.

TWG Presentation – ERCOT Kelly Blackmer gave a presentation on the newly proposed Trainers Working Group. OWG members were supportive.

- Future Meeting Date

Tuesday July 22nd, 2014