## Introduction
2010-09-10 | through | 2014-06-30
The HAN Interoperability Scorecard contains information regarding HAN devices that have passed testing at a particular TDSP. Scorecards are updated monthly and filed with each TDSP's Commission report. Each scorecard contains the device name, version, meter firmware version, device configuration and date tested. Devices that are in testing or have failed testing are not on this list.

## Acronyms
Device Type
GW | Gateway
IHD | In Home Display
LCS | Load Control Switch
PCT | Programmable Communicating Thermostat
Docket Numbers
36699 | Centerpoint
Located at:
http://interchange.puc.state.tx.us/WebApp/Interchange/application/dbapps/filings/pgSearch.asp

## AEP
Texas HAN Device Test Report As of 2014-06-30
TDSP | HAN Manufacturer | Product | Device Type | HAN Device Firmware | Meter Configuration | Date Device Tested | Remarks
AEP | Tendril | IHD-5 | IHD | 1.11 | Module 6.11/ZigBee 1.07.03 | 2011-04-01
AEP | L+G | ecoMeter P250 | IHD | 1.017aA | Module 6.11/ZigBee 1.07.03 | 2011-04-01
AEP | Honeywell | HED | IHD | Display: 10073OHO Radio: STD0120 Boot: 100210BL | Module 6.11/ZigBee 1.07.03 | 2011-04-01
AEP | Rainforest | EMU | IHD | HW: RFA-Z105 SW: 1.2.9 | Module 6.11/ZigBee 1.07.03 | 2011-06-01
AEP | Rainforest | RAVEn | IHD | HW: 2.3.9 SW: 1.2.10 | Module 6.11/ZigBee 1.07.03 | 2011-06-01
AEP | Tendril | IHD-5 | IHD | 1.12.1v7882 | Module 6.17/ZigBee 1.07.03 | 2011-08-01
AEP | EnergyHub | Home Base | IHD | MMB Mod: 1.10.16 | Module 6.17/ZigBee 1.07.03 | 2011-10-01
AEP | Energate | Pioneer 2 | PCT | ZB 1.2.24 | Module 6.17/ZigBee 1.07.03 | 2011-10-01
AEP | Energate | LC301Z | LCS | RM SW:1.5.12 | Module 6.11/ZigBee 1.07.03 | 2012-01-01
AEP | Radio Thermostat of America | CT80 Rev B1 | PCT | RM FW: 1.5.01x PCT FW: 1.0 | Module 6.15/ZigBee 1.07.03 | 2012-03-01
AEP | HAI | v14.21-TX | IHD | v14.22 | Module 7.55/ZigBee 2.02.11 Module 7.55/ZigBee 2.00.01 | 2012-06-01
AEP | Aztech | In-Home Display | IHD | HW: 435.60.07 DF: 1.2-16777216 ZIgBee: 1.10 BFW: 19 AI: 3F81 | Module 7.55/ZigBee 2.02.11 Module 7.55/ZigBee 2.00.01 | 2012-07-01
AEP | Schneider Electric | EER42200 | LCS | x13.25 | Module 7.55/ZigBee 2.02.11 Module 7.55/ZigBee 2.00.01 | 2012-08-01
AEP | Rainforest | EMU2 | IHD | HW: 1.1.7 FW: 1.4.0 (4241) | Module 7.55/ZigBee 2.02.11 Module 7.55/ZigBee 2.00.01 | 2012-08-01
AEP | JetLun | IHD RD77723 | IHD | FW: 1.5.2.24 | Module 9.10/ZigBee 2.02.29 | 2014-05-01
Note on A2: Transmission and Distribution Service Provider
Note on B2: The Manufacturer of the HAN Device
Note on C2: Manufacturer product name
Note on D2: GW: Gateway PCT: Programmable Communicating Thermostat IHD: In Home Device LCS: Load Control SMA: Smart Appliance RXT: Range Extender
Note on E2: Firmware version of the HAN Device
Note on F2: Configuration of the meter. Note that TDSPs have differences in their AMI and meter configurations.

## CNP
Texas HAN Device Test Report As of 2014-06-30
TDSP | HAN Manufacturer | Product | Device Type | HAN Device Firmware | Meter Configuration | Date Device Tested | Remarks
CNP | Aztech | In-Home Display | IHD | 4.1.22b | SR3.0.231 and SR3.7 | 2012-06-29
CNP | Aztech | In-Home Display | IHD | 4.1.23 | SR3.0.231 and SR3.7 | 2013-08-09
CNP | Carrier | Comfort Choice | PCT | 05.02.10 | SR3.0.231 and SR3.7 | 2012-07-12
CNP | Ceiva | Energy Frame | IHD | C508en-5007 | SR3.0.231 and SR3.7 | 2012-06-22
CNP | Comverge | Power Portal | IHD | 1.16 | SR3.0.221 | 2010-09-29
CNP | Control4 | EC100 | IHD | 2.0705.1.109518 | SR3.0.221 | 2011-06-01
CNP | Digi | ConnectPort X2e SE | GW | 3.2.0.16 | SR3.0.231 and SR3.7 | 2013-12-07
CNP | EcoBee | Smart Si Thermostat | PCT | 3.1.0.621 | SR3.0.231 and SR3.7 | 2012-09-04
CNP | EcoBee | Smart Si Thermostat | PCT | 3.3.0.508 | SR3.0 | 2013-08-01
CNP | EcoBee | Smart Stat | PCT | 3.3.0.507 | SR3.0 | 2013-08-01
CNP | Emerson | evolv | PCT | 700709v12 | SR3.0.231 and SR3.7 | 2012-07-24
CNP | Emerson | evolv | PCT | 600299v06 | SR3.0.231 | 2013-06-28
CNP | Energate | Energate LCS | LCS | 1.2.59 | SR3.0.221 | 2010-09-29
CNP | Energate | Pioneer Series | PCT | 2.2.0.0 | SR3.0.231 and SR3.7 | 2012-07-06
CNP | Energate | Pioneer 2 | PCT | 2.2.0.7 | SR3.0.231 and SR3.7 | 2013-09-23
CNP | Energate | Foundation FZ100 | PCT | 3.3.6.0 | SR3.0.231 and SR3.7 | 2013-09-23
CNP | Energate | Foundation FZ100 | PCT | 3.4.11.0 | SR3.0.231 and SR3.7 | 2013-11-01
CNP | Energate | Model 1202 | LCS | 9907 008 | SR3.0.231 and SR3.7 | 2013-09-23
CNP | Energy Hub | Home Base | IHD | 2.3.1.6 | SR3.0.231 | 2012-02-29
CNP | General Electric | Energy Display | IHD | V.1.4.8-111014 | SR3.0.231 and SR3.7 | 2012-06-29
CNP | General Electric | Nucleus | GW | 1.2.27-110902 | SR3.0.221 | 2011-12-02
CNP | HAI | In Home Display | IHD | V14.20-TX | SR3.0.231 and SR3.7 | 2012-06-29
CNP | HAI | Omnistat 2 | PCT | 1.05-ZSE-V14.20-TX | SR3.0.231 and SR3.7 | 2012-07-12
CNP | Intelligy | Intelligy 9D6 | IHD | V02.06 | SR3.0.231 | 2012-02-29
CNP | JetLun | Meter Bridge | GW | 1.6.2.13 | SR3.0.231 | 2013-06-03
CNP | JetLun | In Home Display | IHD | CPU 1.5.2.12 | SR3.0.231 | 2013-06-03
CNP | JetLun | Appliance Module | LCS | 0302000D | SR3.7 | 2013-06-17
CNP | JetLun | Appliance Module Plus | LCS | 0D000002_01.s19 | SR3.0.231 | 2013-06-28
CNP | LS Research (Honeywell) | Rate$aver | IHD | 100730 | SR3.0.221 | 2011-06-01
CNP | Onzo | Onzo In Home Display | IHD | v0.8.5252 | SR3.0.231 | 2012-03-26
CNP | Rainforest | Eagle | GW | 1.4.30 | SR3.0.231 | 2014-01-08
CNP | Rainforest | EMU | IHD | 1.3.7 | SR3.0.231 and SR3.7 | 2012-07-11
CNP | Rainforest | EMU-2 | IHD | 1.4.0 | SR3.0.231 and SR3.7 | 2012-07-18
CNP | Rainforest | Raven | IHD | 1.3.7 | SR3.0.231 and SR3.7 | 2012-07-05
CNP | Tendril | Insight | IHD | 1.12.1v9910 | SR3.0.231 and SR3.7 | 2012-06-19
CNP | Tendril | Setpoint TST-7 | PCT | 1.10.0d20804 | SR3.0.221 | 2010-11-10
CNP | Tendril | Volt | LCS | 1.10.2d6295 | SR3.0.221 | 2010-11-10
CNP | Wireless Glue | SmartLook | IHD | SL-B-wgnv2.6 6/30/12 | SR3.0.231 and SR3.7 | 2012-07-20
Note on A2: Transmission and Distribution Service Provider
Note on B2: The Manufacturer of the HAN Device
Note on C2: Manufacturer product name
Note on D2: GW: Gateway PCT: Programmable Communicating Thermostat IHD: In Home Device LCS: Load Control SMA: Smart Appliance RXT: Range Extender
Note on E2: Firmware version of the HAN Device
Note on F2: Configuration of the meter. Note that TDSPs have differences in their AMI and meter configurations.

## TNMP
Texas HAN Device Test Report As of 2014-06-30
TDSP | HAN Manufacturer | Product | Device Type | HAN Device Firmware | Meter Configuration | Date Device Tested | Remarks
TNMP | Energate | Z100 P2 Theromostat | PCT | 2.2.0.0 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Carrier | Comfort Choice Touch Thermostat | PCT | 5.2.10 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Emerson | EE542-1Z Thermostat | PCT | 700709v12 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | HAI | RC 2000 Omnistat 2 | PCT | 1.05-ZSE-V14.20-TX | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | HAI | 81A00-1WHSHP IHD | IHD | 14.2 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Wireless Glue | Smartlook | IHD | SL-B-wgnv2.6 6/30/12 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Rainforest | EMU | IHD | HW: RFA-Z105 SW: 1.2.9 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Rainforest | EMU 2 | IHD | 1.1.7 FW: 1.4.0 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Rainforest | RAVEN | HID (USB) | 2.3.9 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Aztec | In Home Display | IHD | 4.1.22b | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Tendril | IHD-5-002-102 | IHD | 1.12.1v7882 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Cevia | Energy Frame | IHD | C508en-5007 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Control4 | EC-100 | IHM | 2.0705.3.151827 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | GE | Energy Display | IHD | 1.41 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Nest | Learning Thermostat | PCT | 3.0.5 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
TNMP | Jet Lun | In Home Display | IHD | 1.5.2.12 | GE I210+C 2G/04.08.00 GE I210+C 3G/14.11.80 | 2014-01-27
Note on A2: Transmission and Distribution Service Provider
Note on B2: The Manufacturer of the HAN Device
Note on C2: Manufacturer product name
Note on D2: GW: Gateway PCT: Programmable Communicating Thermostat IHD: In Home Device LCS: Load Control SMA: Smart Appliance RXT: Range Extender
Note on E2: Firmware version of the HAN Device
Note on F2: Configuration of the meter. Note that TDSPs have differences in their AMI and meter configurations.

## ONCOR
Texas HAN Device Test Report As of 2014-06-30
TDSP | HAN Manufacturer | Product | Device Type | HAN Device Firmware | Meter Configuration | Date Device Tested | Remarks
Oncor | JetLun | Appliance Module | LCS | Ver.02-03 | 5.67,1.6.9 | 2013-11-12
Oncor | Rainforest Automation | Eagle | GW | HW: 3.2.3 FW: 1.4.27 (5278) | 5.67,1.6.9 | 2013-06-24
Oncor | Rainforest | EMU2 | IHD | 1.1.7 | 5.67,1.6.9 | 2012-08-07
Oncor | Energate | Z100P2 | PCT | OS000640, 2.1, 2.2.0.0, 09/12/2011, 1.2-D5F2 | 5.67,1.6.9 | 2012-08-06
Oncor | Emerson | Evolv Smart Energy 1.x | PCT | 700709 v 06 | 5.67,1.6.9 | 2012-07-11
Oncor | Rainforest Automation | Raven USB | IHD | 1.2.9 | 5.67,1.6.9 | 2012-06-27
Oncor | Rainfores Automation | RFA-Z105-RA EMU | IHD | 3.6.1-006E | 5.67,1.6.9 | 2012-06-26
Oncor | Aztec | In-Home Display | IHD | 4.1.22b | 5.67,1.6.9 | 2012-06-18
Oncor | GE | Energy Display | IHD | V.1.4.8-111014 | 5.67,1.6.9 | 2012-06-18
Oncor | Tendril | Insight | IHD | 1.12.1 v 9910 | 5.67,1.6.9 | 2012-06-13
Oncor | Wireless Glue | Smartlook (CFU0288) | IHD | SL-B-wgnv2.6 5/30/2012 | 5.67,1.6.9 | 2012-06-13
Oncor | Computime | CTL 3082 | IHD | AEP3081-V1-20120313INST | 5.67,1.6.9 | 2012-05-30
Oncor | GE | Energy Display | IHD | 1.4.7 | 5.67,1.6.9 | 2012-02-24
Oncor | Computime | EmberZNet CTW308 | IHD | CTW3082-V1-151110X1INST | 5.65,1.6.9 | 2012-01-30
Oncor | Comverge | PowerPortal | IHD | v1.1.5r1113-G | 5.67,1.6.9 | 2012-01-30
Oncor | GE | Nucleus | GW | 1.2.27 (Appliance Module AGB.357.PA.1.0) | 5.67,1.6.9 | 2012-01-05
Oncor | GE | Nucleus | GW | 1.2.27 | 5.67,1.6.9 | 2011-10-20
Oncor | GE | Energy Display | IHD | 1.4.4 | 5.67,1.6.9 | 2011-10-20
Oncor | GE | Nucleus | GW | 1.2.23 (IHD 1.4.0; PCT 1408) | 5.67,1.6.9 | 2011-10-10
Oncor | Digi | ConnectPort X2 ESP | GW |  | 5.67,1.6.9 | 2011-09-27
Oncor | Computime |  | PCT | CTL2182d31209T02P3520 | 5.67,1.6.9 | 2011-09-06
Oncor | GE | Nucleus | GW | 1.2.23 | 5.67,1.6.9 | 2011-08-20
Oncor | Energate | Z100 | PCT | HW 1.3; SW 1.8.6 | 5.67,1.6.9 | 2011-08-10
Oncor | Energate | Z100 | PCT |  | 5.65,1.6.9 | 2011-08-09
Oncor | GE | Energy Display | IHD | 1.3.1 | 5.67,1.6.9 | 2011-08-04
Oncor | EnergyAware | PowerTab | IHD | 2.0 | 5.65,1.6.9 | 2011-04-10
Oncor | AzTech | In-Home Display | IHD | 4.1.13 | 5.65,1.6.9 | 2011-02-01
Oncor | Computime |  | PCT | CTL2182d31209T02P3520 | 5.65,1.6.9 | 2011-01-30
Oncor | Ecobee | 1 | PCT | V1.6.0.325 | 5.65,1.6.9 | 2011-01-30
Oncor | Comverge | PowerPortal | IHD | v1.1.5r1113-G | 5.65,1.6.9 | 2011-01-10
Oncor | Comverge | SuperStat Pro | PCT |  | 5.65,1.6.9 | 2011-01-10
Oncor | Comverge | PowerPortal | IHD | v1.1.5r1113-G | 5.19,1.5.2 | 2010-10-29
Oncor | Comverge | SuperStat Pro | PCT |  | 5.19,1.5.2 | 2010-10-29
Oncor | Ecobee | EB-Stat-01 | PCT | V1.6.0.314 | 5.65,1.6.9 | 2010-10-29
Oncor | Energate | Z100 | PCT |  | 5.19,1.5.2 | 2010-10-29
Oncor | GE | Energy Display | IHD | V.1.4.0-110729 | 5.67,1.6.9 | 2011-10-10
Oncor | Honeywell | Home Energy Display | IHD | HW Rev E; Display 100730H0. Radio STD0120. Boot 100210BL | 5.65,1.6.9 | 2011-01-15
Oncor | Honeywell | Home Energy Display | IHD | Disp. FW 100730H0, Radio FW STD0120, Boot FW 100210BL | 5.67,1.6.9 | 2011-11-15
Oncor | Landis+Gyr | EcoMeter | IHD | 5276_20100427_v01.017aA | 5.19,1.5.2 | 2010-10-29
Oncor | Landis+Gyr | EcoMeter | IHD | 5276_20100427_v01.017aA | 5.65,1.6.9 | 2010-10-29
Oncor | LS Research | Rate$aver | IHD | HW Rev E; Display 100210ST. Radio STD0120. Boot 100210BL | 5.65,1.6.9 | 2010-10-29
Oncor | Rainforest Automation | Energy Monitoring Unit | IHD | 1.1.3 | 5.65,1.6.9 | 2010-12-15
Oncor | Rainforest Automation | RFA-Z105 | IHD | 1.2.9 | 5.67,1.6.9 | 2011-08-31
Oncor | Rainforest Automation | Energy Monitoring Unit | IHD | 1.2.5 | 5.67,1.6.9 | 2011-08-15
Oncor | Schneider | Wiser IHD EER20100 | IHD | 10.01 | 5.67,1.6.9 | 2011-11-23
Oncor | Tendril | Transport | GW | 2.1.1d8019 | 5.67,1.6.9 | 2012-01-31
Oncor | Tendril | Transport | GW | 1.11.0 | 5.65,1.6.9 | 2011-01-31
Oncor | Tendril | Transport | GW | 2.3.0v9071_ECC_TND | 5.67,1.6.9 | 2011-02-28
Oncor | Tendril | Insight | IHD | 1.10.2 | 5.65,1.6.9 | 2010-10-29
Oncor | Tendril | Insight | IHD | 1.11.0 | 5.65,1.6.9 | 2011-01-31
Oncor | Tendril | Insight | IHD | 2.1.0v7923 | 5.67,1.6.9 | 2012-01-31
Oncor | Tendril | Insight | IHD | 2.3.0v9242 | 5.67,1.6.9 | 2011-02-28
Oncor | Tendril | Volt | LCS | 1.10.2 | 5.65,1.6.9 | 2010-10-29
Oncor | Tendril | Volt | LCS | 1.11.0 | 5.65,1.6.9 | 2010-01-31
Oncor | Tendril | Setpoint | PCT | 2.3.0v9397 | 5.67,1.6.9 | 2011-02-28
Oncor | Tendril | REX-4 | RXT | 1.10.2 | 5.65,1.6.9 | 2011-01-31
Oncor | Tendril | REX-4 | RXT | 1.11.0 | 5.65,1.6.9 | 2011-01-31
Oncor | Wireless Glue | Smartlook A | IHD | v2.3 | 5.65,1.6.9 | 2011-01-03
Note on A2: Transmission and Distribution Service Provider
Note on B2: The Manufacturer of the HAN Device
Note on C2: Manufacturer product name
Note on D2: GW: Gateway PCT: Programmable Communicating Thermostat IHD: In Home Device LCS: Load Control SMA: Smart Appliance RXT: Range Extender
Note on E2: Firmware version of the HAN Device
Note on F2: Configuration of the meter. Note that TDSPs have differences in their AMI and meter configurations.