- Section 4:

NOGRR131 – Clarification for Generation Resources During an EEA

This Nodal Operating Guide Revision Request (NOGRR) clarifies language that when ERCOT is in an Energy Emergency Alert (EEA), Qualified Scheduling Entities (QSEs) must receive authorization from ERCOT prior to manually removing an On-Line Resource.

Revised Section:  4.5.3.2