| NPRR Number | 593 | NPRR Title | Clarification of Generic Transmission Limit Posting Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 31, 2014 |  |  |
| Proposed Effective Date |  | September 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | 2.1, Definitions 2.2, Acronyms and Abbreviations 3.10.7.6, Modeling of Generic Transmission Limits |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) creates and defines the term “Generic Transmission Constraint” (GTC) to distinguish between the transmission constraint itself and the value of the transmission constraint’s Generic Transmission Limit (GTL); and modifies the definition of GTL to be consistent with this clarification. This NPRR also clarifies the posting requirements for GTCs and GTLs, as current Protocol language does not specify what GTC- or GTL-related information should be posted on the Market Information System (MIS). In practice, ERCOT posts only the predicted GTL values based on its Day-Ahead analysis. ERCOT has not posted background details on the GTCs it currently uses, given that they are artifacts of the Zonal market and are considered common knowledge; however as additional GTCs are added to the ERCOT system, it is important that the details behind a GTL and its derivation are made transparent to the market before the GTC goes into service. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR593 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 1/24/14, NPRR593 and an Impact Analysis were posted. - On 2/13/14, PRS considered NPRR593. - On 3/6/14, ROS comments were posted. - On 4/9/14, WMS comments were posted. - On 5/22/14, Luminant comments were posted. - On 6/6/14, a second set of WMS comments were posted. - On 6/11/14, PRS again considered NPRR593. - On 7/17/14, PRS considered the 6/11/14 PRS Report and Impact Analysis for NPRR593. - On 7/31/14, TAC considered NPRR593. |  |  |
| PRS Decision |  | On 2/13/14, PRS unanimously voted to table NPRR593 and to refer the issue to ROS and WMS. All Market Segments were present for the vote. On 6/11/14, PRS unanimously voted to recommend approval of NPRR593 as amended by the 5/22/14 Luminant comments. All Market Segments were present for the vote. On 7/17/14, PRS unanimously voted to endorse and forward the 6/11/14 PRS Report and Impact Analysis for NPRR593 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/13/14, there was no discussion. On 6/11/14, there was no discussion. On 7/17/14, there was no discussion. |  |  |
| TAC Decision |  | On 7/31/14, TAC unanimously voted to recommend approval of NPRR593 as recommended by PRS in the 7/17/14 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/31/14, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR593. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | Improved transparency regarding GTC and GTL derivation and use. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments | Improved ERCOT and Transmission Service Provider (TSP) reporting of GTCs, GTLs and interface constraints. |  |
| Credit Implications | No |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Chad Thompson |
| E-mail Address | Chad.Thompson@ercot.com |
| Company | ERCOT |
| Phone Number | 512.248.6508 |
| Cell Number | 512.750.3476 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 030614 | Endorsed NPRR593 as submitted. |
| WMS 040914 | Recommended PRS table NPRR593 for one month. |
| Luminant 052214 | Proposed to clarify that GTCs would be used in Security-Constrained Economic Dispatch (SCED) to manage dispatch for all conditions for which they have been modeled. |
| WMS 060614 | Endorsed NPRR593 as amended by the 5/22/14 Luminant comments. |

Proposed Protocol Language Revision

## DEFINITIONS

Competitive Constraint

A contingency and limiting Transmission Element pair or group of Transmission Elements associated with a Generic Transmission Constraint (GTC) that is determined to be competitive using the process defined in Section 3.19, Constraint Competitiveness Tests.

Generic Transmission Constraint (GTC)

A transmission constraint made up of one or more grouped Transmission Elements that is used to constrain flow between geographic areas of ERCOT for the purpose of managing stability, voltage, and other constraints that cannot otherwise be modeled directly in ERCOT’s powerflow and contingency analysis applications.

Generic Transmission Limit (GTL)

The value of the transmission flow limit associated with a Generic Transmission Constraint (GTC).

Non-Competitive Constraint

A contingency and limiting Transmission Element pair or group of Transmission Elements associated with a GTC that is not determined to be a Competitive Constraint under the process defined in Section 3.19, Constraint Competitiveness Tests.

## 2.2	ACRONYMS AND ABBREVIATIONS

GTC			Generic Transmission Constraint

3.10.7.6	Use of Generic Transmission Constraints and Generic Transmission Limits

(1)	For the sole purpose of creating transmission flow constraints between areas of the ERCOT Transmission Grid in ERCOT applications that are unable to recognize non-thermal operating limits (such as system stability limits and voltage limits on Electrical Buses), ERCOT may create new Generic Transmission Constraints (GTCs) or modify existing GTCs for use in reliability and market analysis.  GTCs created or modified as described in this Section shall be used in the SCED application.    ERCOT shall not use GTCs in ERCOT applications to replace other constraints already capable of being directly modeled in the SCED application.

(2)	Except as provided in paragraph (5) below, ERCOT shall post a description of each new or modified GTC to the MIS Secure Area as soon as possible, but no later than the day prior to the GTC or GTC modification becoming effective in any ERCOT application.  Posting of each new or modified GTC shall include:

(a) 	The description of the new or modified GTC including the Generic Transmission Limit (GTL) or description of the data and studies used to calculate the GTL associated with each new or modified GTC;

(b)	The effective date of the new or modified GTC;

(c)	The identity of all constrained Transmission Elements that make up the GTC, including the defined interface where applicable;

(d)	Detailed information on the development of each GTC, including the defined constraint or interface where applicable; and data and studies used for development of each new or modified GTC, including the GTL associated with each new or modified GTC.  This information shall be redacted or omitted to protect the confidentiality of certain stability-related GTCs.

(3)	Market Participants may review and comment on each new or modified GTC.  Within seven days following receipt of any comments, ERCOT shall post the comments to the MIS Secure Area as part of the information related to the subject GTC.  ERCOT shall review any comments and may modify any part of a given GTC in response to any comments received.

(4)	Anticipated GTLs, except those determined pursuant to paragraph (5) below, shall be posted to the MIS Secure Area no later than one day before the Operating Day.

(5)	If an unexpected change to ERCOT System conditions requires the creation of a new GTC or the modification of an existing GTC to manage ERCOT System reliability, and the GTC has not been posted pursuant to paragraph (2) above, ERCOT shall issue an Operating Condition Notice (OCN) and post on the MIS Secure Area the new or modified GTC and its associated GTL(s), including the detailed information described in paragraphs (2) and (4) above.  ERCOT shall include an explanation regarding why it did not post the GTC or modification on the previous day.