ERCOT Nodal Operating Guide

- Table of Contents

- August 1, 2014

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1 Introduction	2

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Operations Working Group	3

1.3.4 Nodal Operating Guide Revision Procedure	4

1.3.5 Urgent Requests	12

1.3.6 Nodal Operating Guide Revision Implementation	13

1.4	Definitions	14

A	14

B	14

C	14

D	15

E	15

F	15

G	15

H	15

I	16

J	16

K	16

L	16

M	16

N	16

O	16

P	17

Q	17

R	17

S	17

T	17

U	18

V	18

W	18

X	18

Y	18

Z	18

1.5	Operational Training	19

1.5.1 System Operator Training Objectives	19

1.5.2 System Operator Training Requirements	19

1.5.3 ERCOT Operations Training Seminar	20

1.5.4 ERCOT Severe Weather Drill	20

1.5.5 Training Practices	21

1.5.6 ERCOT Operator Certification Program	21

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	3

2.2.1 Overview	3

2.2.2 Security Criteria	4

2.2.3 Response to Transient Voltage Disturbance	5

2.2.4 Load Frequency Control	5

2.2.5 Automatic Voltage Regulators	6

2.2.6 Power System Stabilizers	6

2.2.7 Turbine Speed Governors	8

2.2.8 Performance/Disturbance/Compliance Analysis	9

2.2.9 Time Error and Time Synchronization	10

2.2.10 Generation Resource Response Time Requirements	10

2.3	Ancillary Services	12

2.3.1 Responsive Reserve	17

2.3.2 Non-Spinning Reserve Service	19

2.4	Outage Coordination	21

2.5	Reliability Unit Commitment	21

2.5.1 Criteria for Removing Contingencies from the RUC Analyses	21

2.6	Requirements for Under-Frequency Relaying	22

2.6.1 Automatic Firm Load Shedding	22

2.6.2 Generators	23

2.7	System Voltage Profile	24

2.7.1 Introduction	24

2.7.2 Maintaining Voltage Profile	24

2.7.3 Special Consideration for Nuclear Power Plants	26

2.7.4 Reactive Considerations for Generation Resources	26

2.8	Operation of Direct Current Ties	27

2.8.1 Inadvertent Energy Management	28

2.9	Voltage Ride-Through Requirements For Generation Resources	28

2.9.1 Additional Voltage Ride-Through Requirements for Wind-Powered Generation

Resources	29

3 	Resource Testing and Qualification Procedures 	1

3.1	System Control Interfaces with ERCOT	1

3.1.1 Introduction	1

3.1.2 Compliance with Dispatch Instructions	1

3.2	Qualified Scheduling Entities	1

3.2.1 Operating Obligations	1

3.2.2 Changes in Resource Status	2

3.2.3 Regulatory Required Incident and Disturbance Reports	2

3.2.4 Ancillary Service Qualification and Testing Program	3

3.3	Resource Entities	4

3.3.1 Unit Capability Requirements	5

3.3.2 Unit Reactive Capability Requirements	6

3.3.3 Resource Entity Responsibilities for Equipment Ratings	10

3.4	Load Resource Testing Requirement	11

3.5	ERCOT Implementation	11

3.6	Transmission Service Providers	11

3.7  	Transmission Operators	12

3.7.1 Transmission Owner Responsibility for a Vegetation Management Program	13

3.7.2 Trasmission Service Provider Responsibilities for Equipment Ratings	13

3.8  	Requirements for Reporting Sabotage Information	14

4	Emergency Operation	1

4.1	Introduction	1

4.2	Communication Under Emergency Conditions	1

4.2.1 Operating Condition Notice	1

4.2.2 Advisory	2

4.2.3 Watch	2

4.2.4 Emergency Notice	3

4.3	Operation to Maintain Transmission System Security	3

4.3.1 Real-Time and Short Term Planning	4

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	4

4.5	Energy Emergency Alert (EEA)	4

4.5.1 General	4

4.5.2 Operating Procedures	4

4.5.3 Implementation	6

4.6	Black Start Service	13

4.6.1 Principles	13

4.6.2 Strategies	14

4.6.3 Priorities	15

4.6.4 Responsibilities	15

4.6.5 Black Start Emergency Back Up Communication Facilities Criteria	18

4.7	Geomagnetic Operational Preparedness for Geomagnetic Disturbances	18

4.7.1 Monitoring and Dissemination of Space Weather Information	18

4.7.2 Development and Submission of TO GMD Operating Procedures or Processes	19

4.7.3 ERCOT’s Operating Plan and Review of TO GMD Operating Procedures or Processes	20

5	Network Operations Modeling Requirements	1

5.1	System Modeling Information	1

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1 Introduction	1

6.1.2 Fault Recording Equipment	1

6.1.3 Dynamic Disturbance Recording Equipment	4

6.1.4 Equipment Reporting Requirements	4

6.1.5 Review Process	5

6.2	System Protective Relaying	5

6.2.1 Introduction	5

6.2.2 Design and Operating Requirements for ERCOT System Facilities	6

6.2.3 Performance Analysis Requirements for ERCOT System Facilities	7

6.2.4 Protective Relay System Failure Response	9

6.2.5 Maintenance and Testing Requirements for ERCOT System Facilities	10

6.2.6 Requirements and Recommendations for ERCOT System Facilities	10

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1 ERCOT Responsibilities	1

7.1.2 QSE and TSP Responsibilities	2

7.1.3 Joint Responsibilities (Maintenance and Restoration)	5

7.2	ERCOT ICCP Interface	5

7.2.1 Quality Codes	5

7.2.2 Metric of Availability	5

7.3	Telemetry	6

7.3.1 Data from ERCOT to QSEs	6

7.3.2 Data from ERCOT to TSP	6

7.3.3 Data from QSEs and TSPs to ERCOT	6

7.3.4 TSP and QSE Telemetry Restoration	7

7.3.5 General Telemetry Performance Criterion	8

7.4	Calibration and Testing of Telemetry Responsibilities	8

7.5	Competitive Renewable Energy Zone Circuits and Stations	8

8	Attachments

8A Black Start Info

8B Protection System Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Black Start Plan Template

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

8I Black Start Resource Availabiity Test Form

9	Monitoring Programs	1

9.1	QSE and Resource Monitoring Program	1

9.1.1 Testing	1

9.1.2 Reactive Testing for Generation Resources	1

9.1.3 Real-Time Data	2

9.1.4 Compliance with Valid Dispatch Instructions	3

9.1.5 Resource Facilities Network Operations Model Update Implementation Monitor	3

9.1.6 Resource Outage Reporting	3

9.1.7 Backup Control for Resource Energy Deployment	4

9.1.8 Qualified Staffing Requirement	4

9.1.9 Automatic Voltage Regulator (AVR)	5

9.1.10 Current Operating Plan Metrics for QSEs	6

9.2	TSP Monitoring Program	6

9.2.1 Intentionally Left Blank	6

9.2.2 Real-Time Data Monitor	6

9.2.3 Transmission Outage Reporting	7

9.2.4  Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor	8

9.2.5  Backup Control for TSPs	8

9.3	ERCOT Monitoring Program	9

9.3.1 Transmission Control	9

9.3.2 System and Resource Control	12

9.3.3 Forecasting	13

9.3.4 System Operating Constraints	14

9.3.5 Network Operations Model Update Implementation Statistics	14

9.3.6 Back-up Control Plan	15

9.3.7 ERCOT Black Start Plan	15

9.3.8 Computer and Communication Systems Real-Time Availability and Systems Security	15

9.3.9 Voltage and Reactive Control Performance Monitoring	16

9.4	Ancillary Services Monitoring Program	16

9.4.1 Hydro Responsive Testing	16

9.4.2 Black Start Service Requirements for TSPs, QSEs, and Generation Resources	17

9.4.3 Resource-Specific Responsive Reserve Performance	17

9.4.4 Constant Frequency Control	18

9.4.5 Resource-specific Non-Spinning Reserve	18

10	Market Data Transparency	1

10.1	Direct Current Tie Outage Information	1

10.2	Daily Grid Operations Report	2

11	Constraint Management Plans and Special Protection Systems	1

11.1	Introduction	1

11.2	Special Protection System	1

11.2.1 Reporting of SPS Operations	4

11.3	Remedial Action Plan	5

11.3.1 Remedial Action Plan Process	6

11.4	Mitigation Plan	6

11.5	Pre-Contingency Action Plans	7

11.5.1 Pre-Contingency Action Plan Process	8

11.6	Temporary Outage Action Plan	8