| NOGRR Number | 131 | NOGRR Title | Clarification for Generation Resources During an EEA |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | July 31, 2014 |  |  |
| Effective Date |  | August 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Operating Guide Sections Requiring Revision |  | 4.5.3.2, General Procedures During EEA Operations |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) clarifies language that when ERCOT is in an Energy Emergency Alert (EEA), Qualified Scheduling Entities (QSEs) must receive authorization from ERCOT prior to manually removing an On-Line Resource. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) |  |  |
| Procedural History |  | - On 4/30/14, NOGRR131 and an associated Impact Analysis were posted. - On 5/19/14, Luminant comments were posted. - On 5/19/14, the Operations Working Group (OWG) considered NOGRR131. - On 6/25/14, OWG considered the 5/19/14 OWG Report and Impact Analysis for NOGRR131. - On 7/10/14, ROS considered NOGRR131. - On 7/31/14, TAC considered NOGRR131. |  |  |
| OWG Decision |  | On 5/19/14, OWG was in consensus to recommend approval of NOGRR131 as amended by the 5/19/14 Luminant comments. On 6/25/14, OWG was in consensus to endorse and forward the 5/19/14 OWG Report and Impact Analysis for NOGRR131 to ROS. |  |  |
| Summary of OWG Discussion |  | On 5/19/14, there was no discussion. On 6/25/14, there was no discussion. |  |  |
| ROS Decision |  | On 7/10/14, ROS unanimously voted to recommend approval of NOGRR131 as recommended by OWG in the 6/25/14 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 7/10/14, there was no discussion. |  |  |
| TAC Decision |  | On 7/31/14, TAC unanimously voted to approve NOGRR131 as recommended by ROS in the 7/10/14 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 7/31/14, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Improves reliability by documenting the requirement for a QSE to seek authorization from ERCOT prior to an On-Line Resource going Off-Line during an EEA, thus helping to support frequency and potentially avoid or offset firm Load shed during the EEA. - Aligns with current ERCOT expectation that a Resource will remain On-Line during an EEA until authorized to go Off-Line. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Colleen Frosch |
| E-mail Address | colleen.frosch@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4219 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 051914 | Proposed changes that would allow QSEs, in certain circumstances, to remove On-Line Generation Resources without prior ERCOT authorization if such circumstances are considered immediate safety concerns. |

Proposed Guide Language Revision

- 4.5.3.2	General Procedures During EEA Operations

ERCOT Control Area authority will re-emphasize the following operational practices during EEA operations to minimize non-performance issues that may result from the pressures of the emergency situation.

(a)	ERCOT shall suspend Ancillary Service obligations that it deems to be contrary to reliability needs;

(b)	ERCOT shall notify each QSE and TO via Hotline of declared EEA level;

(c)	QSEs and TOs shall notify each represented Market Participant of declared EEA level;

(d)	ERCOT, QSEs and TSPs shall continue to respect confidential market sensitive data;

(e)	QSEs shall update Current Operating Plans (COPs) to limit or remove capacity when unexpected start-up delays occur or when ramp limitations are encountered;

(f)	QSEs shall report when On-Line or available capacity is at risk due to adverse circumstances;

(g)	QSEs, TSPs, and all other Entities must not suspend efforts toward expeditious compliance with the applicable EEA level declared by ERCOT nor initiate any reversals of required actions without ERCOT authorization;

(h)	ERCOT shall define procedures for determining the proper redistribution of reserves during EEA operations; and

(i)	QSEs shall not remove an On-Line Generation Resource without prior ERCOT authorization unless such actions would violate safety, equipment, or regulatory or

statutory requirements. Under these circumstances, QSEs shall immediately inform ERCOT of the need and reason for removing the On-Line Generation Resource from service.