| NPRR Number | 621 | NPRR Title | Counter-Party Specific Calculations for M1 Variable |
| --- | --- | --- | --- |
| Date |  | July 31, 2014 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randa Stephenson on behalf of the Technical Advisory Committee (TAC) |  |
| E-mail Address |  | Randa.stephenson@lcra.org |  |
| Company |  | LCRA |  |
| Phone Number |  |  |  |
| Cell Number |  | 214-498-6661 |  |
| Market Segment |  | Cooperative |  |

Comments

On 7/31/14, TAC endorsed the 7/23/14 ERCOT comments to incorporate NPRR621 language changes in the updated July 1, 2014 Protocol baseline in Section 16.11.4.3,  Determination of Counter-Party Estimated Aggregate Liability.

Cover Page

| Proposed Effective Date | September 1, 2014 |
| --- | --- |
| Priority and Rank Assigned | Not applicable. |
| Nodal Protocol Sections Requiring Revision | 16.11.4.1, Determination of Total Potential Exposure for a Counter-Party 16.11.4.3, Determination of Counter-Party Estimated Aggregate Liability |
| Other Binding Documents Requiring Revision or Related Revision Requests | None. |
| Revision Description | This Nodal Protocol Revision Request (NPRR) replaces the fixed value for M1 with a calculation that will be specific to each Counter-Party. This revision defines M1 as the minimum of the existing value of 20 and the sum of two components: - M1a – Time period required to cover any termination event - M1b – Time period to cover Mass Transitions only The M1a component is applicable to all Counter-Parties. However, the M1b component will be applicable only to Counter-Parties with Load or generation. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) The existing Protocol methodology for computing Mass Transition risk does not reflect the market risk profile. The time required for Mass Transition will differ greatly depending on the number of Electric Service Identifiers (ESI IDs) held by a Counter-Party. In addition, Counter-Parties with neither Load nor Generation will not have transition risk. |
| Credit Work Group Review | See the 5/27/14 Credit Work Group (Credit WG) comments. |
| Procedural History | - On 4/30/14, NPRR621 and an Impact Analysis were posted. - On 5/15/14, PRS considered NPRR621. - On 5/27/14, Credit WG comments were posted. - On 6/9/14, a revised Impact Analysis was posted. - On 6/11/14, PRS considered the 5/15/14 PRS Report and revised Impact Analysis for NPRR621. - On 6/26/14, TAC considered NPRR621. |
| PRS Decision | On 5/15/14 PRS voted to recommend approval of NPRR621 as revised by PRS. There was one abstention from the Independent Retail Electric Provider (IREP) Market Segment. All Market Segments were present for the vote. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and revised Impact Analysis for NPRR621 to TAC. All Market Segments were present for the vote. |
| Summary of PRS Discussion | On 5/15/14, there was no discussion. On 6/11/14, there was no discussion. |
| TAC Decision | On 6/26/14, TAC unanimously voted to recommend approval of NPRR621 as recommended by PRS in the 6/11/14 PRS Report. All Market Segments were present for the vote. |
| Summary of TAC Discussion | On 6/26/14, there was no discussion. |
| ERCOT Opinion | ERCOT supports approval of NPRR621. |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Revises credit requirements to more accurately reflect Counter-Party market risk profile. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Credit Implications | Yes: - It is expected that replacement of a fixed M1 value with a formula will result in lower calculated exposure for most ERCOT Counter-Parties, but larger calculated exposure for some Counter-Parties. |
| Other |  |

Proposed Protocol Language Revision

16.11.4.1	Determination of Total Potential Exposure for a Counter-Party

(1)	A Counter-Party’s TPE is the sum of its “Total Potential Exposure Any” (TPEA) and TPES:

(a)	TPEA is the positive net exposure of the Counter-Party that may be satisfied by any forms of Financial Security defined under paragraphs (a) through (d) of Section 16.11.3, Alternative Means of Satisfying ERCOT Creditworthiness Requirements.  TPEA will include all exposure not included in TPES.

(b)	TPES is the positive net exposure of the Counter-Party that may be satisfied only by forms of Financial Security defined under paragraphs (b) through (d) of Section 16.11.3.  The FCE that reflects the future mark-to-market value for CRRs registered in the name of the Counter-Party is included in TPES.

(2)	For all Counter-Parties:

TPEA 	= 	Max [0, MCE, Max [0, (∑ q EAL q + CRRA * ∑ a EAL a)]]

TPES	=	Max [0, (1 – CRRA) * ∑ a EAL a] + Max [0, ∑ a FCE a] + IA

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| EAL q | $ | Estimated Aggregate Liability for the QSE—EAL for the QSE q represented by Counter-Party. |
| EAL a | $ | Estimated Aggregate Liability for the CRR Account Holder—EAL for the CRR Account Holder a represented by Counter-Party. |
| FCE a | $ | Future Credit Exposure for the CRR Account Holder—FCE for the CRR Account Holder a represented by Counter-Party. |
| MCE | $ | Minimum Current Exposure—For each Counter-Party, ERCOT shall determine a Minimum Current Exposure (MCE) as follows: MCE = Max[{ [[[L o, i, d, k * T2 - G o, i, d, k * (1-NUCADJ o) * T3] * RTSPP i, d, k *SAF] + [RTQQNETES o, i, d, k * T1]]/n}, { [G o, i, d, k * NUCADJ o * T1 * RTSPPidk*SAF]/n},{ DARTNET o, i, d, k * T4/n}] RTQQNETES o, i, d, k = Σc Max [0, [[RTQQES o, i, d, k, c * RTSPP i, d, k*SAF] - [RTQQEP o, i, d, k, c * RTSPP i, d, k *SAF]]] DARTNET o, i, d, k = Absolute value of [DAM EOO Cleared o, i, d, k * DART i, d, k + DAM TPO Cleared o, i, d, k * DART i, d, k + DAM PTP Cleared o, i, d, k * DARTPTP i, d, k – DAM EOB Cleared o, i, d, k * DART i, d, k] - Where: - G o, i, d, k = Total Metered Generation at all Resource Nodes for Counter-Party o for interval i for calendar day d at Settlement Point k L o, i, d, k = Total Adjusted Metered Load (AML) at all Load Zones for Counter-Party o for interval i for calendar day d at Settlement Point k SAF = Seasonal Adjustment Factor—Used to provide for the potential for Seasonal price increases based on historical trends. ERCOT shall initially set this factor equal to 100%. This factor will not go below 100%. ERCOT will provide Notice to Market Participants of any change at least 14 days prior to effective date along with the analysis supporting the change. NUCADJ o = Net Unit Contingent Adjustment—A minimum value of 20% to allow for situations where a generator may unintentionally or intentionally meet its requirement from the Real-Time Market (RTM). RTQQNETES o, i, d, k = Net QSE-to-QSE Energy Sales for Counter-Party o for interval i for calendar day d RTQQES o, i, d, k, c = QSE Energy Trades for which the Counter-Party o is the seller for interval i for day d at Settlement Point k with Counter-Party c RTQQEP o, i, d, k, c = QSE Energy Trades for which the Counter-Party o is the buyer for interval i for calendar day d at Settlement Point k with Counter-Party c RTSPP i, d, k = Real-Time Settlement Point Price for interval i for calendar day d at Settlement Point k DARTNET o, i, d, k = Net DAM activities for Counter-Party o for interval i for calendar day d DART i, d, k = Day Ahead - Real-Time Spread for interval i for calendar day d at Settlement Point k DAM EOB Cleared o, i, d, k = DAM Energy Only Bids Cleared for interval i for calendar day d at Settlement Point k DAM EOO Cleared o, i, d, k = DAM Energy Only Offers Cleared for interval i for calendar day d at Settlement Point k DAM TPO Cleared o, i, d, k = DAM Three-Part Offers Cleared for interval i for calendar day d at Settlement Point k DAM PTP Cleared o, i, d, k = DAM Point-to-Point (PTP) Obligations Cleared for interval i for calendar day d at Settlement Point k DARTPTP o, i, d, k = Day Ahead - Real-Time Spread for value of PTP Obligation for interval i for calendar day d at Settlement Point k T1 = 2 days T2 = 5 days T3 = 5 days T4 = 1 day c = Bilateral Counter-Party d = Calendar day i = Settlement Interval n = 14 days o = Counter-Party k = A Settlement Point |
| CRRA | $ | CRR Activity other than FCE—CRR activity other than FCE – May have a value of “0” or “1.” Flag to indicate whether CRR activity other than FCE will be included in TPES or TPEA. Initially set to “1” to include activity into TPEA. ERCOT, in its sole discretion, can reset to “0” if needed. |
| q | None. | QSE represented by Counter-Party. |
| a | None. | CRR Account Holder represented by Counter-Party. |
| IA | $ | Independent Amount—The Independent Amount is the amount required to be posted as defined in Section 16.16.1, Counter-Party Criteria. |

[NPRR559: Replace paragraph (2) above with the following upon system implementation:] (2) For all Counter-Parties: TPEA = Max [0, MCE, Max [0, (∑ q EAL q + CRRA * ∑ a EAL a)]] TPES = Max [0, (1 – CRRA) * ∑ a EAL a] + Max [0, ∑ a FCE a] + IA The above variables are defined as follows: Variable; Unit; Description. EAL q; $; Estimated Aggregate Liability for the QSE—EAL for the QSE q represented by Counter-Party.. EAL a; $; Estimated Aggregate Liability for the CRR Account Holder—EAL for the CRR Account Holder a represented by Counter-Party.. FCE a; $; Future Credit Exposure for the CRR Account Holder—FCE for the CRR Account Holder a represented by Counter-Party.. MCE; $; Minimum Current Exposure—For each Counter-Party, ERCOT shall determine a Minimum Current Exposure (MCE) as follows: MCE = Max[{ [[[L o, i, d, k * T2 - G o, i, d, k * (1-NUCADJ o) * T3] * RTSPP i, d, k *SAF] + [RTQQNETES o, i, d, k * T1]]/n}, { [G o, i, d, k * NUCADJ o * T1 * RTSPPi, d, k*SAF]/n},{ DARTNET o, i, d, k * T4/n}] RTQQNETES o, i, d, k = Σc Max [0, [[RTQQES o, i, d, k, c * RTSPP i, d, k*SAF] - [RTQQEP o, i, d, k, c * RTSPP i, d, k *SAF]]] DARTNET o, i, d, k = Absolute value of [DAM EOO Cleared o, i, d, k * DART i, d, k + DAM TPO Cleared o, i, d, k * DART i, d, k + DAM PTP Cleared o, i, d, k * DARTPTP i, d, k – DAM EOB Cleared o, i, d, k * DART i, d, k] - Where: - G o, i, d, k = Total Metered Generation at all Resource Nodes for Counter-Party o for interval i for Operating Day d at Settlement Point k L o, i, d, k = Total Adjusted Metered Load (AML) at all Load Zones for Counter-Party o for interval i for Operating Day d at Settlement Point k SAF = Seasonal Adjustment Factor—Used to provide for the potential for Seasonal price increases based on historical trends. ERCOT shall initially set this factor equal to 100%. This factor will not go below 100%. ERCOT will provide Notice to Market Participants of any change at least 14 days prior to effective date along with the analysis supporting the change. NUCADJ o = Net Unit Contingent Adjustment—A minimum value of 20% to allow for situations where a generator may unintentionally or intentionally meet its requirement from the Real-Time Market (RTM). RTQQNETES o, i, d, k = Net QSE-to-QSE Energy Sales for Counter-Party o for interval i for Operating Day d RTQQES o, i, d, k, c = QSE Energy Trades for which the Counter-Party o is the seller for interval i for Operating Day d at Settlement Point k with Counter-Party c RTQQEP o, i, d, k, c = QSE Energy Trades for which the Counter-Party o is the buyer for interval i for Operating Day d at Settlement Point k with Counter-Party c RTSPP i, d, k = Real-Time Settlement Point Price for interval i for Operating Day d at Settlement Point k DARTNET o, i, d, k = Net DAM activities for Counter-Party o for interval i for Operating Day d DART i, d, k = Day Ahead - Real-Time Spread for interval i for Operating Day d at Settlement Point k DAM EOB Cleared o, i, d, k = DAM Energy Only Bids Cleared for interval i for Operating Day d at Settlement Point k DAM EOO Cleared o, i, d, k = DAM Energy Only Offers Cleared for interval i for calendar day d at Settlement Point k DAM TPO Cleared o, i, d, k = Day Ahead Market Three-Part Offers Cleared for interval i for Operating Day d at Settlement Point k DAM PTP Cleared o, i, d, k = DAM Point-to-Point (PTP) Obligations Cleared for interval i for Operating Day d at Settlement Point k DARTPTP o, i, d, k = Day Ahead - Real-Time Spread for value of PTP Obligation for interval i for Operating Day d at Settlement Point k T1 = 2 days T2 = 5 days T3 = 5 days T4 = 1 day c = Bilateral Counter-Party d = Operating Day e = Most recent n Operating Days for which Real-Time Market (RTM) Initial Settlement Statements are available i = Settlement Interval n = 14 days o = Counter-Party k = A Settlement Point. CRRA; $; CRR Activity other than FCE—CRR activity other than FCE – May have a value of “0” or “1.” Flag to indicate whether CRR activity other than FCE will be included in TPES or TPEA. Initially set to “1” to include activity into TPEA. ERCOT, in its sole discretion, can reset to “0” if needed.. q; None.; QSE represented by Counter-Party.. a; None.; CRR Account Holder represented by Counter-Party.. IA; $; Independent Amount—The Independent Amount is the amount required to be posted as defined in Section 16.16.1, Counter-Party Criteria..

(3)	If ERCOT, in its sole discretion, determines that the TPEA or the TPES for a Counter-Party calculated under paragraphs (1) or (2) above does not adequately match the financial risk created by that Counter-Party’s activities under these Protocols, then ERCOT may set a different TPEA or TPES for that Counter-Party.  ERCOT shall, to the extent practical, give to the Counter-Party the information used to determine that different TPEA or TPES.  ERCOT shall provide written or electronic Notice to the Counter-Party of the basis for ERCOT’s assessment of the Counter-Party’s financial risk and the resulting creditworthiness requirements.

(4)	ERCOT shall monitor and calculate each Counter-Party’s TPEA and TPES daily.

16.11.4.3	Determination of Counter-Party Estimated Aggregate Liability

After a Counter-Party receives its first Invoice, ERCOT shall monitor and calculate the Counter-Party’s EAL based on the formulas below.

EAL q 	= 	Max [(IEL q during the first 40-day period + DALE q), (Max {RTLE q during the previous 40-day period} + DALE q), (RTLF q + DALE q)] + Max [RTLCNS q, Max {URTA q during the previous 40 day period}] + OUT q + PUL q

EAL a =	Max [Max {RTLE a during the previous 40-day period}, RTLF a] + Max [RTLCNS a, Max {URTA a during the previous 40 day period}] + OUT a + PUL a

ERCOT may adjust the number of days used in determining the highest RTLE and/or URTA, and/or to exclude specific Operating Days to calculate RTLE, URTA, OUT, or DALE.

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| EAL q | $ | Estimated Aggregate Liability for the QSE—EAL for the QSE q represented by Counter-Party. |
| EAL a | $ | Estimated Aggregate Liability for the CRR Account Holder—EAL for the CRR Account Holder a represented by Counter-Party. |
| IEL q | $ | Initial Estimated Liability for the QSE—IEL (as defined in Section 16.11.4.2, Determination of Counter-Party Initial Estimated Liability) for the QSE q represented by the Counter-Party. |
| q |  | QSE represented by Counter-Party. |
| a |  | CRR Account Holder represented by Counter-Party. |
| RTLE | $ | Real Time Liability Extrapolated—M1 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in RTM Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation. |
| URTA q | $ | Unbilled Real Time Amount—M2 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in RTM Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation. |
| RTL | $ | Real-Time Liability—The estimated or settled amounts due from or to ERCOT due to activities in the Real-Time and Adjustment Period. RTL is the amounts for Load increased by amounts for awarded DAM energy offers, and Energy Trade sales and is decreased by amounts for awarded DAM Energy Bids, Energy Trade purchases, and estimated or settled amounts for generation. In addition RTL will be adjusted for CRRs settled in Real-Time and for other amounts due to or from ERCOT by the Counter-Party. |
| RTLCNS | $ | Real Time Liability Completed and Not Settled—For each Operating Day that is completed but not settled or for which no Invoice has been issued, ERCOT shall calculate RTL as the higher of ERCOT’s estimate of the Counter-Party’s RTL for the day, multiplied by 110% if net due to ERCOT or multiplied by 90% if net due to Entity or the Counter-Party’s estimate of RTL for the day. |
| RTLF | $ | Real Time Liability Forward—For seven Operating Days that are not yet completed, ERCOT shall calculate RTL as the higher of 150% of ERCOT’s estimate of the Counter-Party’s RTL for the most recent seven days or the Counter-Party’s forecast of RTL for the next seven days. |
| OUT | $ | Outstanding Unpaid Transactions—Outstanding, unpaid transactions of the Counter-Party, which include (a) outstanding Invoices to the Counter-Party; (b) estimated unbilled items to the Counter-Party, to the extent not adequately accommodated in the RTLE calculation (including resettlements and other known liabilities); and (c) estimated CRR Auction revenue available for distribution for operating days in the previous two month, to the extent not invoiced to the Counter-Party. Invoices will not be considered outstanding for purposes of this calculation the Business Day after that Invoice payment is received. |
| PUL | $ | Potential Uplift—Potential uplift to the Counter-Party, to the extent and in the proportion that the Counter-Party represents Entities to which an uplift of a short payment will be made pursuant to Section 9.19, Partial Payments by Invoice Recipients. It is calculated as the sum of: (a) Amounts expected to be uplifted within one year of the date of the calculation; and (b) 25%, or such other percentage based on available statistics regarding payment default under bankruptcy reorganization plans, of any short payment amounts being repaid to ERCOT under a bankruptcy reorganization plan that are due more than one year from the date of the calculation. |
| DALE | $ | Average Daily Day Ahead Liability Extrapolated—M1 multiplied by the sum of the net amount due to or from ERCOT by the Counter-Party in the DAM Settlement Statements generated in the seven most recent calendar days that includes Ancillary Services and PTP Obligations bought in the DAM divided by the number of DAM Settlement Statements generated for the Counter-Party in the seven most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder’s activity is excluded from this calculation. |
| M1 |  | M1 = M1a + M1b—Multiplier for DALE and RTLE. Provides for forward risk during a Counter-Party termination upon default based upon the sum of the time period required for any termination upon default (M1a) and the time period required for a Mass Transition only (M1b). The M1a component is applicable to all Counter-Parties. The M1b component is applicable only to Counter-Parties representing any QSE associated with a Load Serving Entity (LSE). M1a = 12 Revisions to this value will be recommended by Technical Advisory Committee (TAC) and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. M1b = Weighted average transition days = Min(B, (2 + Max(1, (u+1)/2))*(1-DF)), rounded up to whole days Where: u = (n/r) Unscaled number of days to transition. B = Benchmark value. Initial value = 8. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. n = Number of Electric Service Identifiers (ESI IDs) associated with an individual Counter-Party. This value will be updated no less often than annually by ERCOT and updated values communicated to individual Counter-Parties. Counter-Parties entering the market will provide an estimated number of ESI IDs for use during their first six months of market activity. Subsequent to this time, the value for that Counter-Party shall be updated by ERCOT concurrently with other Counter-Parties with QSEs representing an LSE. r = Assumed ESI ID daily transition rate. Initial value of 100,000/per day. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. DF = Discount Factor applied to M1b if the Counter-Party is eligible for unsecured credit under ERCOT Creditworthiness Standards, or meet other creditworthiness standards that may be developed and approved by TAC and the ERCOT Board. Initial value of 0. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. Each Counter-Party’s eligibility for unsecured credit under ERCOT Creditworthiness Standards will be evaluated at least annually. |
| M2 |  | M2 = 9 Multiplier for URTA. Provides for unbilled historical activity based on historical activity. Revisions to the multiplier will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the multiplier value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of the revised values. |

[NPRR597 & NPRR601: Replace applicable portions of Section 16.11.4.3 above with the following upon system implementation:] 16.11.4.3 Determination of Counter-Party Estimated Aggregate Liability After a Counter-Party receives its first Invoice, ERCOT shall monitor and calculate the Counter-Party’s EAL based on the formulas below. EAL q = Max [(IEL q + DALE ) during the first 40-day period only, (Max {RTLE q during the previous 40-day period} + DALE q), (RTLF q + DALE q)] + Max [RTLCNS q, Max {URTA q during the previous 40 day period}] + OUT q + PUL q + ILE q EAL a = Max [Max {RTLE a during the previous 40-day period}, RTLF a] + Max [RTLCNS a, Max {URTA a during the previous 40 day period}] + OUT a + PUL a ERCOT may adjust the number of days used in determining the highest RTLE and/or URTA, and/or to exclude specific Operating Days to calculate RTLE, URTA, OUT, or DALE. The above variables are defined as follows: Variable; Unit; Description. EAL q; $; Estimated Aggregate Liability for the QSE—EAL for the QSE q represented by Counter-Party.. EAL a; $; Estimated Aggregate Liability for the CRR Account Holder—EAL for the CRR Account Holder a represented by Counter-Party.. IEL q; $; Initial Estimated Liability for the QSE—IEL (as defined in Section 16.11.4.2, Determination of Counter-Party Initial Estimated Liability) for the QSE q represented by the Counter-Party.. q; QSE represented by Counter-Party.. a; CRR Account Holder represented by Counter-Party.. RTLE; $; Real Time Liability Extrapolated—M1 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in RTM Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation.. URTA q; $; Unbilled Real Time Amount—M2 multiplied by the sum of the net amount due from or to ERCOT by the Counter-Party in RTM Initial Statements generated in the 14 most recent calendar days divided by the number of Real-Time Initial Settlement Statements generated for the Counter-Party in the 14 most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder activity is excluded from this calculation.. RTL; $; Real-Time Liability—The estimated or settled amounts due from or to ERCOT due to activities in the Real-Time and Adjustment Period. RTL is the amounts for Load increased by amounts for awarded DAM energy offers, and Energy Trade sales and is decreased by amounts for awarded DAM Energy Bids, Energy Trade purchases, and estimated or settled amounts for generation. In addition RTL will be adjusted for CRRs settled in Real-Time and for other amounts due to or from ERCOT by the Counter-Party.. RTLCNS; $; Real Time Liability Completed and Not Settled—For each Operating Day that is completed but not settled or for which no Invoice has been issued, ERCOT shall calculate RTL as the higher of ERCOT’s estimate of the Counter-Party’s RTL for the day, multiplied by 110% if net due to ERCOT or multiplied by 90% if net due to Entity or the Counter-Party’s estimate of RTL for the day.. RTLF; $; Real Time Liability Forward—For seven Operating Days that are not yet completed, ERCOT shall calculate RTL as the higher of 150% of ERCOT’s estimate of the Counter-Party’s RTL for the most recent seven days or the Counter-Party’s forecast of RTL for the next seven days.. OUT; $; Outstanding Unpaid Transactions—Outstanding, unpaid transactions of the Counter-Party, which include (a) outstanding Invoices to the Counter-Party; (b) estimated unbilled items to the Counter-Party, to the extent not adequately accommodated in the RTLE calculation (including resettlements and other known liabilities); and (c) estimated CRR Auction revenue available for distribution for operating days in the previous two month, to the extent not invoiced to the Counter-Party. Invoices will not be considered outstanding for purposes of this calculation the Business Day after that Invoice payment is received.. PUL; $; Potential Uplift—Potential uplift to the Counter-Party, to the extent and in the proportion that the Counter-Party represents Entities to which an uplift of a short payment will be made pursuant to Section 9.19, Partial Payments by Invoice Recipients. It is calculated as the sum of: (a) Amounts expected to be uplifted within one year of the date of the calculation; and (b) 25%, or such other percentage based on available statistics regarding payment default under bankruptcy reorganization plans, of any short payment amounts being repaid to ERCOT under a bankruptcy reorganization plan that are due more than one year from the date of the calculation.. ILE q; $; Incremental Load Exposure –In the event of a Mass Transition necessitated by the default of a Counter-Party that is registered as a QSE and an LSE, ERCOT may adjust the TPE of Counter-Parties that are registered as QSEs and LSEs and further serve as Providers of Last Resort (POLRs) to reflect the estimated Incremental Load Exposure (ILE) resulting from the Mass Transition. The adjustment will be based on the POLR’s pro rata share of the defaulting Counter-Party’s RTLE, based on the total estimated Electric Service Identifiers (ESI IDs) to be transitioned. ERCOT will communicate any such adjustment to the Authorized Representative of each Counter-Party who is a POLR within 24 hours of the initiation of a Mass Transition. The ILE adjustment will remain in place no more than the number of days necessary to effect a Mass Transition for the defaulting Counter-Party, after which time the incremental exposure will be fully reflected in the Counter-Party’s unadjusted TPE.. DALE; $; Average Daily Day Ahead Liability Extrapolated—M1 multiplied by the sum of the net amount due to or from ERCOT by the Counter-Party in the DAM Settlement Statements generated in the seven most recent calendar days that includes Ancillary Services and PTP Obligations bought in the DAM divided by the number of DAM Settlement Statements generated for the Counter-Party in the seven most recent calendar days. Forward extrapolation for the Counter-Party’s CRR Account Holder’s activity is excluded from this calculation.. M1; M1 = M1a + M1b—Multiplier for DALE and RTLE. Provides for forward risk during a Counter-Party termination upon default based upon the sum of the time period required for any termination upon default (M1a) and the time period required for a Mass Transition only (M1b). The M1a component is applicable to all Counter-Parties. The M1b component is applicable only to Counter-Parties representing any QSE associated with an Load Serving Entity (LSE). M1a = 12 Revisions to this value will be recommended by Technical Advisory Committee (TAC) and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. M1b = Weighted average transition days = Min(B, (2 + Max(1, (u+1)/2))*(1-DF)), rounded up to whole days Where: u = (n/r) Unscaled number of days to transition. B = Benchmark value. Initial value = 8. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. n = Number of Electric Service Identifiers (ESI IDs) associated with an individual Counter-Party. This value will be updated no less often than annually by ERCOT and updated values communicated to individual Counter-Parties. Counter-Parties entering the market will provide an estimated number of ESI IDs for use during their first six months of market activity. Subsequent to this time, the value for that Counter-Party shall be updated by ERCOT concurrently with other Counter-Parties with QSEs representing an LSE. r = Assumed ESI ID daily transition rate. Initial value of 100,000/per day. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. DF = Discount Factor applied to M1b if the Counter-Party is eligible for unsecured credit under ERCOT Creditworthiness Standards, or meet other creditworthiness standards that may be developed and approved by TAC and the ERCOT Board. Initial value of 0. Revisions to this value will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the parameter value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of a revised value. Each Counter-Party’s eligibility for unsecured credit under ERCOT Creditworthiness Standards will be evaluated at least annually.. M2; M2 = 9 Multiplier for URTA. Provides for unbilled historical activity based on historical activity. Revisions to the multiplier will be recommended by TAC and approved by the ERCOT Board. ERCOT shall update the multiplier value on the first day of the month following ERCOT Board approval unless otherwise directed by the ERCOT Board. ERCOT shall provide notice to Market Participants prior to implementation of the revised values..