| NPRR Number | 634 | NPRR Title | Clarification for the Reporting of Demand Response |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 17, 2014 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.7.2.1, Reporting of Demand Response |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that the reporting of Demand response participation, including Emergency Response Service (ERS), Demand response pilot projects, and Load Resources providing Ancillary Services, will be mapped to the 2003 ERCOT Congestion Management Zones instead of the current Load Zones to ensure confidentiality of MW quantities associated with Non Opt-In Entity (NOIE) participation. Without this revision, Qualified Scheduling Entity (QSE)-specific quantities of self-arranged Ancillary Services could be disclosed before the time permitted under paragraph (f) of Section 1.3.1.1, Items Considered Protected Information. This NPRR also changes the source of the data that will be used to create the reports for Load Resources. This change was necessary to account for capacity that is self-arranged by QSEs and not procured through the Day-Ahead Market (DAM) for Ancillary Services. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Work Group Review |  | To be determined. |  |  |
| Procedural History |  | - On 6/24/14, NPRR634 and an associated Impact Analysis were posted. - On 7/17/14, PRS considered NPRR634. |  |  |
| PRS Decision |  | On 7/17/14, PRS unanimously voted to recommend approval of NPRR634 as submitted. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/17/14, participants discussed the use of 2003 Congestion Management Zones (CMZs) in this NPRR and the need for WMS review of how new Electrical Buses will be defined. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | Market Participants benefit from clear and concise Protocols. |
| Quantitative Benefits |  |
| Impact to Market Segments | This NPRR ensures that confidential NOIE information will not be inappropriately disclosed due to the related Protocol disclosure requirement. |
| Credit Implications | No. |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Patterson |
| E-mail Address | mpatterson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3912 |
| Cell Number | 512-569-5539 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Proposed Protocol Language Revision

[NPRR491: Insert Section 3.10.7.2.1 below upon system implementation:] - 3.10.7.2.1 Reporting of Demand Response (1) ERCOT shall post on the MIS Public Area by the fifth Business Day after the start of a calendar month a report of the MW of Demand response that is participating in the past month in Emergency Response Service (ERS), Ancillary Service as a Load Resource, or any pilot project permitted by subsection (k) of P.U.C. Subst. R. 25.361, Electric Reliability Council of Texas (ERCOT). The data shall be aggregated according to the corresponding 2003 ERCOT Congestion Management Zone (CMZ). Data for participation in ERS shall be based on contracted amounts for each type of service for that calendar month. ERCOT shall set out separately MW contracted from both ERS Generators and generators that are participating by offsetting ERS Loads (with aggregated and non-aggregated ERS Generators set forth separately) and MW of ERS Loads. To the extent that a participating generator is not registered with ERCOT, information about the nameplate rating of the generator and the maximum deliverable to the ERCOT Transmission Grid or to serve native load shall be collected through the ERS contracting process. The report shall include these values for each ERS Contract Period broken down by ERS Time Period. Data for Ancillary Services shall be based on the Ancillary Service Resource Responsibility contained in the Current Operating Plan (COP) as of the start of the Adjustment Period for each Operating Day. ERCOT’s posting of Ancillary Service and pilot project participation data shall include the average MW capacity by service type by hour (or by another time period, if a pilot project service is not procured hourly). (2) On an annual basis, ERCOT shall work with Market Participants to produce a report summarizing Demand response programs, and MWs enrolled in Demand response in the ERCOT Region. This report shall be posted to the MIS Public Area no later than March 31st of each calendar year.