ROS Report


	NOGRR Number
	134
	NOGRR Title
	Posting Process for Black Start Plans

	Timeline
	Normal
	Action
	Recommended Approval

	Date of Decision
	August 7, 2014

	Proposed Effective Date
	September 1, 2014.

	Priority and Rank Assigned
	Not applicable.

	Nodal Operating Guide Sections Requiring Revision
	4.6, Black Start Service
4.6.4, Responsibilities

	Other Binding Documents Requiring Revision or Related Revision Requests 
	NPRR629, Removal of Start Plan Posting Requirement

	Revision Description
	This Nodal Operating Guide Revision Request (NOGRR) clarifies the responsibility of ERCOT to post the ERCOT Black Start plan on the Market Information System (MIS) Certified Area for Transmission Operators (TOs), and post TOs’ new or revised Black Start plans on the MIS Certified Area for specified Market Participants.

	Reason for Revision
	[image: image1.wmf]

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

X

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)



	Procedural History
	· On 5/22/14, NOGRR134 and an associated Impact Analysis were posted.
· On 6/23/14, CenterPoint comments were posted.
· On 6/23/14, ERCOT comments were posted.
· On 6/25/14, the Operations Working Group (OWG) considered NOGRR134.
· On 7/22/14, OWG considered the 6/25/14 OWG Report and Impact Analysis for NOGRR134.
· On 8/7/14, ROS considered NOGRR134 via ROS e-mail vote.

	OWG Decision 
	On 6/25/14, OWG was in consensus to recommend approval of NOGRR134 as amended by the 6/23/14 ERCOT comments. 
On 7/22/14, OWG was in consensus to endorse and forward the 6/25/14 OWG Report and Impact Analysis for NOGRR134 to ROS.

	Summary of OWG Discussion
	On 6/25/14, participants reviewed the 6/23/14 ERCOT comments. 
On 7/22/14, there was no discussion.

	ROS Decision 
	On 8/7/14, ROS unanimously voted via e-mail vote to recommend approval of NOGRR134 as recommended by OWG in the 7/22/14 OWG Report.  All Market Segments were present for the vote.

	Summary of ROS Discussion
	On 8/7/14, there was no discussion.


	Business Case

	Qualitative Benefits
	· Clearly identifies the process for which ERCOT will post the ERCOT Black Start plan and a TO’s new or revised Black Start plan.

· Provides efficiency in the process and reinforces importance of restricting distribution of Black Start plans, which contain sensitive reliability information, to those Market Participants with a need to review the plans.

	Quantitative Benefits
	

	Impact to Market Segments
	· Market Participants benefit from Nodal Operating Guides that are clear and concise.

	Other
	


	Sponsor

	Name
	Kelly Blackmer; Patrick Peters

	E-mail Address
	Kelly.Blackmer@ercot.com; Patrick.Peters@ercot.com

	Company
	ERCOT

	Phone Number
	512-248-4101; 512-275-7447

	Cell Number
	

	Market Segment
	Not applicable.


	Market Rules Staff Contact

	Name
	Brian Manning

	E-Mail Address
	Brian.manning@ercot.com

	Phone Number
	512-248-3937


	Comments Received

	Comment Author
	Comment Summary

	CenterPoint 062314
	Proposed that the revised language clarifying ERCOT responsibilities be captured in Section 4.6.4 instead of Section 4.6 as Section 4.6.4 addresses Entity responsibility.

	ERCOT 062314
	Proposed additional revisions to the 6/23/14 CenterPoint comments to clarify that ERCOT will post new or revised Black Start plans to the MIS Certified Area to Market Participants as requested by the TO. 


	Proposed Guide Language Revision


4.6
Black Start Service

(1)
This section provides general guidelines to be followed in the event of a Partial Blackout or Blackout of the ERCOT System.  Timely implementation of a Black Start plan compiled in accordance with Section 8, Attachment E, Black Start Plan Template, should facilitate coordination between ERCOT, Qualified Scheduling Entities (QSEs) who represent Black Start Resources, Black Start Resources, and Transmission Operators (TOs) and ensure restoration of service to the ERCOT System at the earliest possible time.  The Authorized Representative for Resource Entities that own contracted Black Start Resources will provide their QSE and ERCOT with a copy of the individual plant start-up procedures for coordination of their activities with those of the appropriate TO.

(2)
Pre-established plans and procedures cannot foresee all the possible combinations of system problems that may occur after a major failure.  It is the responsibility of ERCOT to restore the system to normal, applying the principles, strategies, and priorities outlined in the ERCOT Black Start Plan.



4.6.4
Responsibilities

(1)
ERCOT’s responsibilities are as follows:

(a)
Shall maintain a Black Start plan in accordance with North American Electric Reliability Corporation (NERC) Reliability Standards and no more than 30 days after revising the Black Start plan, shall notify the TOs of the revised Black Start plan and post the plan with an effective date on the Market Information System (MIS) Certified Area for TOs;
(b)
Shall, no more than 30 days after receiving a TO’s new or revised Black Start plan, notify the TO of ERCOT’s approval or disapproval of the TO’s new or revised Black Start plan and post the approved TO’s new or revised Black Start plan with an effective date on the MIS Certified Area to specified Market Participants requested by the TO.
(c)
Coordinate and approve Planned Outage schedules for contracted Black Start Resources;

(d)
Train QSE, TO, Resource Entity, and Market Participant personnel in the restoration of the ERCOT System.  This training will cover the theory of restoration and the processes that will need to be implemented during a Partial Blackout or Blackout;

(e) 
Will review the plans and procedures for consistency and conformance with these Operating Guides and ensure that they are updated at least annually;  

(f) 
ERCOT shall report to the Reliability and Operations Subcommittee (ROS) by April 1 of each year a plan for review and any testing activities of Black Start Resources;  

(g) 
Shall verify that the number, size, and location of Black Start Resources are sufficient to meet the ERCOT Black Start Plan; and
(h)
In the event of a Partial Blackout or Blackout of the  ERCOT System, ERCOT shall:

(i)
Maintain continuous surveillance of the status of the ERCOT System;

(ii)
Act as a central information collection and dissemination point for the ERCOT Region; 

(iii)
Coordinate reconnection of transmission;

(iv)
Direct assistance for QSEs who represent Black Start Resources, TOs, Resource Entities, and Market Participants;

(v)
Direct the distribution of reserves; and

(vi)
Coordinate the return of the ERCOT System to Automatic Generation Control (AGC).

(2)
TOs’ responsibilities are as follows:

(a)
Shall review and submit their Black Start plans to ERCOT by November 1 of each year, or when the Black Start plan has changed, via secured webmail or encrypted data transfer. The TO may request that ERCOT post the TO’s new or revised Black Start plan on the MIS Certified Area for specified Market Participants. The TO will have the responsibility to notify specified Market Participants that the new or revised Black Start plan has been posted on the MIS Certified Area;  and
(b)
In event of a Partial Blackout or Blackout of the ERCOT System:

(i)
Shall communicate with local Black Start Resources and the Black Start Resource’s QSE;

(ii)
Coordinate switching to next start Resources and local Load;

(iii)
Shall implement its local Black Start plan;

(iv)
Shall follow the direction of ERCOT on behalf of represented Transmission Service Providers (TSPs) and Distribution Service Providers (DSPs);

(v)
Shall act as the regional ERCOT representative in coordinating interconnection of Resources; and

(vi)
Shall follow the direction of ERCOT for reconnection of Islands.

(3)
QSEs’ representing Black Start Resources responsibilities are as follows:

(a)
Verify that associated QSE personnel are proficient in implementation and use of the appropriate procedures for use in the event of a Partial Blackout or Blackout; and

(b)
In the event of a Partial Blackout or Blackout of the ERCOT System, QSEs representing Black Start Resources shall: 

(i)
Take immediate steps to initiate and maintain communications with its Black Start Resources;

(ii)
Supply ERCOT and/or the local TO with information on the status of generation, fuel, transmission, and communication facilities;   

(iii)
Follow the direction of the local TO or ERCOT in regards to output of its Generation Resources; and

(iv)
Provide available assistance as directed by ERCOT or the local TO.

(4)
Black Start Resources’ responsibilities are as follows:

(a)
Verify that associated Resource personnel are proficient in the implementation and use of appropriate individual plant start-up procedures for use in the event of a Partial Blackout or Blackout; and

(b)
In the event of a Partial Blackout or Blackout of the ERCOT System, Black Start Resources shall: 

(i)
Isolate the Black Start Resource from the ERCOT Transmission Grid;
(ii)
Establish communications with the local TO who is the primary contact for the Black Start Resource;
(iii)
Supply the local TO and QSE with information on the status of generation, fuel, transmission isolation, and communication facilities;  

(iv)
Follow the appropriate plant start-up procedures and request synchronization and auxiliary Load pickup from the TO; and
(v)
Follow the direction of the local TO or ERCOT until such time as normal system operations resume.  The Black Start Resource should follow the direction of the QSE instructed by the TO or ERCOT when necessary.
(5)
Generation Resources that are not Black Start Resources have the following responsibilities in the event of a Partial Blackout or Blackout of the ERCOT System:

(a)
Take immediate steps to initiate and maintain communications with its QSE; and

(b)
Follow the direction of the local TO or ERCOT until such time as normal system operations resume.  The Generation Resource should follow the direction of the QSE as instructed by the TO or ERCOT when necessary.

(6)
Section 8, Attachment A, Detailed Black Start Information, and Section 8, Attachment E, Black Start Plan Template, provide a detailed and specific Black Start information guide.  Interested parties should use this information for technical reference material, Black Start testing, development of Black Start plans, and training of personnel.

134NOGRR-07 ROS Report 080714
Page 2 of 6
PUBLIC


_1468994886.unknown

_1468994887.unknown

_1468994884.unknown

_1468994885.unknown

_1468994883.unknown

_1468994882.unknown

