PRS: 6/11/14

NPRR562: Concerns and items requiring attention:

- Identify definition of “new” and “existing” generation

  - For Gen that meets PGRR018

  - ERCOT and Interconnecting TSP will evaluate and determine interconnecting measures

  - Risk assessment – frequency and value of determination (cost/benefit)

- How to address criteria for double circuit lines - Technical Solution

  - What and why was ERCOT’s original criteria under which some studies occurred

  - What is ERCOT’s final criteria under which studies should occur on a going forward basis

  - How do we reconcile existing studies with new criteria, should they be implemented

- Future SSO monitoring

- Series capacitors - Status (Bypassed telemetry)

  - What is the status now

  - How will ERCOT go about determining when the status will change

  - How will know in RT whether on or off

- Low hanging fruit (solutions - Relay install costs for relay equip ($9k for equipment))

- What is change in regional export capability

- What is the installed capacity of the CREZ system – currently

- Whether any CREZ gen been constrained by having the series capacitors bypassed

- If not what level of installed capacity do we think a constraint may occur based on weather forecasting

- What technologies are available to monitor SSO at the series cap

- What technologies are available to monitor SSO at a potentially affected generator

  - Monitoring technologies can be used to tripping functionality

- What technologies are available/feasible for retrofit

- Bypass under certain transmission configurations

- To the extent there are other alternatives that don’t involve bypass, what are the financial consideration to be provided to Gens

- Whether CREZ series caps should be treated the same or differently from series caps installed elsewhere in ERCOT (Valley)

  - What is the design criteria for new series capacitor installation