Operations Working Group Meeting

Tuesday, 7/22/14

Austin - MET Center

In Attendance:

| John Warren – LCRA | John Setzer – CPS |
| --- | --- |
| Brian Manning – ERCOT | Nitika Mago – ERCOT |
| Colleen Frosch – ERCOT | Kelly Landry – ERCOT |
| John Blackwell – Lone Star Transmission | David Penney – Texas RE |
| Jerry Willms – Lone Star Transmission | Agee Springer – ERCOT |
| Bob Temple – WETT | Billy Reid – Austin Energy |
| Brenda Hampton – Luminant | Curtis Graves – Austin Energy |
| John Abel – Oncor Robert Avila – Brownsville P.U.B. Kevin Morley – CenterPoint Energy Michael Cruz-Montes – CenterPoint Energy Hugo Meno – Electric Power Engineers, Inc. | Lauri White – AEP Texas Frank Owens – Cross Texas Transmission Jeff Healy – ERCOT Tip Tipton – Brazos Electric Corp |

Dial-In Attendees:

| Robert Bailey – NRG Linda Rodriguez – AEP Tina Carvey – Austin Energy Anthony Alford – CenterPoint Energy | Bill Fuller – Oncor Matt Carter – Garland Power & Light Sherry Looney – Luminant Taylor Woodruff – Oncor |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:35 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting Report NOGRR131

Clarification for Generation Resources during an EEA (Vote) ROS Approved, Operations Trainers Working Group (OTWG) (Possible Vote) ROS will review a Charter at its next meeting. No action at OWG this month.

- June OWG Meeting Notes

Reviewed notes with minor changes from Frank Owens.

- NOGRR Reviews

- 132NOGRR Automatic Under Voltage and Under Frequency Load Shedding Protection Systems Load Restoration. This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT] Language Review. Brief discussion followed. OWG recommended approval of NOGRR 132 as written. NOGRR will return to OWG next month for IA Review.

- 134NOGRR Posting Process for Black Start Plans. This NOGRR clarifies the responsibility of ERCOT to post the ERCOT Black Start plan on the Market Information System (MIS) Certified Area for Transmission Operators (TO) and post TOs’ new or revised Black Start plans on the MIS Certified Area for specified Market Participants. [ERCOT] IA Review. No impact from NOGRR 134. OWG recommended approval to ROS.

- Monthly Operations Report

Reviewed the June report; no questions were asked.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

Overview of standard updates was presented. Several questions were answered.

- System Operations Report

Upcoming procedure changes related to scarcity conditions were detailed by ERCOT personnel. No questions were asked.

- Seminar Task Force Report

No items on this month’s agenda.

- Other

ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. ERCOT Isabell is reviewing language submitted by Walter! ERCOT addressed this directive and indicated that ERCOT cannot support flexibility in voltage support requirements for Resources greater than 20 MVA. Isabell will email a summary of offline discussions to Frank Owens and OWG will report back to ROS.

Possible review of draft NPRR and NOGRR on Voltage Control Requirements. Continue Discussions. OWG reviewed language in section 3.15 and associated subsections as well as in section 6.5 and associated subsections. OWG tabled the NPRR for further revisions at 12:00 PM. Frank Owens asked for volunteers to continue language review offline. The following attendees volunteered: Jeff Healy, Anthony Alford, Stephen Solis, Sherry Looney, Robert Bailey, Hugo Mena, John Abel, and Mike, Cruz-Montes. In addition, ERCOT market rules volunteered to send a representative.

- Future Meeting Date

Tuesday August 19th ERCOT Met Center room 168.