| RRGRR Number | XXX | RRGRR Title | Steam Pressure Curve Information for Implementation of Regional Standard BAL-TRE-001 |
| --- | --- | --- | --- |
| Date Posted | August XX, 2014 |
| Requested Resolution | Urgent. This data set is required to calculate Generators’ performance to comply with Regional Standard BAL-TRE-001, Primary Frequency Response in the ERCOT Region, effective beginning April 1, 2015. |
| Resource Registration Glossary Sections Requiring Revision | 2, Resource Registration Glossary |
| Protocol Section(s) Requiring Revision | None |
| Revision Description | This Resource Registration Glossary Revision Request (RRGRR) is needed to calculate the initial performance requirement for conventional steam turbine generators as described by Regional Standard BAL-TRE-001 effective beginning April 1, 2015. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |

| Business Case |
| --- |
| Qualitative Benefits | Satisfies regulatory requirements |
| Quantitative Benefits | . |
| Impact to Market Segments | This RRGRR will help ERCOT to measure performance of Conventional Steam Generator per BAL-TRE-001 standard perpotential positive impact to Consumer Market Segment in the form of lower energy prices. |
| Other | Any other information relating to the impacts or benefits of the RRGRR. |

| Sponsor |
| --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number | 817-371-7773 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |
| --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

Comments

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet XXXRRGRR-02 Steam Pressure Curve Information for Implementation of Regional Standard BAL-TRE-001 08XX14.

Please also note that RRGRR003, Modifications to Improve Wind Forecasting, also proposes revisions to Section 2, Resource Registration Glossary.

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.

# Comments

Is there anything we can add to the business case? Especially important for requesting Urgency.

Did you want to keep this snapshot in the Revision Request? If so, we can move it up, to the comments section.