Operations Working Group Meeting Agenda

August 19th, 2014

9:30 AM - 3:00 PM OWG Meeting

ERCOT Austin Room 168

7620 Metro Center Dr.

Austin, TX 78744

http://ercot.webex.com

Meeting Number: 652 239 839

Meeting Password: Owg

Audio Dial-In: 1-877-668-4493

Agenda

| 1. | Antitrust Admonition | Owens | 9:30 am |
| --- | --- | --- | --- |
| 2. | ROS Meeting Report – NOGRR134 passed ROS by email vote, The NOGRR is scheduled for consideration at the August 28, 2014 TAC meeting. | Owens |  |
| 3. | OWG meeting notes approval: July meeting notes review and approval. | All |  |
| 4. | NOGRRs for review and language changes: 132NOGRR Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration. This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT] IA Review 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing: Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and Language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions [ERCOT]Language Review 136NOGRR Verifying QSE Capability to Operate in CFC This Nodal Operating Guide Revision Request (NOGRR) establishes a process for ERCOT to conduct Constant Frequency Control (CFC) tests to ensure that Qualified Scheduling Entities (QSEs) can provide this service if ERCOT loses its ability to control system frequency; and removes the CFC definition from the Nodal Operating Guide due to the definition being incorporated into the Protocols via associated NPRR646. [ERCOT] Language Review | All |  |
| 5. | Operations Report - Monthly Operations Report Summary/Questions | ERCOT |  |
| 6. | Operations Task Force Report - Action Items: | Tammar |  |
| 7. | Texas RE Update Report - Standards Updates | Penney |  |
| 8. | System Operations Report - Operating Procedure changes that impact market participants. | ERCOT |  |
| 9. | Seminar Task Force Report - OTS report | ERCOT |  |
| 10. | Other: - Possible review of draft NPRR and NOGRR on Voltage Control Requirements. Continued Discussions - Status update on SCR780 project - ERCOT VSS Tool Training for TSPs | Group ERCOT ERCOT/Blevins |  |
| 11. | Future Meeting Date: September 24th ERCOT Met Center room 168. | Owens |  |
| 12. | Adjourn – | Owens | 3:00 pm |

Antitrust Admonition

ERCOT strictly prohibits Market Participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, Subcommittees and Working Groups to be reviewed and followed by each Market Participant attending ERCOT meetings. If you have not received a copy of these Guidelines, an electronic version is available at http://www.ercot.com/about/governance/index.html. Please remember your ongoing obligation to comply with all applicable laws, including the antitrust laws.

Disclaimer

All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

2014 Revised OWG Meeting Schedule

January 27 – offsite 8:30 – 12 Noon

Austin Marriott North

2600 La Frontera Blvd

Round Rock, TX 78681

February – December Met Center 9:30 am – 3:30 pm

- February 17  - Room 206B

- March 19 – Room 206A

- April 23 – Room 168

- May 19 – Room 206B

- June 25 - Room 168

- July 22 - Room 168

- August 19 - Room 168

- September 24 - Room 168

- October 22 - Room 168

- November 19 - Room 168

- December 17 – Room 206B