Policy Cut Suggestions Received from the Market Participants

- Current rules that allow quick-start generation resources to participate in ancillary services and be available to be dispatched by SCED have not been carried over to allow QSGRs to participate in Contingency Reserves and Supplemental Reserves, for which they otherwise would be qualified.

- Efficacy of clearing Primary Frequency Response (PFR) and Fast-Frequency Response (FFR) in the same market, based upon an equivalency ratio.

- The quantity of each service purchased in the DAM for each hour must be able to be reasonably forecasted to enable REPs and consumers to hedge the total cost allocated to them options.

- Detailed transition plan from current AS to Future AS should be developed

- Performance mechanics for Ancillary Services capacity reservations as well as energy deployment performance should be applied to individual Resources with claw backs for poor performance or failures to perform.

- Unbundled products should not have the same MCPC while having different expectations for performance. Either they need different clearing prices for each subset of products (i.e. FFR1 and FFR2 have separate clearing prices, or you just have one FFR product with one set of performance standards and one price).

- Equivalency Ratio between Fast Responding Regulation Service and Regulation Service should be introduced.

- Emulated Inertia should be included as Ancillary Service.