## Sheet1
# | Data Element | MIS Classification | Currently provided? If yes EMIL report name or where it is provided. | ERCOT Comments | Additional Comments: | MISUG Rank/Priority
(a) | Peak Load; | Public | Todays Forecast | Data is available; system change to report at summary level
(b) | Peak hour; | Public | Todays Forecast | Data is available; system change to report at summary level
(c) | Planned peak load from the Day Ahead Load Forecast; | Public | LFvA | Data is available; system change to report at summary level
(d) | Planned peak hour from the Day Ahead Load Forecast; | Public | LFvA | Data is available; system change to report at summary level
(e) | Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; | not required |  | System changes required but data is available
(f) | Amount, duration, time deployed and time recalled for each deployment of RRS for Load Resources; | not required |  | System changes required but data is available
(g) | Amount, duration, time deployed and time recalled for each deployment of Emergency Interruptible Load Service (EILS); | not required |  | Data is NOT available in system. Would be entirely manual effort. Can this element be removed? DSWG Workshop on EILS data?
(h) | Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as On-Line or Off-Line if available; | not required |  | ERCOT recommends removal based on NPRR426
(i) | SCED offset (including SCED timestamp, offset timestamp and amount); | not required |  | System changes required but data is available
(j) | Summary of RUC commitments including the reason for the RUC commitment from the following options: | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available | Resource Status - change class of report or NPRR to change data class?
(j)(i) | Import limit due to thermal constraint; | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(j)(ii) | Voltage stability; | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(j)(iii) | Outage support; or | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available | Removal of option to align with existing report to ROS
(j)(iv) | System capacity. | Secure | HRUC/DRUC Commitments and Decommitments | System changes required but data is available
(k) | Summary of Reliability Must-Run (RMR) Resource commitments including Resource name, time, duration including the reason for RMR Resource commitment chosen from the options in item (j) above; | Secure |  | Needs further analysis, potentially leverage existing CDR report for RMR.
(l) | List of SCED intervals which reached the Shadow Price cap and constraint associated with each; | Public |  | System changes required but data is available
(m) | Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; | Public | New MISUG Report | Needs further analysis, potentially leverage existing CDR report for RMR.
(n) | List of Load shed events with MW quantity and duration; | not required |  | Data is NOT available in system. Would be entirely manual effort. Can this element be removed? DSWG Workshop on EILS data?
(o) | List of Transmission Watches, Alerts and Emergency Notifications; and | Public | Notifications | Could possibly be pulled from NB but extensive effort
(p) | Any Generation Resource trips greater than 450 MW including capacity tripped and time of trip. | Public | Notifications | Would require system change to capture data and automate

## Sheet2
# | Data Element | Data Avail in System? | Data Published? | If exists, report name or where it is provided. | ERCOT Comments | Balancing/Trans Sec
(a) | Peak Load; | Exists | Yes - Public | Load Forecast vs Actual |  | Balancing
(b) | Peak hour; | Exists | Yes - Public | Load Forecast vs Actual |  | Balancing
(c) | Planned peak Load from the Day Ahead Load Forecast; | Exists | Yes - Public | Load Forecast vs Actual |  | Balancing
(d) | Planned peak hour from the Day Ahead Load Forecast; | Exists | Yes - Public | Load Forecast vs Actual |  | Balancing
(e) | Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; | Exists | Yes - Certified | Telemetry & Hotline Call |  | Balancing
| Amount | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Duration | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Time Deployed | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Time Recalled | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
(f) | Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; | Exists | Yes - Certified | Telemetry & Hotline Call |  | Balancing
(g) | Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; | Exists | Yes - Certified | Telemetry & Hotline Call |  | Balancing
| Amount | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Duration | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Time Deployed | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Time Recalled | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
(h) | Security Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); | New | New |  |  | Trans Sec
(i) | Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; | Exists | Yes - Secure | Hourly RUC Committed or Decommitted Resources (NP5-752-CD) |  | Balancing/Trans Sec
(j) | Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; | Exists | Yes - Public | Hourly RMR Service Deployed (NP5-108-CD) |  | Balancing/Trans Sec
(k) | List of SCED intervals which reached the Shadow Price cap and constraint associated with each; | Exists | Yes - Public | SCED Shadow Prices and Binding Constraints (NP6-86-CD) |  | Trans Sec
(l) | Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; | Exists | Yes - Certified | Manual Over-Riding of HDL and LDL (NP6-914-CD) | Constraint Name not given | Trans Sec
(m) | List of Emergency Condition Notifications; and | Exists | Yes - Public |  |  | Balancing/Trans Sec
(n) | A frequency deviation event equal to or greater than .10 Hz which shall include: |  | Partially - Public | Real-Time System Conditions | Current Frequency is given every ten seconds | Balancing
| ERCOT Load at the time of each event; | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Time of each event; | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Amount of generation and Load lost contributing to the event; and | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
| Approximate lowest frequency. | PLS CONFIRM | PLS CONFIRM | PLS CONFIRM |  | Balancing
(o) | List of Stability Limit exceedances, including |  |  |  |  | Trans Sec
| Stability Limit / Constraint name |  |  |  |  | Trans Sec
| Time exceeded |  |  |  |  | Trans Sec
| Time restored |  |  |  |  | Trans Sec
| Stability Limit value |  |  |  |  | Trans Sec
| Stability Limit maximum exceedance flow |  |  |  |  | Trans Sec
(p) | Base Case Thermal exceedances, including |  |  |  |  | Trans Sec
| Equipment name |  |  |  |  | Trans Sec
| From Station |  |  |  |  | Trans Sec
| To Station |  |  |  |  | Trans Sec
| Maximum flow |  |  |  |  | Trans Sec
| Equipment Rating |  |  |  |  | Trans Sec
(q) | Summary of Solar/ Wind Forecast Performance |  |  |  |  | Balancing
(r ) | CPS1 Score (Daily) |  |  |  |  | Balancing
(s) | Hourly summary of all forced generation outages, both in number of units and aggregated loss of capacity |  |  |  |  | Balancing
(t) | Summary of Generic Transmission Constraint congestion activity (GTC, Limit, duration of congestion) |  |  |  |  | Trans Sec
(u) | Summary of congestion rent for each constraint activated in SCED |  |  |  |  | Trans Sec
(v) | Summary of all Emergency Condition Notifications (OCN through EEA) |  |  |  |  | Balancing/Trans Sec
| Planned/Scheduled Outages (MW total) at peak |  |  |  |  | Balancing
| Planned/Scheduled Derates (MW total) at peak |  |  |  |  | Balancing
| Forced Outages (MW total) at peak |  |  |  |  | Balancing
| Forced Derates (MW total) at peak |  |  |  |  | Balancing
| Interchange (DC Tie flow) at peak |  |  |  |  | Balancing
| PRC at peak |  |  |  |  | Balancing
| Lowest PRC during the day |  |  |  |  | Balancing
| High/low actual max temps in each of the major load areas. |  |  |  |  | Balancing
| Load forecast error avg and max |  |  |  |  | Balancing
| solar forecast error avg and max |  |  |  |  | Balancing
| max load ramp |  |  |  |  | Balancing
| Max wind ramp |  |  |  |  | Balancing
| Max solar ramp |  |  |  |  | Balancing
| Max total ramp |  |  |  |  | Balancing
| Tool availability (EMS, VSAT, TSAT, RTCA/SE) |  |  |  |  | Balancing/Trans Sec
| DCS Event |  |  |  |  | Balancing
| DCS Event Frequency Recovery time |  |  |  |  | Balancing
| # of SCED interval REG UP maxed out |  |  |  |  | Balancing
| # of SCED interval REG DOWN maxed out |  |  |  |  | Balancing
| Min Sys Inertia |  |  |  |  | Balancing
| AVG Sys Inertia |  |  |  |  | Balancing
| SE Performance %? |  |  |  |  | Balancing/Trans Sec
| SPS operations |  |  |  |  | Trans Sec
| Max Transmission System Unavailability % for 138 kV and 345 KV |  |  |  |  | Trans Sec
| Max Available capacity (online + offline but available) at peak |  |  |  |  | Balancing
| ALR1-5 System Voltage Performance |  |  |  |  | Trans Sec
Note on B23: Solis, Stephen: As part of this, just have at least one cell that says how many during that day? E.g. 5 frequency deviations
Note on B40: Solis, Stephen: should include error of course, but also STWF vs COP error avg and max, max gen, and max % of demand
Note on B53: Solis, Stephen: I think if you were to take the Daily PUCT report and fill out with actuals as well, it would say a lot.

## Sheet3
Daily Operating Report for xx/xx/xxxx
Produced at xx:xx:xx xx/xx/xxxx
Comments
Load | Actual | Graphical
DA Forecast
3? Hour Ahead Forecast
| Peak Demand Hour | Numeric
| Peak Demand (Hourly) | Numeric
| Peak Demand (Inst) | Numeric
Weather | Previous Day Forecasted Temperatures | Numeric
| Previous Day Actual Temperatures | Numeric
Generation | Energy (by fuel type, stacked area) | Graphical
PRC (line graph generation plus PRC)
Spinning Reserves (line graph of Committed HSL)
| New Unit Sync (if name is confid, then MW, Fuel type) | Text
Renewables | Actual Wind Production | Graphical | Include Loads in SCED?
DA Wind Forecast
3? Hour Ahead Wind Forecast
Actual Solar Production
DA Solar Forecast
3? Hour Ahead Solar Forecast
Outages (Gen) | Planned Gen Outages MW | Graphical
Forced Gen Outages MW
Unit Commitment | RUC (MW, Area and Reason) | Text
| RMR Commitment (Unit Name, MW, Reason) | Text
| VDI (MW, Reason) | Text
| Manual Overrides (MW, Area and Reason) | Text | Include constraint that caused override.
Ancillary Services | Procured (MW by type by hour) | Graphical | ERS deployment--What, if any, information can be provided?
| Deployment (MW by type by hour) | Graphical
| SASMs | Text?
Transmission | Active Constraints | Text
| Constraints Exceeding yy% of Limit for > 15? Mins | Text
| CMPs developed in or near RT | Text
| Major Forced Transm Outages | Text
| Constraints Violated in SCED (Constr ID, max sp, total amt of time violated each day for the last 4 days, total amt of time violated in last 30 days) | Text | Include full names/long names of elements and contingency def instead of EMMS identifiers.
| Consistently Irresolvable SCED Constraints (Constr ID, max sp) | Text
Applications | Issues | Text
Unusual Events | Energy Emergency Alerts (Level) | Text
| Resources Deployed | Text
| Times & Duration of event | Text
| Frequency Events (MW Tripped) | Text
| Lowest Frequency | Text
| Recovery Time to 60Hz | Text
| Transmission Emergencies | Text
| Location | Text
| Constraint | Text
| Action Taken | Text
Operating Notices | List | Text | OCNs, Watches