Future Ancillary Services Policy Questions for TAC Consideration

- Should Primary Frequency Response (PFR) and Fast-Frequency Response (FFR) be cleared in the same market, based upon an equivalency ratio?

- Should the NPRR/CBA be delayed until a transition plan from current Ancillary Services to Future Ancillary Services is developed?

- Should the NPRR/CBA be delayed pending a decision regarding Pay-for-Performance?  If so, what mechanism should be used for performance requirements?  Pay-for-Performance vs. Clawbacks vs. Disqualification vs. qualification amounts based on performance?

- Should the NPRR/CBA be delayed until the Synchronous Inertia Response (SIR) is developed?

- Should an Equivalency Ratio between Fast Responding Regulation Service and Regulation Service be introduced?

- Should NPRR/CBA be delayed pending FAST review of the potential overlap between PFR and Contingency Reserves as they are currently structured to see if overlap can be eliminated resulting in lower costs for Ancillary Services?

- Should CBA include an interaction with Ancillary Service providers to see if they will be willing to provide these redesigned services?

Items for future consideration:

The quantity of each service purchased in the DAM for each hour must be able to be reasonably forecasted to enable REPs and consumers to hedge the total cost allocated to them.  Which of the procurement options presented at the TAC/FAST Workshop (or hybrid/alternative to) be implemented?