Date: 	August 21, 2014

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR611, Modifications to CDR Wind Capacity Value - NPRR632, Eliminate Manual Calculations When Producing 4-CP Billing Determinant Data - NPRR633, Removes Requirement for Confirmation of Ancillary Service Test Using Primary and Secondary Voice Circuits - NPRR634, Clarification for the Reporting of Demand Response - NPRR635, Clarification of Congestion Revenue Right Source and Sink Points - NPRR636, Cleanup to Remove Software Documentation Posting Requirement and Align Three-Part Supply Offer Language - NPRR637, Clarification of ERS Language and ERCOT Process for Co-located Resources ##### Consideration of the request for withdrawal of the following Revision Requests: - SCR776, Retail Data Transport Upgrade to NAESB EDM v2.2 - SCR780, Macomber Map System Operations Test Environment Enhancement

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR611, Modifications to CDR Wind Capacity Value [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This Nodal Protocol Revision Request (NPRR) proposes modifications to the Capacity, Demand, and Reserves (CDR) methodology for calculating the capacity value of wind during peak Load periods so that the wind capacity value is calculated as the average historical wind availability during the top 20 peak Load hours over a multi-year period, expressed as a percentage of installed wind capacity, rather than the effective load carrying capability as determined by a loss of Load expectation study; and also proposes to calculate the wind capacity values for both the summer and winter Peak Load Seasons, as well as for wind Resources located in non-coastal and coastal wind regions. PRS Decision: On 7/17/14, PRS unanimously voted to recommend approval of NPRR611 as amended by the 7/10/14 WMS comments and as revised by PRS. On 8/14/14, PRS voted to endorse and forward the 7/17/14 PRS Report and Impact Analysis for NPRR611 to TAC. There was one abstention from the Investor Owned Utility (IOU) Market Segment. - NPRR632, Eliminate Manual Calculations When Producing 4-CP Billing Determinant Data [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR eliminates manual calculation of Transmission and/or Distribution Service Provider (TDSP) 4-Coincident Peak (4-CP) data using lower-level non-aggregate Electric Service Identifier (ESI ID) data and requires instead the use of Settlement system aggregate data; and clarifies treatment of Block Load Transfer (BLT) Load. PRS Decision: On 7/17/14, PRS unanimously voted to recommend approval of NPRR632 as submitted. On 8/14/14, PRS unanimously voted to endorse and forward the 7/17/14 PRS Report and Impact Analysis for NPRR632 to TAC. - NPRR633, Removes Requirement for Confirmation of Ancillary Service Test Using Primary and Secondary Voice Circuits [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the requirement to test the primary and secondary voice circuits for Ancillary Service qualification tests. This requirement is not needed since ERCOT performs tests on voice circuits with any new Qualified Scheduling Entity (QSE) to establish their operations for the first time. PRS Decision: On 7/17/14, PRS unanimously voted to recommend approval of NPRR633 as revised by PRS. On 8/14/14, PRS unanimously voted to endorse and forward the 7/17/14 PRS Report and Impact Analysis for NPRR633 to TAC. - NPRR634, Clarification for the Reporting of Demand Response [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that the reporting of Demand response participation, including Emergency Response Service (ERS), Demand response pilot projects, and Load Resources providing Ancillary Services, will be mapped to the 2003 ERCOT Congestion Management Zones instead of the current Load Zones to ensure confidentiality of MW quantities associated with Non Opt-In Entity (NOIE) participation, so that QSE-specific quantities of self-arranged Ancillary Services will not be disclosed before the time permitted under paragraph (f) of Section 1.3.1.1, Items Considered Protected Information; and also changes the source of the data that will be used to create the reports for Load Resources. PRS Decision: On 7/17/14, PRS unanimously voted to recommend approval of NPRR634 as submitted. On 8/14/14, PRS unanimously voted to endorse and forward the 7/17/14 PRS Report and the Impact Analysis for NPRR634 to TAC. - NPRR635, Clarification of Congestion Revenue Right Source/Sink Points [Boston Energy] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR will establish that Resource Settlement Points are retained in ERCOT Congestion Revenue Right (CRR) and Day-Ahead Market (DAM) models until there is no further Resource association with the Settlement Point. PRS Decision: On 7/17/14, PRS voted to recommend approval of NPRR635 as revised by PRS. There was one abstention from the Independent Power Marketer (IPM) Market Segment. On 8/14/14, PRS unanimously voted to endorse and forward the 7/17/14 PRS Report and the Impact Analysis for NPRR635 to TAC. - NPRR636, Cleanup to Remove Software Documentation Posting Requirement and Align Three-Part Supply Offer Language [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes a requirement to post software documentation and code related to validation rules to the extent that this is not Protected Information; and aligns Section 4.4.9.2.1, Startup Offer and Minimum-Energy Offer Criteria, with the limitations on modifying a Startup Offer or Minimum-Energy Offer for a DAM-Committed Interval, which were implemented with NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period (formerly "Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities,”) in Section 4.4.9.3, Energy Offer Curve. PRS Decision: On 7/17/14, PRS unanimously voted to recommend approval of NPRR636 as revised by PRS. On 8/14/14, PRS unanimously voted to endorse and forward the 7/17/14 PRS Report and Impact Analysis for NPRR636 to TAC. - NPRR637, Notification of Financial Impact of Settlement Disputes [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. (implementation of NPRR637 will require modifications to the ERS submission form and ERS SAS code) Revision Description: This NPRR provides for changes to ERS including clarifying procedures for ERS procurement, classification and treatment of ERS Generators particularly when they are co-located with an ERS Load, calculating ERS Resource Availability when the obligation of one or more ERS Resources is exhausted, payment reduction for Weather Sensitive and Non-Weather Sensitive ERS Resources, and clarifying rules for testing of ERS Resources. PRS Decision: On 7/17/14, PRS voted to recommend approval of NPRR637 as amended by the 7/10/14 ERCOT comments. There was one opposing vote from the IPM Market Segment. On 8/14/14, PRS voted to endorse and forward the 7/17/14 PRS Report and Impact Analysis for NPRR637 to TAC. There was one opposing vote from the IPM Market Segment. Revision Requests Rejected None. Revision Requests Requested for Withdrawal - SCR776, Retail Data Transport Upgrade to NAESB EDM v2.2 [Centerpoint] Proposed Effective Date: Not applicable. ERCOT Impact Analysis: $400k - $500k; no impacts to ERCOT staffing; impacts to North American Energy Standards Board (NAESB) and Enterprise Information Services (EIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This System Change Request (SCR) will upgrade North American Energy Standards Board (NAESB) Electronic Delivery Mechanism (EDM) from v1.6 to v2.2, providing ERCOT and Market Participants the ability to support NAESB EDM specified digital signature as well as retail file data identification in compliance with NAESB EDM v2.2. PRS Decision: On 11/21/13, PRS unanimously voted to recommend approval of SCR776 as submitted. On 8/14/14, PRS unanimously voted to recommend approval of the Request for Withdrawal for SCR776. - SCR780, Macomber Map System Operations Test Environment Enhancement [Oncor] Proposed Effective Date: Not applicable. ERCOT Impact Analysis: Not applicable. Revision Description: This SCR provides Macomber Map display (view only) to ERCOT Transmission Operators (TOs) via the System Operations Test Environment (SOTE) system. PRS Decision: On 6/11/14, PRS voted to recommend approval of SCR780 as submitted. There was one abstention from the Investor Owned Utility (IOU) Market Segment. On 8/14/14, PRS unanimously voted to recommend approval of the Request for Withdrawal for SCR780. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the September 11, 2014 PRS Meeting - NPRR560, Caps and Floors for Energy Storage Resources [ETWG] - NPRR617, Energy Offer Flexibility [Calpine] - NPRR644, Operating Reserve Demand Curve Phase 2 Revisions [ERCOT] - SCR781, MP Online Data Entry - Market Requirements [RDWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR535, Resource Status Startup – Shutdown [GDF Suez] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR572, Asynchronous Tie Interconnection Process [Pattern Energy] - NPRR595, RRS Load Resource Treatment In ORDC [Tenaska] - NPRR625, Clarification of Non-Spin Requirements and Operational Procedures [Luminant] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR639, Correction to Minimum Current Exposure [Reliant] - NPRR640, As-Built Clarification of Load Resource Participation in SCED and Non-Spin Qualification [ERCOT] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR642, Constraint Management During Energy Emergency Alerts [ERCOT] - NPRR643, Clarification of MIS Postings for Outages Upon Implementation of SCR774 [ERCOT] - NPRR645, Real-Time On-Line Capacity Revisions [ERCOT] - NPRR646, Emergency Operations Settlement for CFC Testing [ERCOT] New Revision Requests Scheduled for Consideration at the September 11, 2014 PRS Meeting - NPRR647, CRR Auction Shadow Price Transparency [Yes Energy] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr http://www.ercot.com/mktrules/syschangereq/scrs.html