Operations Working Group Report

September, 2014

The Operations Working Group (OWG) met on August 19, 2014 and considered the following:

OWG Meeting Notes Review –

The working group reviewed and approved the July 2014 meeting notes with no changes.

Revision Request Review –

132NOGRR

Automatic Under Voltage and Under Frequency Load Shedding Protection Systems Load Restoration

IA Review

OWG Action: OWG Recommend ROS

Discussion: This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT]. OWG recommended approval of NOGRR 132 as written.

135NOGRR

Constraint Management During Energy Emergency Alerts

Language Review

OWG Action: OWG Tabled

This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing: - Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and - Language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions [ERCOT] Language was summarized by ERCOT personnel and questions were answered. OWG tabled the NOGRR pending a ROS/WMS workshop.

136NOGRR

Verifying QSE Capability to Operate in CFC

Language Review

OWG Action: OWG Tabled

- This Nodal Operating Guide Revision Request (NOGRR) establishes a process for ERCOT to conduct Constant Frequency Control (CFC) tests to ensure that Qualified Scheduling Entities (QSEs) can provide this service if ERCOT loses its ability to control system frequency; and removes the CFC definition from the Nodal Operating Guide due to the definition being incorporated into the Protocols via associated NPRR646. [ERCOT] Language Review. Reviewed language with Luminant comments. Minor changes were proposed. NOGRR tabled by OWG.

Operations Report –

- Reviewed the July report; no questions were asked. Congestion in West Texas discussed briefly by ERCOT personnel.

Operations Task Force Report

- No items on this month’s agenda and will be retired upon approval of the OTWG.

Seminar Task Force Report

- No report on this month’s agenda.

Texas RE Update Report

- Overview of standard updates was presented. Upcoming workshop on February 2011 cold weather event was announced.

System Operations Report

- Procedures related to DC Tie tags updated. Real time procedure updated to include manual deployment of RRS when HASL-Load Ramp below 200 MW.

Other –

- Possible review of draft NPRR and NOGRR on Voltage Control Requirements. Continue Discussions. OWG reviewed and discussed drafts with NRG comments. The following attendees volunteered: Jeff Healy, Anthony Alford, Sephen Solis, Sherry Looney, Robert Bailey, Hugo Mena, John Abel, and Mike, Cruz-Montes. In addition, ERCOT market rules volunteered to send a representative.

- ERCOT VSS Tool Training for TSPs. ERCOT personnel presented the features of the tool and conducted a live demo. Numerous questions were answered.

Future Meeting Dates –

- Tuesday September 24th, 2014 – at the ERCOT Met Center room 168.