ERCOT Planning Guide

- Table of Contents

- September 1, 2014

1	Overview	1

1.1	Purpose	1

1.2	Process for Planning Guide Revision	1

1.2.1	Introduction	1

1.2.2	Submission of a Planning Guide Revision Request	2

1.2.3	Planning Working Group	3

1.2.4	Planning Guide Revision Procedure	3

1.2.5	Urgent Requests	12

1.2.6	Planning Guide Revision Implementation	13

2	Definitions and Acronyms	2-1

2.1	Definitions	2-1

2.2 	Acronyms	2-3

3	Regional Planning	3-1

3.1	Communications	1

3.1.1	Overview of Major Transmission Planning Activities	1

3.1.1.1	Long-Term System Assessment	1

3.1.1.2	Regional Transmission Plan	1

3.1.1.3	Regional Planning Group Project Reviews	2

3.1.1.4	Generation Interconnection Process	2

3.1.2	Regional Planning Group Project Submission	2

3.1.2.1	All Projects	2

3.1.2.2	Projects That Are Not Included in the Current Regional Transmission Plan	3

3.1.2.3	Other Information	4

3.1.3	Project Evaluation	4

3.1.3.1	Definitions of Reliability-Driven and Economic-Driven Projects	4

3.1.3.2	Reliability-Driven Project Evaluation	5

3.1.4	Regional Transmission Plan Development Process	5

3.1.4.1	Development of Regional Transmission Plan	5

3.1.4.2	Use of Regional Transmission Plan	6

3.1.5	Regional Planning Group Comment Process	6

3.1.6	Notify PUCT of Recommended Transmission Projects	7

4	Transmission Planning Criteria	4-1

4.1	Introduction	1

4.1.1	Reliability Criteria	2

4.1.1.1	Planning Assumptions	2

4.1.1.2	Reliability Performance Criteria	2

4.1.1.3	Voltage Stability Margin	4

4.1.2	ERCOT Application of NERC Standards for System Assessments	4

4.1.2.1	Category C	4

4.1.2.2	Category D	5

5	Generation Resource Interconnection or Change Request	5-1

5.1	Introduction	1

5.1.1	Applicability	1

5.1.2	Responsibilities	2

5.2	Generation Interconnection Process	2

5.2.1	Generation Interconnection or Change Request Application	3

5.2.2	Generation Interconnection or Change Request Submission Requirements	4

5.3	Full Interconnection Study Request	5

5.3.1	Full Interconnection Study Submission Requirements	6

5.3.2	Modifications to Request Declarations of Resource Data Accuracy	6

5.4	Study Processes and Procedures	8

5.4.1	Security Screening Study	8

5.4.2	Full Interconnection Study	9

5.4.3	Steady-State Analysis	11

5.4.4	System Protection (Short-Circuit) Analysis	12

5.4.5	Dynamic and Transient Stability (Unit Stability, Voltage, Subsynchronous Resonance) Analysis	12

5.4.6	Facility Study	13

5.4.7	Economic Study	14

5.4.8	FIS Study Report and Follow-up	14

5.4.9	Proof of Site Control	15

5.4.10	Confidentiality	16

5.5	Interconnection Agreement	17

5.5.1	Standard Generation Interconnection Agreement	17

5.5.2	Other Arrangements for Transmission Service	17

5.5.3	Provisions for Municipally Owned Utilities and Cooperatives	17

5.5.4	Notification to ERCOT Concerning Certain Project Developments	17

5.6	Compliance with Operational Standards	18

5.7	Interconnection Data, Fees, and Timetables	19

5.7.1	Generation Resource Data Requirements	19

5.7.2	Interconnection Study Fees	21

5.7.3	Stability Modeling Fee	21

5.7.4	Full Interconnection Study Fee/Cost	21

5.7.5	Interconnection Process Timetables	22

5.8	GENERAL AND TECHNICAL STANDARDS	23

5.8.1	Other Standards	23

5.8.2	Transformer Tap Position	23

6	Data/Modeling	6-1

6.1	Steady-State Model Development	1

6.2	Dynamics Model Development	2

6.2.1	Dynamics Data Requirements for Resources	3

6.2.2	Dynamics Data Requirements for Load Resources	4

6.2.3	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers	4

6.2.4 	Dynamics Data Screening and Maintenance	5

6.2.5 	Dynamics Data Recorder	5

6.3	Process for Developing Short Circuit Cases	6

6.4	Transmission Project Information and Tracking Report and Data Requirements	6

6.4.1	Transmission Project Information and Tracking Report	6

6.4.2	ERCOT Responsibilities	7

6.4.3	TSP Responsibilities	7

6.4.4 	Regional Transmission Plan Projects in Transmission Project Information and Tracking Report	7

6.5	Annual Load Data Request	8

6.6	Intentionally Left Blank	9

6.7	Data Dictionary	9

6.8	Resource Registration Procedures	9

6.8.1	Resource Registration	9

6.8.2	Resource Registration Process	10

6.9	Addition of Proposed Generation Resources to the Planning Models	11

6.10	Contingency Filing Requirements	127

7	Market Data Transparency	1

7.1	Planning Data and Information	1

8	Attachments	8-1

Declaration of Resource Data Accuracy	8(A)

Declaration of Adequate Water Rights	8(B)

9	RESERVED	9-1