DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 6, 2014 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Bern, Alan | Oncor Electric Delivery |  |
| DeTullio, David | Air Liquide |  |
| Firestone, Joel | Topaz Power |  |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative |  |
| Moore, John | South Texas Electric Cooperative |  |
| Marsh, Tony | MAMO Enterprises |  |
| Mattei, Andrew | Brazos Electric Power Cooperative | Alt. Rep. for R. Ryno |
| Reed, Cyrus | Sierra Club |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Vo, Trieu | CPS Energy |  |

Guests:

| Bell, Brad | E. ON |  |
| --- | --- | --- |
| Carlson, Trent | JPMVEC |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Gomes, Matt | Lone Star Transmission |  |
| Henry, Jack | Siemens, PTI |  |
| Holloway, Harry | GDF Suez |  |
| Kemper, Jason | EDF - RE |  |
| Kremling, Barry | GVEC |  |
| McClellan, Suzi | Good Company |  |
| Nashawati, Eithar | Oncor |  |
| Niemeyer, Sydney | NRG |  |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Pieniazek, Adrian | NRG |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Sharyland |  |
| Turner, David | Lone Star Transmission |  |
| White, Laurie | AEP |  |
| Wittmeyer, Bob | DME |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Flores, Isabel |  |  |
| Hasha, Christine |  |  |
| Springer, Agee |  |  |
| Thompson, Chad |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Bill Hatfield called the April 3, 2014 ROS meeting to order at 9:30 a.m. and asked for a moment of silence in memory of John A. Moore.

Antitrust Admonition

Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

Mr. Hatfield reminded Market Participants that the ROS meeting would adjourn no later than 12:30 pm in consideration of the 1:00 p.m. workshop regarding NPRR562, Subsynchronous Resonance.

Approval of Minutes (see Key Documents)

March 6, 2014

This item was postponed to the May 8, 2014 ROS meeting.

Technical Advisory Committee (TAC) and ERCOT Board of Directors Update (see Key Documents)

Mr. Hatfield noted that ROS presented no voting items at the March 27, 2014 TAC meeting, and that Christine Hasha presented an update regarding Critical Infrastructure Protection Version 5 revisions and implementation key dates.

Operations Working Group (OWG) (see Key Documents)

Frank Owens presented Revision Requests for ROS consideration.

Nodal Operating Guide Revision Request (NOGRR) 124, Additional VRT Requirement for IRRs

Mr. Owens reviewed the 3/19/14 OWG Report for NOGRR124; Marguerite Wagner presented the 3/31/14 EMMT comments.

Clayton Greer moved to recommend approval of NOGRR124 as amended by the 3/31/14 EMMT comments as revised by ROS for an effective date of “Upon TAC approval.”  Randy Jones seconded the motion.  Market Participants debated an effective date for NOGRR124 and reiterated concerns for retrofit costs.  ERCOT Staff expressed a preference for an effective date that would minimize the number of units “grandfathered” from compliance requirements.  Market Participants also discussed the 4/1/14 Invenergy comments to NOGRR124.  The motion failed with three abstentions from the Cooperative, Independent Generator, and Municipal Market Segments, and 14 objections from the Consumer (2), Cooperative (2), Independent Generator, Independent Power Marketer (IPM) (2), Investor Owned Utility (IOU) (4), and Municipal (3) Market Segments.

Mr. Reed moved to recommend approval of NOGRR124 as recommended by OWG in the 3/19/14 OWG Report; and to express disappointment with the retroactivity of NOGRR124.  Mr. R. Jones seconded the motion.  The motion carried with one abstention from the Cooperative Market Segment.

NOGRR130, Alignment with NPRR555 and NPRR434

Mr. Greer moved to grant NOGRR130 Urgent status.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Mr. Greer moved to recommend approval of NOGRR130 as submitted.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Sydney Niemeyer reviewed recent PDCWG activities.

Re NPRR524, Resource Limits in Providing Ancillary Service

ROS took no action on this item.

NPRR576, Changing Non-Spin Service to be Dispatched by ERCOT

ROS took no action on this item.

Planning Working Group (PLWG) (see Key Documents)

Brad Schwarz reviewed recent PLWG activities and requested ROS direction regarding the review of constrained Generation resources.  On behalf of PLWG, Mr. Schwarz asked if the ERCOT Generation Deliverability study should be expanded; if a seasonal study should be conducted; and whether PLWG should consider extreme scenarios if constraints in the Generation Deliverability study align with those in the Regional Transmission Plan study.  After discussion, ROS took no action on this item.  Mr. Hatfield requested that PLWG return with a refined set of questions for ROS consideration.

Voltage Reduction Task Force (VRTF) (see Key Documents)

Eithar Nashawati reviewed recent VRTF activities and noted that the VRTF interim report has been completed and is posted for review.

ERCOT Updates (see Key Documents)

February 2014 Operations Report

Agee Springer presented the February 2014 Operations Report.

February 2014 System Planning Report

Jeff Billo presented the February 2014 System Planning Report

Dynamics Working Group (DWG)

Rob O’Keefe reviewed recent DWG activities.

Resource Data Working Group (RDWG) (see Key Documents)

John Palen reviewed recent RDWG activities.

System Protection Working Group (SPWG) (see Key Documents)

Andrew Mattei reviewed recent SPWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Basileo Rocha reviewed recent SSWG activities.

No Reports:

- Black Start Working Group (BSWG)

- Geomagnetic Disturbance Task Force (GMDTF)

- Network Data Support Working Group (NDSWG)

- NERC Reliability Working Group (NRWG)

- Phasor Measurement Task Force (PMTF)

Other Business

Mr. Hatfield reminded Market Participants of the following scheduled workshops:

- Workshop re NPRR562, Subsynchronous Resonance – April 3, 2014

- Workshop re EEA – April 22, 2014, LCRA

- Workshop re NPRR219/NOGRR050/NOGRR034 – April 28, 2014

Adjournment Mr. Hatfield adjourned the April 3, 2014 ROS meeting at 12:00 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/04/20140403-ROS