AGENDA

ERCOT Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Thursday, August 7, 2014 / 9:30am – 3:00pm

http://ercot.webex.com

Meeting Number: 657 634 026

Meeting Password: ROS123!!!

Audio Dial-In: 1.877.668.4493

| 1. | Antitrust Admonition | B. Hatfield | 9:30 a.m. |
| --- | --- | --- | --- |
| 2. | Agenda Review |  |  |
| 3. | Approval of ROS Meeting Minutes (Vote) - April 3, 2014 - June 5, 2014 - July 10, 2014 |  | 9:35 a.m. |
| 4. | Technical Advisory Committee (TAC) Update - Annual TAC/Subcommittee Structural and Procedural Review - Alignment of TAC Goals and Approved Revision Requests with ERCOT Strategic Plan - TAC Subcommittee Structural Review - Committee Strategic Alignment - Subcommittee Reporting to TAC - Frequency/Efficiency of Meetings - Working Groups/Task Forces - Can we eliminate or combine any groups? - Identify market training needs - Discussion of Other Binding Documents and Incorporation into Protocols/Guides - Assignments/Open Action Items |  | 9:45 a.m. |
| 5. | ERCOT Updates - Maintenance/Improvement of Operational Checklist for Resource Interconnection - Small Signal Stability Analysis of the ERCOT System - System Planning Report – June and July 2014 - Operations Report – June and July 2014 - Update – Unit Start-up Failures, Trips, De-rates - Update – Future Ancillary Services Team (FAST) - Update – NERC TPL Compliance | C. Thompson Z. Feng J. Billo A. Springer C. Thompson D. Woodfin M. Stout | 10:15 a.m. |
| 6. | Critical Infrastructure Protection Working Group (CIPWG) | C. Hasha | 11:25 a.m. |
| 7. | Referrals (Possible Vote) - PRS: NPRR642, Constraint Management During Energy Emergency Alerts - PRS: NPRR643, Clarification of MIS Postings for Outages Upon Implementation of SCR774, Enhancement to Outage Scheduler and Reports |  | 11:30 a.m. |
| 8. | Texas Reliability Entity (Texas RE) | D. Penney | 11:40 a.m. |
|  | Lunch |  | 12:00 p.m. |
| 9. | Black Start Working Group (BSWG) | S. Morris | 1:00 p.m. |
| 10. | Dynamics Working Group (DWG) | C. Chessmore | 1:10 p.m. |
| 11. | Network Data Support Working Group (NDSWG) - TRE request to host Lessons Learned at NDSWG re EMS Applications - Telemetry Standards (Vote) - State Estimator Standards (Vote) | T. Kroskey | 1:20 p.m. |
| 12. | Operations Working Group (OWG) - NOGRR132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration (Vote) | F. Owens | 1:30 p.m. |
| 13. | Operations Trainers Working Group (OTWG) (Vote) - Scope - Leadership | K. Blackmer | 1:50 p.m. |
| 14. | Performance Disturbance Compliance Working Group (PDCWG) | S. Niemeyer | 2:10 p.m. |
| 15. | Planning Working Group (PLWG) | B. Schwarz | 2:20 p.m. |
| 16. | Resource Data Working Group (RDWG) - RRGRR003, Modifications to Improve Wind Forecasting (Vote) - RRGRR004, Steam Pressure Curve Information for Implementation of Regional Reliability Standard BAL-001-TRE-1 (Vote) | J. Palen | 2:35 p.m. |
| 17. | Voltage Reduction Task Force (VRTF) - Final Report - Disband VRTF (Possible Vote) | E. Nashawati | 2:55 p.m. |
| 18. | Phasor Measurement Task Force (PMTF) | B. Blevins | 3:15 p.m. |
| 19. | Steady State Working Group (SSWG) | B. Rocha | 3:25 p.m. |
| 20. | System Protection Working Group (SPWG) – No Report |  |  |
| 21. | Other Business | B. Hatfield | 3:35 p.m. |
|  | Adjourn | B. Hatfield | 3:45 p.m. |
|  | Future ROS Meetings: - October 2, 2014 - October 30, 2014 |  |  |

| Open Action Items | Responsible Party |
| --- | --- |
| 01/06/14 - Review generation resources that are limited by transmission (resulting from similar efforts ongoing with Panhandle CREZ) | PLWG |
| 01/28/14 - Coordinate with ERCOT the need to add (verify) resource temperature limits in RARF to improve forecasting of Wind Resources during icing and cold weather events (Resulting from 1/28/2014 presentation to TAC regarding 1/6/2014 EEA event) | RDWG |
| 02/27/14 – TAC asked ROS to evaluate concerns that ERCOT is RUCing units earlier than required because of unit start-up failures; (WMS’ RUCTF is reviewing procedures for RUCing units, potential improvements to wind forecast.) | ROS (WMS) |
| 06/05/14 – Develop a whitepaper describing the differences between the CDR and the Planning Models and why they exist. | PLWG |
| 06/05/14 – Review load scaling methodologies used in Planning Models/Recommendation to ROS re appropriateness of methodologies | PLWG |
| 06/05/14 – Planning Guide Section 6.9 with respect to air and water permits for units not needing air and water permits | PLWG |
| 08/27/14 – Maintenance/Improvement of Operational Checklist for Resource Interconnection | ROS/WMS |