| RRGRR Number | 004 | RRGRR Title | Steam Pressure Curve Information for Implementation of Regional Reliability Standard BAL-001-TRE-1 |
| --- | --- | --- | --- |
| Date Posted |  | August 15, 2014 |  |
| Requested Resolution |  | Urgent. This data set is required to calculate generators’ performance to comply with North American Electric Reliability Corporation (NERC) Regional Reliability Standard BAL-001-TRE-1, Primary Frequency Response in the ERCOT Region, effective beginning April 1, 2015. |  |
| Resource Registration Glossary Sections Requiring Revision |  | 2, Resource Registration Glossary |  |
| Protocol Section(s) Requiring Revision |  | None |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) is needed to calculate the initial performance requirement for conventional steam turbine generators as described by Regional Reliability Standard BAL-001-TRE-1, effective beginning April 1, 2015. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Satisfies regulatory requirements. |
| Quantitative Benefits |  |
| Impact to Market Segments | - This RRGRR will help ERCOT to measure performance of conventional steam generators per Regional Reliability Standard BAL-001-TRE-1, and provides a potential positive impact to the Consumer Market Segment in the form of lower energy prices. |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number | 817-371-7773 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

Comments

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 004RRGRR-02 Steam Pressure Curve Information for Implementation of Regional Standard BAL-001-TRE-1 081514.

Please also note that RRGRR003, Modifications to Improve Wind Forecasting, also proposes revisions to Section 2, Resource Registration Glossary.

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.