**DWG Report to ROS**

August 2014

* Work continues on the HWLL2017 Flat Start Case.
* Work continues on the FY2020 flat Start Case.
* Next meeting is scheduled for August 14-15, 2014. Schedule was moved by a day to allow for attendance of another ERCOT event.
* Conference call on July 30, 2014 to discuss the DWG procedure for “new” wind in the High Wind Low Load (HWLL) case. An example of “new” wind would be a) wind that meets the planning guide criteria after the steady state seed case has been pulled for a HWLL Flat Start Case and was not included in the steady state case or b) wind was included in a steady state TPIT update but the wind farm is dispatched at 0 MW.