## Slide 1: PLWG Report to ROS
September 4, 2014

## Slide 2: PGRR039
PGRR requires Interconnecting Entities (IEs) to provide information for ERCOT’s resource adequacy reports, CDR, and SARA report.
PGRR ensures ERCOT is notified when an IE and TSP execute a SGIA before all interconnection studies have been completed.
PLWG recommends approval of PGRR039 as amended by the 8/12/14 Sharyland comments as revised by PLWG.

## Slide 3: CDR and Planning Study Model Differences
PLWG outlined its main areas of concern for the differences in load and generation in the CDR, SSWG, and RTP models.
PLWG identified the SME’s for each section of the white paper and is in the process of compiling data for the white paper.
E.ON will draft a white paper for discussion at the September PLWG meeting where PLWG will provide notes to reach a final white paper draft for ROS.

## Slide 4: Load Scaling Methodologies in Planning Studies
PLWG agreed that additional transparency is likely needed in the load scaling methodologies ERCOT Planning is using in its studies.
NRG/Calpine addressed concerns raised in the July meeting by supplying a document proposing a new scaling methodology standard.

## Slide 5: Load Scaling Methodologies Moving Forward
Calpine and NRG offered to draft PGRR and other document language, as needed, to highlight their areas of concern to further the discussion at PLWG.

## Slide 6: Generation Deliverability PGRR Update
PLWG agreed that in order to enact a Generation Deliverability criteria the TSPs will require the ability to submit transmission projects that do not solve overloads through redispatch of generation.
PLWG developed initial draft PGRR language indicating how a Generation Deliverability criteria could look in the planning guides.

## Slide 7: Generation Deliverability Moving Forward
PLWG will review the PGRR draft language concerning TSP submittal of transmission projects to RPG.
PLWG will work towards developing a metric ERCOT can use to approve Generation Deliverability projects.