DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, July 10, 2014 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Donohoo, Ken | Oncor | Alt. Rep. for A. Bern |
| Firestone, Joel | Topaz Power |  |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative | Via Teleconference |
| Moore, John | South Texas Electric Cooperative |  |
| Marsh, Tony | MAMO Enterprises |  |
| Reed, Cyrus | Sierra Club |  |
| Rocha, Basileo | CPS Energy | Alt. Rep. for T. Vo |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Staples, Boone | Tenaska Power Services | Alt. Rep. for S. Helyer |
| Weiss, Spencer | EDP Renewables |  |

The following proxy was assigned:

- Randy Jones to Dana Showalter

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bell, Brad | E. ON |  |
| Chen, Hongru | Constellation | Via Teleconference |
| Chessmore, Carol | Oncor | Via Teleconference |
| Gomes, Matt | Lone Star Transmission |  |
| Gross, Blake | AEP |  |
| Hampton, Brenda | Luminant |  |
| Helton, Bob | GDF Suez |  |
| Henry, Jack | Siemens, PTI |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric Cooperative | Via Teleconference |
| Niemeyer, Sydney | NRG | Via Teleconference |
| Ögelman, Kenan | CPS Energy |  |
| Owens, Frank | Cross Texas Transmission |  |
| Pieniazek, Adrian | NRG |  |
| Rocha, Basileo | CPS Energy |  |
| Schwarz, Brad | Sharyland | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Turner, David | Lone Star Transmission |  |
| Varnell, John | Tenaska Power Services | Via Teleconference |
| Wagner, Marguerite | BETM |  |
| White, Laurie | AEP |  |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Bernecker, John |  | Via Teleconference |
| Billo, Jeff |  |  |
| Blackmer, Kelly |  |  |
| Borkar, Sandeep |  | Via Teleconference |
| Chatlani, Varsha |  | Via Teleconference |
| Cockrell, Felicia |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Geer, Ed |  | Via Teleconference |
| Guiyab, Rochie |  | Via Teleconference |
| Lavas, Jamie |  |  |
| Manning, Brian |  |  |
| Peters, Patrick |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Sanchez, Tony |  | Via Teleconference |
| Schaffer, Marcus |  | Via Teleconference |
| Springer, Agee |  |  |
| Stecklein, Chris |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Tindall, Sandra |  | Via Teleconference |
| Thompson, Chad |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote. Bill Hatfield called the July 10, 2014 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Agenda Review There were no changes to the agenda.

Approval of ROS Meeting Minutes April 3, 2014 June 5, 2014 These items were postponed.

Technical Advisory Committee (TAC) Update Dana Showalter reviewed the disposition of items considered at the June 26, 2014 TAC meeting, and encouraged participation in the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) meetings, as the Resource Data Working Group (RDWG) may have work subsequent to QMWG discussions regarding efforts to improve wind forecasts as they pertain to cold weather events.

ERCOT Updates (see Key Documents) May 2014 Operations Report ERCOT Staff presented the May 2014 Operations Report. June 2014 Operations Report ERCOT Staff presented the June 2014 Operations Report. May 2014 System Planning Report ERCOT Staff presented the May 2014 System Planning Report. Energy Emergency Alert (EEA) Workshop – June 19, 2014 ERCOT Staff thanked Market Participants for their participation in the June 19, 2014 EEA Workshop, and noted ERCOT efforts to draft Revision Requests for the management of Constraints during EEA2 and EEA3, and ongoing internal discussions for proposals regarding Physical Reserve Capability (PRC). Unit Start-up Failures/Reliability Unit Commitment Task Force (RUCTF) Mr. Hatfield reported formation of the RUCTF at the July 9, 2014 WMS meeting. Chad Thompson noted that ERCOT has been reviewing Forced Outages, MWs, temperatures, and wind chills, and is struggling to find correlations in broader data sets. Mr. Hatfield recommended considering the change in temperature from the previous day. Nodal Protocol Revision Request (NPRR) 219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings, and Outage Scheduler Enhancements ERCOT Staff provided an update regarding Outage Scheduler enhancements, and reported that after the NPRR219 and Outage Scheduler Enhancement Workshops, ERCOT determined to draft multiple System Change Requests (SCRs) to address groups of requirements requested by Market Participants.

Black Start Working Group (BSWG) Kelly Blackmer reviewed recent BSWG coordination efforts with operators and gas companies on critical flow plans during Black Start restoration.

Operations Working Group (OWG) (see Key Documents) Frank Owens reviewed recent OWG activities. Nodal Operating Guide Revision Request (NOGRR) 131, Clarification for Generation Resources During an EEA Randy Ryno moved to recommend approval of NOGRR131 as recommended by OWG in the 6/25/14 OWG Report. Joel Firestone seconded the motion. The motion carried unanimously.

Trainers Working Group (TWG) (see Key Documents) Mr. Blackmer presented a proposal for the formation of the TWG and reported support from both the OWG and the BSWG. Dennis Kunkel expressed concern that the TWG would focus on general issues, while Investor Owned Utilities (IOUs) would need to focus on their specific issues. Mr. Blackmer noted the TWG would be voluntary and that any materials IOUs are able to share would be appreciated. Mr. Ryno moved to establish the Operations Trainers Working Group (OTWG). James Armke seconded the motion. The motion carried unanimously. Mr. Hatfield requested that a refined OTWG scope document be developed for ROS consideration.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Sydney Niemeyer reviewed recent PDCWG activities and noted significant improvements in June 2014 scores for Control Performance Standard (CPS) 1 and CPS2.

Phasor Measurement Task Force (PMTF) (see Key Documents) Kris Koellner reviewed recent PMTF activities. Market Participants discussed the need to coordinate through ERCOT the implementation of software updates in order to avoid oscillation events. Walter Reid suggested the PDCWG consider the issue; Market Participants suggested that the Dynamics Working Group (DWG) may also be an appropriate forum to review the issue. Mr. Hatfield declined to make an assignment at the time and instead requested that ERCOT Staff first share information on the topic with PDCWG.

Steady State Working Group (SSWG) (see Key Documents) Basileo Rocha reviewed recent SSWG activities.

Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities and noted the final VRTF report would be posted before the August 7, 2014 ROS meeting. Mr. Nashawati added that if there are no scope additions, the VRTF will recommend its disbandment.

Planning Working Group (PLWG) (see Key Documents) Brad Schwarz reviewed recent PLWG activities. Review of ERCOT Planning Process Mr. Schwarz asked if PLWG should coordinate planning efforts with WMS working groups. Clayton Greer noted that the Generation Adequacy Working Group (GATF) is not scheduled to meet for some time, and that it might be sufficient to inform WMS that the planning process is under review at PLWG. Mr. Schwarz offered to advise the GATF chair as the agenda is developed. Planning Guide Revision Request (PGRR) 036, Planning Market Data Transparency Market Participants and ERCOT Staff discussed transition of data from the Planning and Operations Information website to the Market Information System (MIS), and levels of security and access. Mr. Ryno moved to recommend approval of PGRR036 as recommended by PLWG in the 6/18/14 PLWG Report. David DeTullio seconded the motion. The motion carried unanimously. PGRR038, Require ERCOT to Report Circuits Loaded Above 95% of Their Facility Rating Mr. Schwarz reviewed PGRR038 and Options 1, 2, and 3 as developed by PLWG. ERCOT Staff reiterated that it does not support Option 3, per the 7/3/14 ERCOT comments. Market Participants discussion the Options, in particular that Option 2 would require ERCOT and the Regional Planning Group (RPG) to annually determined reporting criteria for Transmission Facilities. Julius Horvath opined that PGRR038 is superfluous language; that ERCOT is able to report without it; and doesn’t advance planners approval processes. Mr. Greer moved to recommend approval of PGRR038 as revised by ROS with Option 1. Mr. DeTullio seconded the motion. The motion carried with one objection from the IOU Market Segment (Mr. Horvath), and three abstentions from the Cooperative (John Moore), Independent Power Marketer (IPM) (Tony Marsh), and IOU (Ken Donohoo for Alan Bern) Market Segments. ROS Direction Regarding Review of Constrained Generation Resources Mr. Schwarz reviewed the PLWG recommendation regarding constrained generation. Mr. Ryno moved to direct the PLWG to develop language to include criteria in Planning Guide Section 4, Transmission Planning Criteria, to address generation deliverability in peak Load conditions. Mr. Greer seconded the motion. The motion carried unanimously.

RDWG (see Key Documents) Taylor Woodruff reviewed recent RDWG activities. Proposed System Change Request (SCR) for MP Online Project Mr. Woodruff presented a draft SCR for inclusion of Market Participant requirements in the MP Online Data Entry project. Ms. Showalter moved to direct the RDWG to submit the SCR for MP Online Data Entry – Market Requirements. Rick Keetch seconded the motion. The motion carried unanimously.

Geomagnetic Disturbance (GMD) Draft Planning Standard TPL-007-01 (see Key Documents) Ken Donohoo provided an update on Project 2013-03-Geomagnetic Disturbance Mitigation and the status of GMD draft Planning Standard TPL-007-01.

Other Business System Strength Workshop – July 16, 2014 Mr. Billo noted the upcoming System Strength workshop scheduled for July 16, 2014. Update – ROS Goals Ms. Showalter reviewed progress against the 2014 ROS goals, and invited comment. Mr. Hatfield requested another update in three months.

Adjournment Mr. Hatfield adjourned the July 10, 2014 ROS meeting at 12:07 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/07/20140710-ROS