| NPRR Number | 641 | NPRR Title | Season Definition Change for Switchable Resources Reporting Unavailable Capacity |
| --- | --- | --- | --- |
| Date |  | September 4, 2014 |  |

| Submitter’s Information |  |
| --- | --- |
| Name | Peter Warnken |
| E-mail Address | pwarnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6705 |
| Cell Number | 512-585-2246 |
| Market Segment | Not applicable. |

Comments

ERCOT respectfully submits these comments to further clarify the requirements for Switchable Generation Resource reporting on availability.

Proposed Protocol Language Revision

16.5.4	Maintaining and Updating Resource Entity Information

(1)	Each Resource Entity must timely update information the Resource Entity provided to ERCOT in the application process, and a Resource Entity must promptly respond to any reasonable request by ERCOT for updated information regarding the Resource Entity or the information provided to ERCOT by the Resource Entity, including:

(a)	The Resource Entity’s addresses;

(b)	A list of Affiliates; and

(c)	Designation of the Resource Entity’s officers, directors, Authorized Representatives, and USA (all per the Resource Entity application) including the addresses (if different), telephone and facsimile numbers, and e-mail addresses for those persons.

(2)	If a Resource Entity has a Switchable Generation Resource with a requirement in a non-ERCOT Control Area , it shall report to ERCOT in writing, biannually by April 1 and October 1, all dates that the identified capacity will not be available to the ERCOT System during the subsequent ten years.  The written communications shall be the best information available at the time of each filing.  ERCOT will use the written communications from the Resource Entity for the Report on Capacity, Demand and Reserves and other Resource adequacy analyses, as well as data submissions to NERC for reliability assessment reporting.  After receipt of the written communication from a Resource Entity to ERCOT, ERCOT may, at its discretion, reflect this information in the Annual Planning Models by changing Resource Entity supplied parameters that were submitted to the Network Operations Model to reflect the Switchable Generation Resource capacity that will not be available to the ERCOT System.  The Network Operations Model and other downstream models will not be altered to reflect the removed capacity.