| NPRR Number |  | 643 | NPRR Title | Clarification of MIS Postings for Outages Upon Implementation of SCR774, Enhancement to Outage Scheduler and Reports |  |
| --- | --- | --- | --- | --- | --- |
| Timeline |  | Normal | Action |  | Tabled |
| Date of Decision |  |  | August 14, 2014 |  |  |
| Proposed Effective Date |  |  | To be determined. |  |  |
| Priority and Rank Assigned |  |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  |  | 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities 3.1.5.13, Transmission Report |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  |  | None. |  |  |
| Revision Description |  |  | This Nodal Protocol Revision Request (NPRR) clarifies how ERCOT will process Market Information System (MIS) postings concerning Outages upon system implementation of System Change Request (SCR) 774, Enhancement to Outage Scheduler and Reports. |  |  |
| Reason for Revision |  |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Work Group Review |  |  | To be determined. |  |  |
| Procedural History |  |  | - On 7/30/14, NPRR643 and an Impact Analysis were posted. - On 8/14/14, PRS considered NPRR643. |  |  |
| PRS Decision |  |  | On 8/14/14, PRS unanimously voted to table NPRR643 for one month and refer the issue to ROS. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  |  | On 8/14/14, some Market Participants expressed concerns over potential unintended consequences stemming from NPRR643 and requested additional time for review. |  |  |
| Business Case |  |  |  |  |  |
| Qualitative Benefits | Aligns Protocol language with the implementation of SCR774. |  |  |  |  |
| Quantitative Benefits |  |  |  |  |  |
| Impact to Market Segments | None. |  |  |  |  |
| Credit Implications | No. |  |  |  |  |
| Other |  |  |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Trish Miller |
| E-mail Address | pmiller@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3028 |
| Cell Number | 512-751-2552 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-264-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

- 3.1.5.7	Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities

(1)	If ERCOT believes it cannot meet the applicable reliability standards and has exercised reasonable options, ERCOT may contact the TSP for more information prior to its withdrawal of the approval for a Planned Outage or Maintenance Outage schedule.  ERCOT shall inform the affected TSP both orally and in written or electronic form as soon as ERCOT identifies a situation that may lead to the withdrawal of ERCOT’s approval.  If ERCOT withdraws its approval, the TSP may submit a new request for approval of the Planned Outage or Maintenance Outage schedule provided the new request meets the submittal requirements for Outage Scheduling.

(2)	In determining whether to withdraw approval, ERCOT shall duly consider whether the Planned Outage or Maintenance Outage affects public infrastructure if ERCOT is made aware of such potential impacts by the TSP (e.g., impacts on highways, ports, municipalities, and counties).

- 3.1.5.13	Transmission Report

ERCOT shall post on the MIS Secure Area:

(a)	Within one hour of receipt by ERCOT, all Transmission Facilities Outages that have been submitted into the ERCOT Outage Scheduler, excluding Private Use Network transmission Outages;

(b) 	Within one hour of a change of an Outage, all Transmission Facilities Outages, excluding Private Use Network transmission Outages; and

(c) 	Once each day, Outage Scheduler notes related to the coordination of Outages.