Operations Working Group Meeting

Tuesday, 8/19/14

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | John Warren – LCRA |
| --- | --- |
| Sherry Looney – Luminant | Matt Carter – Garland Power and Light |
| Jimmy Hartmann – ERCOT | David Penney – Texas RE |
| Kevin Morley – CenterPoint Energy | Seth Trout – CES |
| Tip Tipton – Brazos Electric Corp | Robert Bailey – NRG |
| Bob Temple – WETT | Alan Bern – Oncor |
| John Blackwell – Lone Star Transmission | John Abel – Oncor |
| Chad Thompson – ERCOT Kelly Landry – ERCOT Agee Springer – ERCOT Lauri White – AEP | Stephen Solis – ERCOT Michael Cruz-Montes – CenterPoint Energy Cody Schwertner – Cross Texas Transmission Sarma Nuthalapati – ERCOT |

Dial-In Attendees:

| Ebby John – CenterPoint Energy Linda Rodriguez – AEP | Louis Kubala – AEP |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:40 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting Report

NOGRR134 passed ROS by email vote, the NOGRR is scheduled for consideration at the August 28, 2014 TAC meeting. No action at OWG.

- July OWG Meeting Notes

Reviewed notes. No changes were made.

- NOGRR Reviews and Language Changes

- 132NOGRR Automatic Under Voltage and Under Frequency Load Shedding Protection Systems Load Restoration. This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT] IA Review. No comments from OWG.

- 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing:

  - Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and

  - Language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions [ERCOT]

Language Review. Language was summarized by ERCOT personnel and questions were answered. OWG tabled the NOGRR pending a ROS/WMS workshop.

- 136NOGRR Verifying QSE Capability to Operate in CFC. This Nodal Operating Guide Revision Request (NOGRR) establishes a process for ERCOT to conduct Constant Frequency Control (CFC) tests to ensure that Qualified Scheduling Entities (QSEs) can provide this service if ERCOT loses its ability to control system frequency; and removes the CFC definition from the Nodal Operating Guide due to the definition being incorporated into the Protocols via associated NPRR646. [ERCOT] Language Review. Reviewed language with Luminant comments. Minor changes were proposed. NOGRR tabled by OWG.

- Monthly Operations Report

Reviewed the July report; no questions were asked. Congestion in West Texas discussed briefly by ERCOT personnel.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

Overview of standard updates was presented. Upcoming workshop on February 2011 cold weather event was announced.

- System Operations Report

Procedures related to DC Tie tags updated. Real time procedure updated to include manual deployment of RRS when HASL-Load Ramp below 200 MW.

- Seminar Task Force Report

No items on this month’s agenda.

- Other

Possible review of draft NPRR and NOGRR on Voltage Control Requirements. Continued Discussions  OWG reviewed and discussed draft with NRG comments

Status update on SCR780 project. Oncor withdrew the project request.

ERCOT VSS Tool Training for TSPs. ERCOT personnel presented the features of the tool and conducted a live demo. Numerous questions were answered.

- Future Meeting Date

Wednesday September 24th ERCOT Met Center room 168.