| RRGRR Number | 005 | RRGRR Title | Clarify Data Necessary for Planning Models |
| --- | --- | --- | --- |
| Date Posted | September 18, 2014 |
| Requested Resolution | Normal |
| Resource Registration Glossary Sections Requiring Revision | Section 2, Resource Registration Glossary |
| Other Binding Documents Requiring Revision or Related Revision Requests | None. |
| Revision Description | Add a column to the Resource Registration Glossary to identify the data that is required for the Resource to be modeled in the Planning cases as required by paragraph 2 of Planning Guide Section 6.9, Addition of Proposed Generation Resources to the Planning Models. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |

| Business Case |
| --- |
| Qualitative Benefits | Resources must submit modeling data and other information necessary for inclusion of the Resource into base cases maintained by the Steady State Working Group (SSWG), System Protection Working Group (SPWG), and the Dynamics Working Group (DWG) in accordance with Planning Guide Section 6.9 (2) once the Interconnecting Entity has met requirements set forth in Planning Guide Section 6.9 (1), Addition of Proposed Generation Resource to the Planning Models. This revision to the Resource Registration Glossary details the data necessary for modeling of Resources in the SSWG, SPWG and DWG models so that Resources will be able to submit the appropriate data. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Other |  |

| Sponsor |
| --- |
| Name | Art Deller |
| E-mail Address | Art.deller@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6505 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |
| --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |
| Comments |

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 005RRGRR-02 Clarify Data Necessary for Planning Models 091814.

Please also note that RRGRR003, Modifications to Improve Wind Forecasting, and RRGRR004, Steam Pressure Curve Information for Implementation of Regional Reliability Standard BAL-001-TRE-1, also propose revisions to Section 2, Resource Registration Glossary.

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.