| PGRR Number | 039 | PGRR Title | Generation Data for Resource Adequacy and Reliability Reporting |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | September 17, 2014 |  |  |
| Proposed Effective Date |  | January 1, 2015 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Sections Requiring Revision |  | 5.3.2, Modifications to Request Declarations of Resource Data Accuracy 5.5.1, Standard Generation Interconnection Agreement |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) proposes two changes to the Planning Guide. The first is new language in Section 5.3.2 that requires Interconnecting Entities (IEs) to provide certain information required for ERCOT’s Resource adequacy reports, Capacity, Demand and Reserves Report and the Seasonal Assessment of Resource Adequacy (SARA) Report, as well as for annual North American Electric Reliability Corporation (NERC) reliability assessment data requests. The second change, made to paragraph (2) of Section 5.5.1, ensures that ERCOT is notified of a decision by an IE and Transmission Service Provider (TSP) to execute a Standard Generation Interconnection Agreement (SGIA) before all interconnection studies have been completed and reviewed by the parties. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Procedural History |  | - On 7/28/14, PGRR039 and an Impact Analysis were posted. - On 8/12/14, Sharyland comments were posted. - On 8/20/14, the Planning Working Group (PLWG) considered PGRR039. - On 9/17/14, PLWG considered the 8/20/14 PLWG Report and the Impact Analysis for PGRR039. |  |  |
| PLWG Decision |  | On 8/20/14, PLWG was in consensus to recommend approval of PGRR039 as amended by the 8/12/14 Sharyland comments and as revised by PLWG. On 9/17/14, PLWG was in consensus to endorse and forward the 8/20/14 PLWG Report and the Impact Analysis for PGRR039 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 8/20/14, there was discussion regarding the language of Section 5.5.1. Participants expressed concerns that ERCOT should be informed of, but not a party to SGIAs. On 9/17/14, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - The request for project construction status updates satisfies a new NERC requirement for reporting planned Resource capacity in its annual Long-Term Reliability Assessment Reports. - This PGRR ensures that ERCOT has the most timely projected commercial operations dates and air permit information for preparation of the Capacity, Demand Reserves Report as required by Protocol Section 3.2.6.2, ERCOT Planning Reserve Margin Calculation Methodology, other Resource adequacy reports, and interconnection status reports. - Having ERCOT receive notification of decisions to execute an SGIA prior to completion of a Full Interconnection Study (FIS), represents enhanced coordination among the parties to ensure that stability and other grid reliability issues identified by ERCOT or TSP studies are addressed on a timely basis. |
| Quantitative Benefits | - This reduces ERCOT and IE communication inefficiencies and costs associated with ERCOT Staff having to make recurrent and ad hoc email or phone requests for revised commercial operations dates that occur outside of the Resource registration process. |
| Impact to Market Segments | - All Market Segments will benefit from more up-to-date planned Resource information being incorporated into ERCOT reports. |
| Other | None |

| Sponsor |  |
| --- | --- |
| Name | Peter Warnken |
| E-mail Address | pwarnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6705 |
| Cell Number | 512-585-2246 |
| Market Segment | Not Applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Sharyland 081214 | Commented that ERCOT should not have the ability to delay the execution of the SGIA between the TSP and the IE. |

Proposed Guide Language Revision

5.3.2	Modifications to Request Declarations of Resource Data Accuracy

(1)	The IE shall maintain communication with ERCOT and the TSP at all stages of the generation interconnection process.  As soon as possible, but in no event later than ten Business Days after any relevant change, the IE shall notify both ERCOT (via email at GINR@ercot.com) and the TSP of any changes that would affect the technical attributes and/or timeline of the project.

(2)	The IE shall update the Resource Registration data as soon as possible, but no later than ten Business Days, following any change to the proposed facility and shall submit the updated information to ERCOT and the TSP.  This obligation to update continues even after any interconnection agreement is signed.

(3)	Twice each year, each IE that has submitted an FIS request shall submit, for each proposed facility, the declaration in Section 8, Attachment A, Declaration of Resource Data Accuracy, stating that, as of the date of submission, the most recently submitted data on the current version of the Resource Registration form accurately reflects the anticipated characteristics of the proposed Resource.  The declaration shall be executed by an officer or other person having authority to bind the company and shall be submitted to ERCOT via email at GINR@ercot.com.  Each IE shall submit one declaration for each project no earlier than March 1 and no later than March 15 each year, and shall submit another declaration for each proposed facility no earlier than September 1 and no later than September 15 each year.

(4)	If, after receipt of an updated Resource Registration data, ERCOT or the TSP determines that any subsequent changes to the project may affect the reliable operation of the ERCOT System or otherwise warrant new studies, then ERCOT may require additional studies to be performed before the proposed Generation Resource is allowed to interconnect to the ERCOT System.  The IE and TSP(s) shall develop a schedule for completing the additional studies.  The TSP shall provide the FIS studies to ERCOT and the other TSPs through the confidential email list.  If these additional studies show that the project would not meet the operational standards specified in the Protocols, this Planning Guide, the Operating Guides, or Other Binding Documents, ERCOT may require the IE to demonstrate its compliance with these standards as a condition for energization of the proposed Generation Resource.

(5)	If the IE increases the requested amount of capacity of the proposed Generation Resource by more than 20% of the amount requested in the screening study, ERCOT shall require the IE to submit a new Generation Interconnection or Change Request (GINR) for the additional capacity or for the entire project.  ERCOT may, at its discretion, require the IE to submit a new GINR for significant capacity decreases or capacity increases of less than 20%, particularly if other changes to the request are also made, such as changes to the in-service date.  ERCOT’s determination as to whether new studies are needed in no way affects the ongoing obligations of the IE and TSP to comply with North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, this Planning Guide and the Operating Guides.

(6)	Within ten Business Days, the IE shall notify ERCOT and the relevant TSP(s) of any change in ownership and shall provide conclusive documentary evidence of the ownership change (such as a purchase/sale agreement or a document executed by both parties confirming the transaction).

- To support ERCOT resource adequacy and NERC reliability assessment reporting requirements, the IE shall provide ERCOT with the following information for the proposed Generation Resource as soon as possible, but in no event later than ten Business Days after the information is available or has been updated:

  - Revisions to the initial projected commercial operations date;

  - Notification if any required air permits have been issued or permit applications have been withdrawn; and

  - Notification and dates for when generator construction has commenced (defined as the start of site development) or been completed.

5.5.1	Standard Generation Interconnection Agreement

(1)	If the Interconnecting Entity (IE) decides to proceed with the construction and completion of the proposed generation project and interconnection within the 180-day period following the completion of the Full Interconnection Study (FIS), it shall execute a Standard Generation Interconnection Agreement (SGIA) with its respective Transmission Service Provider (TSP) as a condition for obtaining transmission service, as required by P.U.C. Subst. R. 25.195, Terms and Conditions for Transmission Service.  The IE and the TSP shall use the SGIA.  A template of the SGIA can be found on the ERCOT website.

(2)	Before an SGIA is signed, all studies included in the FIS scope must be completed, unless mutually agreed by the IE and the TSP.  In the event the IE and the TSP agree to sign an SGIA prior to the completion of all studies included in the FIS scope, the TSP shall notify ERCOT.  The IE and TSP must meet and maintain compliance with all North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, and the requirements of this Planning Guide and the Operating Guides concerning interconnection.

(3)	ERCOT does not participate in the IE’s and TSP’s negotiation of the SGIA.