Date: 	September 18, 2014

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Revision Requests

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR617, Energy Offer Flexibility - NPRR643, Clarification of MIS Postings for Outages Upon Implementation of SCR774, Enhancement to Outage Scheduler and Reports – Urgent - NPRR644, Operating Reserve Demand Curve Phase 2 Revisions

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR617, Energy Offer Flexibility [Calpine] Proposed Effective Date: Upon System Implementation - Priority 2014; Rank 1105 ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B) and Market Management Systems (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This Nodal Protocol Revision Request (NPRR) seeks to correct inconsistencies regarding the restrictions on energy offers in the Day-Ahead Market (DAM), removing the caps on Startup Offers and Minimum-Energy Offers (i.e., the “second” and “third” parts of a Three-Part Supply Offer). PRS Decision: On 8/14/14, PRS voted to recommend approval of NPRR617 as amended by the 6/5/14 ERCOT comments. There was one opposing vote from the Consumer Market Segment. On 9/11/14, PRS unanimously voted to endorse and forward the 8/14/14 PRS Report as amended by the 8/26/14 ERCOT comments and the Impact Analysis for NPRR617 to TAC with a recommended priority of 2014 and rank of 1105. - NPRR643, Clarification of MIS Postings for Outages Upon Implementation of SCR774, Enhancement to Outage Scheduler and Reports – Urgent [ERCOT] Proposed Effective Date: November 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. (impacts captured in SCR774) Revision Description: This NPRR clarifies how ERCOT will process Market Information System (MIS) postings concerning Outages upon system implementation of SCR774. PRS Decision: On 9/11/14, PRS unanimously voted to grant NPRR643 Urgent status; to recommend approval of NPRR643 as submitted; and to endorse the Impact Analysis and forward to TAC. - NPRR644, Operating Reserve Demand Curve Phase 2 Revisions [ERCOT] Proposed Effective Date: Upon System Implementation of NPRR568, Real-Time Reserve Price Adder Based on Operating Reserve Demand Curve, Phase 2 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises previously approved Protocol language related to Operating Reserve Demand Curve (ORDC) Phase 2. The language to implement ORDC Phase 2 is being revised in order to streamline the validation process of the telemetered OFF10 and OFF30 values. Correspondingly, the qualification and testing procedures are bolstered in the interest of a more efficient overarching process. PRS Decision: On 8/14/14, PRS unanimously voted to recommend approval of NPRR644 as submitted. On 9/11/14, PRS unanimously voted to endorse and forward the 8/14/14 PRS Report and Impact Analysis for NPRR644 to TAC. Revision Requests Rejected None. Revision Requests Requested for Withdrawal None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the October 9, 2014 PRS Meeting - NPRR560, Caps and Floors for Energy Storage Resources [ETWG] - NPRR595, RRS Load Resource Treatment In ORDC [Tenaska] - NPRR640, As-Built Clarification of Load Resource Participation in SCED and Non-Spin Qualification [ERCOT] - NPRR647, CRR Auction Shadow Price Transparency [Yes Energy] - SCR781, MP Online Data Entry - Market Requirements [RDWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR535, Resource Status Startup – Shutdown [GDF Suez] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR572, Asynchronous Tie Interconnection Process [Pattern Energy] - NPRR625, Clarification of Non-Spin Requirements and Operational Procedures [Luminant] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR639, Correction to Minimum Current Exposure [Reliant] - NPRR641, Season Definition Change for Switchable Resources Reporting Unavailable Capacity [ERCOT] - NPRR642, Constraint Management During Energy Emergency Alerts [ERCOT] - NPRR645, Real-Time On-Line Capacity Revisions [ERCOT] - NPRR646, Emergency Operations Settlement for CFC Testing [ERCOT] - NPRR648, Remove References to Flowgate Rights [ERCOT] New Revision Requests Scheduled for Consideration at the October 9, 2014 PRS Meeting - NPRR649, Lost Opportunity Payments for HDL Manual Overrides [ERCOT] - NPRR650, Clarification of Real-Time Telemetry for Split Generation Resources [ERCOT] - NPRR651, Clarify DC Tie Data Request Timeline and Content [ERCOT] - NPRR652, Posting of Information Under NERC Reliability Standards to the MIS [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr http://www.ercot.com/mktrules/syschangereq/scrs.html