| RRGRR Number | 004 | RRGRR Title | Steam Pressure Curve Information for Implementation of Regional Reliability Standard BAL-001-TRE-1 |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Recommended Approval |
| Date of Decision |  | September 4, 2014 |  |  |
| Proposed Effective Date |  | October 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Resource Registration Glossary Sections Requiring Revision |  | 2, Resource Registration Glossary |  |  |
| Protocol Section(s) Requiring Revision |  | None |  |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) is needed to calculate the initial performance requirement for conventional steam turbine generators as described by North American Electric Reliability Corporation (NERC) Regional Reliability Standard BAL-001-TRE-1, effective beginning April 1, 2015. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Procedural History |  | - On 8/15/14, RRGRR004 and an associated Impact Analysis were posted. - On 8/27/14, the Performance, Disturbance, Compliance Working Group (PDCWG) comments were posted. - On 9/2/14, NRG comments were posted. - On 9/4/14, ROS considered RRGRR004. |  |  |
| ROS Decision |  | On 9/4/14, ROS unanimously voted to grant RRGRR004 Urgent status. ROS then voted to recommend approval of RRGRR004 as amended by the 9/2/14 NRG comments and to forward RRGRR004 to TAC. There was one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of ROS Discussion |  | On 9/4/14, there was no discussion. |  |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | - Satisfies regulatory requirements. |
| Quantitative Benefits |  |
| Impact to Market Segments | - This RRGRR will help ERCOT to measure performance of conventional steam generators per Regional Reliability Standard BAL-001-TRE-1, and provides a potential positive impact to the Consumer Market Segment in the form of lower energy prices. |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number | 817-371-7773 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| PDCWG 082714 | Proposed changes that would more closely align RRGRR004 with the adjustments implemented in the NERC Regional Reliability Standard BAL-001-TRE-1. |
| NRG 090214 | Provided clarification to the 8/27/14 PDCWG comments. |

Comments

The proposed changes to Section 2 recommended for approval at the 9/4/14 ROS meeting are included in the spreadsheet 004RRGRR-09 ROS Report 090414.

Please note that RRGRR003, Modifications to Improve Wind Forecasting, also proposes revisions to Section 2.

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.