MEETING MINUTES FOR THE ERCOT PHASOR MEASUREMENT TASK FORCE GROUP MEETING (9/3/14)

ACTION ITEMS IN YELLOW

Attendees

| - Bill | Blevins | ERCOT |
| --- | --- | --- |
| - Matt | Boecker | LCRA TSC |
| - Spencer | Burks | LCRA TSC |
| - Milton | Holloway | CCET |
| - Kris | Koellner | LCRA TSC |
| - Andrew | Mattei | Brazos Electric |
| - Prashant | Palayam | EPG |
| - David | Penney | Texas RE |
| - Paul | Rocha | Centerpoint |
| - Don | Sevcik | Centerpoint |
| - Lauri | White | AEP |
| - Taylor | Woodruff | Oncor |
| - Power | Zhao | Oncor |
| - Tim | Cook | CTT |

(Additional attendees were on the WebEx)

- Anti-trust Admonition

Kris read the ERCOT anti-trust admonition, disclaimer, and safety information.

- Roster & calendar review/update – Koellner

Kris went over the PMTF meeting schedule for the remainder of 2014.  The meeting schedule is available at http://www.ercot.com/committees/board/tac/ros/pmtf/.  The October meeting will likely not involve a guest speaker/technical topic and will instead be fully focused on document review & editing.

ERCOT and EPG are planning two days of RTDMS & PGDA software application training, September 16-17 at ERCOT’s facilities in Taylor.  A market notice has been distributed with this information.

Alison provided an overview of the agenda and technical sessions (big data, load research, and control room applications) planned for the October NASPI meeting in Houston.

- Review & approval of minutes from previous meeting – Koellner

The group approved the minutes from the August 2014 meeting with no changes.  The final meeting minutes will be posted to the PMTF August 2014 meeting web page by ERCOT staff.

- Document Updates

  - We discussed the ERCOT Synchrophasor Communication Handbook.  Comments were made regarding the fact that the PMU settings parameters included in the document should only pertain to PMUs transmitting data to ERCOT.  This was clarified in the text.  It was also noted that several of the sample plots related to data quality ought to be “sanitized” to remove specific TSP names and/or location identifiers.  We will review it further at the October 1st PMTF meeting.

  - We reviewed the ERCOT Synchrophasor Technology Assessment.  Kris previously accepted changes from the July meeting and added several new edits for the group’s consideration.  We edited several sections w/changes tracked at the meeting.  An Ancillary Services section was added (per ROS request).  Kris will route a copy of the document from the August meeting.  We will review it further at the September 3rd PMTF meeting.

  - We considered Kris’ draft/strawman language for section 6 operating guide language which was based on discussions at the July PMTF meeting.  Edits were made at the meeting (w/changes tracked) to add a minimum input sampling rate, clarify TSP PMU installation requirements, clarify the intended location of generator PMU installations, and reduce the data retention window from 30 to 10 days.  Kris will route a copy of the document from the August meeting.  We will review it further at the September 3rd PMTF meeting.

- Wrap-up, action items

We will once again plan on forgoing a guest speakers/technical topic at the October meeting in the interests of making a “final push” towards getting the deliverables ready for ROS review, likely at the October 30th ROS meeting.

Action items are included within the Synchrophasor Technology Assessment document.