## Slide 1: PLWG Report to ROS
October 6, 2014

## Slide 2: PGRR039, Generation Data for Resource Adequacy and Reliability Reporting
Requires IEs to provide information to ERCOT which will be used in resource reports
Requires TSPs to notify ERCOT if the TSP and IE agree to sign an SGIA prior to the completion of all studies in the FIS.
Recommend approval of the 9/17 PLWG report and impact analysis

## Slide 3: Assignments to PLWG
CDR and Planning Study Model Differences
  Draft whitepaper is out for comments to PLWG, ROS and WMS
Load Scaling Methodology Review
  Continued the dialogue on the appropriateness of scaling loads in the planning models
Generation Deliverability Criteria
  ERCOT presented a draft criteria that would consider the economic benefit of relieving transmission constraints that limit generation deliverability