**DWG Report to ROS**

October 2014

* Work continues on the HWLL2017 Flat Start Case.
  + AEP is the Flat Start Coordinator
  + Wind is being added to the case
* Work continues on the FY2020 flat Start Case.
  + Oncor is the Flat Start Coordinator
  + Two versions of the case were developed one in v32 and one in v33. This was done to be able to compare the performance of the two versions.
  + A v32 flat start has been completed
  + ERCOT is working with DWG to help complete the transition to v33 for the Wind farms.
* Work has begun on the CY2014 Flat Start case
  + CenterPoint is the Flat Start Coordinator
  + A non-Wind case has been produced
* Conference calls were held on the DWG Procedure manual revisions on Sept 3, Sep10, Sept 17, Sept 24.
* The Procedure Manual is expected to come to ROS for a vote on Oct 30.
* Next meeting is scheduled for December 10-11, 2014.