## Option2
January- 2015 | [5 empty] | February - 2015 | [5 empty] | March - 2015
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 2808 | 3006 | 1503 | 1503 | 1.4 | 22-02 | 3002 | 3204 | 1602 | 1602 | 1.5 | 22-02 | 3002 | 3204 | 1602 | 1602 | 1.5
03-06 | 3002 | 3204 | 1602 | 1602 | 1.5 | 03-06 | 3002 | 3204 | 1602 | 1602 | 1.5 | 03-06 | 3002 | 3204 | 1602 | 1602 | 1.5
07-10 | 2808 | 3006 | 1503 | 1503 | 1.4 | 07-10 | 2808 | 3006 | 1503 | 1503 | 1.4 | 07-10 | 3132 | 3310 | 1655 | 1655 | 2
11-14 | 2808 | 3006 | 1503 | 1503 | 1.4 | 11-14 | 2808 | 3006 | 1503 | 1503 | 1.4 | 11-14 | 3002 | 3204 | 1602 | 1602 | 1.5
15-18 | 2808 | 3006 | 1503 | 1503 | 1.4 | 15-18 | 2808 | 3006 | 1503 | 1503 | 1.4 | 15-18 | 2808 | 3006 | 1503 | 1503 | 1.4
19-22 | 2808 | 3006 | 1503 | 1503 | 1.4 | 19-22 | 2808 | 3006 | 1503 | 1503 | 1.4 | 19-22 | 2808 | 3006 | 1503 | 1503 | 1.4
April- 2015 | [5 empty] | May - 2015 | [5 empty] | June - 2015
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 3002 | 3204 | 1602 | 1602 | 1.5 | 22-02 | 3002 | 3204 | 1602 | 1602 | 1.5 | 22-02 | 2696 | 2894 | 1447 | 1447 | 1.3
03-06 | 3132 | 3310 | 1655 | 1655 | 2 | 03-06 | 3002 | 3204 | 1602 | 1602 | 1.5 | 03-06 | 2808 | 3006 | 1503 | 1503 | 1.4
07-10 | 2808 | 3006 | 1503 | 1503 | 1.4 | 07-10 | 2808 | 3006 | 1503 | 1503 | 1.4 | 07-10 | 2696 | 2894 | 1447 | 1447 | 1.3
11-14 | 2808 | 3006 | 1503 | 1503 | 1.4 | 11-14 | 2696 | 2894 | 1447 | 1447 | 1.3 | 11-14 | 2480 | 2720 | 1360 | 1360 | 1.13
15-18 | 2808 | 3006 | 1503 | 1503 | 1.4 | 15-18 | 2702 | 2906 | 1453 | 1453 | 1.25 | 15-18 | 2538 | 2788 | 1394 | 1394 | 1.08
19-22 | 2808 | 3006 | 1503 | 1503 | 1.4 | 19-22 | 2696 | 2894 | 1447 | 1447 | 1.3 | 19-22 | 2480 | 2720 | 1360 | 1360 | 1.13
July- 2015 | [5 empty] | August - 2015 | [5 empty] | September - 2015
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 2480 | 2720 | 1360 | 1360 | 1.13 | 22-02 | 2702 | 2906 | 1453 | 1453 | 1.25 | 22-02 | 2696 | 2894 | 1447 | 1447 | 1.3
03-06 | 2696 | 2894 | 1447 | 1447 | 1.3 | 03-06 | 2702 | 2906 | 1453 | 1453 | 1.25 | 03-06 | 2808 | 3006 | 1503 | 1503 | 1.4
07-10 | 2696 | 2894 | 1447 | 1447 | 1.3 | 07-10 | 2702 | 2906 | 1453 | 1453 | 1.25 | 07-10 | 2696 | 2894 | 1447 | 1447 | 1.3
11-14 | 2702 | 2906 | 1453 | 1453 | 1.25 | 11-14 | 2538 | 2788 | 1394 | 1394 | 1.08 | 11-14 | 2480 | 2720 | 1360 | 1360 | 1.13
15-18 | 2538 | 2788 | 1394 | 1394 | 1.08 | 15-18 | 2300 | 2496 | 1248 | 1248 | 1 | 15-18 | 2480 | 2720 | 1360 | 1360 | 1.13
19-22 | 2538 | 2788 | 1394 | 1394 | 1.08 | 19-22 | 2538 | 2788 | 1394 | 1394 | 1.08 | 19-22 | 2480 | 2720 | 1360 | 1360 | 1.13
October - 2015 | [5 empty] | November - 2015 | [5 empty] | December - 2015
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio | HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 3002 | 3204 | 1602 | 1602 | 1.5 | 22-02 | 3002 | 3204 | 1602 | 1602 | 1.5 | 22-02 | 2808 | 3006 | 1503 | 1503 | 1.4
03-06 | 3002 | 3204 | 1602 | 1602 | 1.5 | 03-06 | 3132 | 3310 | 1655 | 1655 | 2 | 03-06 | 3002 | 3204 | 1602 | 1602 | 1.5
07-10 | 2808 | 3006 | 1503 | 1503 | 1.4 | 07-10 | 3002 | 3204 | 1602 | 1602 | 1.5 | 07-10 | 2808 | 3006 | 1503 | 1503 | 1.4
11-14 | 2696 | 2894 | 1447 | 1447 | 1.3 | 11-14 | 2808 | 3006 | 1503 | 1503 | 1.4 | 11-14 | 2808 | 3006 | 1503 | 1503 | 1.4
15-18 | 2696 | 2894 | 1447 | 1447 | 1.3 | 15-18 | 2808 | 3006 | 1503 | 1503 | 1.4 | 15-18 | 2808 | 3006 | 1503 | 1503 | 1.4
19-22 | 2696 | 2894 | 1447 | 1447 | 1.3 | 19-22 | 2808 | 3006 | 1503 | 1503 | 1.4 | 19-22 | 2808 | 3006 | 1503 | 1503 | 1.4