| NPRR Number | 641 | NPRR Title | Season Definition Change for Switchable Resources Reporting Unavailable Capacity |
| --- | --- | --- | --- |
| Date |  | September 22, 2014 |  |

| Submitter’s Information |  |
| --- | --- |
| Name | Peter Warnken |
| E-mail Address | pwarnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6705 |
| Cell Number | 512-585-2246 |
| Market Segment | Not applicable. |

Comments

ERCOT respectfully submits these comments to further clarify the requirements for Switchable Generation Resource reporting on availability.

Proposed Protocol Language Revision

16.5.4	Maintaining and Updating Resource Entity Information

(1)	Each Resource Entity must timely update information the Resource Entity provided to ERCOT in the application process, and a Resource Entity must promptly respond to any reasonable request by ERCOT for updated information regarding the Resource Entity or the information provided to ERCOT by the Resource Entity, including:

(a)	The Resource Entity’s addresses;

(b)	A list of Affiliates; and

(c)	Designation of the Resource Entity’s officers, directors, Authorized Representatives, and USA (all per the Resource Entity application) including the addresses (if different), telephone and facsimile numbers, and e-mail addresses for those persons.

(2)	If a Resource Entity has a Switchable Generation Resource with a requirement in a non-ERCOT Control Area , it shall report to ERCOT in writing the dates that the identified capacity will not be available to the ERCOT System during the subsequent ten years.  The initial communication and subsequent updates to previously reported unavailable capacity shall be filed with ERCOT as soon as possible, but in no event later than ten Business Days after the information is obtained.  The communications should reflect the Resource Entity’s best estimate of the required information at the time the filing is made.  ERCOT will use the written communications from the Resource Entity for the Report on Capacity, Demand and Reserves, other Resource adequacy analyses, and data submissions to NERC for reliability assessment reporting.  The Resource Entity shall also submit a Network Operations Model update in accordance with Section 3.10, Network Operations Modeling and Telemetry.