| SCR Number | 783 | SCR Title | Outage Scheduler Enhancements – Group 2, Usability and Filtering Enhancements |
| --- | --- | --- | --- |
| Date Posted |  | September 24, 2014 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Section(s) |  | Protocol Section 3.1.4.5, Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance Outage Due to Unforeseen Events Nodal Operating Guide Section 3.2.3, Regulatory Required Incident and Disturbance Reports |  |
| Other Document Reference/Source |  | Requirements, as compiled and categorized into groups during the NPRR219 and Outage Scheduler Enhancement Workshops conducted in April and June of 2014, along with the tracking identification, can be found at the following link: http://www.ercot.com/content/meetings/other/keydocs/2014/0609-NPRR219/MarketRequirementsPrioritized_for_Workshop_20140606_v2.xls |  |
| System Change Description |  | This System Change Request (SCR) will provide usability and filtering enhancements in the Outage Scheduler. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: This SCR addresses the items categorized as Group 2 during the NPRR219 and Outage Scheduler Enhancement Workshops. |  |

| Business Case |  |
| --- | --- |
| Qualitative Benefits | For ease of reference, the Business Case has been provided below with each issue. |
| Quantitative Benefits |  |
| Impact to Market Segments |  |
| Other |  |

| Sponsor |  |
| --- | --- |
| Name | Woody Rickerson |
| E-mail Address | Woody.rickerson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6501 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Business Case for Proposed System Change

Issue 1 (Tracking ID OS.06):

For Planned Outages, there is no dead band in the Outage Scheduler for Outages which are not completed by the exact Planned End Time (to the second).  The purpose of this change is to allow the requesting Entity to submit an Unavoidable Extension for a defined period past the Planned End.

Resolution:

Allow entry of the new Planned End Date up to two hours past the current Planned End Date.

Business Case:

Current process requires the creation of a Forced Outage if a Planned Outage is not completed or Extended by the exact Planned End Time.  This change will more accurately reflect the true number of Unavoidable Extensions and Forced Outages as defined in Protocol Section 3.1.4.5, Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance Outage Due to Unforeseen Events.

Issue 2 (Tracking ID OS.04):

Each Outage Summary screen display shows 25 lines of active Outages.  This change will collapse Group Outages (which can have up to 30 devices currently, possibly 60 future) to one single reference line which can be expanded or condensed as needed.

Resolution:

Create a view which displays group and related elements as a single line entry

Business Case:

- When Groups are condensed - displays more active Outages per summary screen.  Also improves ability to locate an Outage and enter Actual Start and Actual End Times.

- When Groups are expanded - improves ability to focus on just the Outages within a Group.

Issue 3 (Tracking ID OS.07):

- When an Outage is in Received status, only the Outage Planned/Earliest Start and Planned/Latest End fields may be edited.   If any fields other than these needs to be edited, the request must be Canceled and completely re-submitted.

- For Approved/Accepted Outages, if any fields need to be revised prior to the Outage becoming Active (Actual Start), the Outage must be Canceled, Copied or modified and resubmitted.

Resolution:

Nature of work, High Sustained Limit (HSL)/Low Sustained Limit (LSL), restoration time, requestor phone, and notes, addition and removal of equipment fields should be editable at any point for received Outages; if an Outage is in Accepted or Approved status, the Outage will go back to Received.

Business Case:

- When in Received status, this change will allow the requestor to edit all of the enterable fields in an Outage request, which will reduce the number of Canceled and resubmitted Outages.

- When in Approved/Accepted status (and prior to Actual Start), the requestor will be able to modify the original request and resubmit the Outage – which will automatically change the status back to Received status.

Issue 4 (Tracking ID OU.02):

Transmission Service Providers (TSPs) and Resource Entities must often recreate the events which occurred during Outages for audits, investigations, incidents and disturbances.  The current Outage Scheduler does not have the ability for requestors to view and download or copy an Outage history.  At a minimum, Market Participants need access to a history log with:

- Date & time for each action

- Entity making the submittal or change

- Record of the data submitted or changed.

Resolution:

Outage Scheduler should have a full audit trail of all actions for an Outage (an Outage history)

Business Case:

- Provides Market Participants access to Outage history records which may be requested or used during ERCOT, North American Electric Reliability Corporation (NERC)/Texas Reliability Entity (Texas RE) and Independent Market Monitor (IMM) audits, spot checks, disturbance & incident reports and investigations.

- Supports Nodal Operating Guide Section 3.2.3, Regulatory Required Incident and Disturbance Reports.

- Supports NERC Standard TOP-003-1, Planned Outage Coordination:  each responsible Entity will be audited every three years.  Outage history data must be retained for one calendar year without a violation from the time of a violation.

Issue 5 (Tracking ID OU.05):

Qualified Scheduling Entities (QSEs) must open a separate Outage Scheduler session for each of the sub-QSEs and other QSEs which they represent, with each session having its own 30 minute timeout window.

Resolution:

Login using multiple Digital Certificates or the ability to select a Digital Certificate without logging out / back in.

Business Case:

QSEs would like the ability to open multiple Digital Certificates for each of the sub-QSEs and other QSEs which it represents in one Outage Scheduler session.  This capability will be very important when submitting Outages on Resource Entity-Owned transmission assets in the QSE’s portfolio.

Issue 6 (Tracking ID OS.11):

“Invisible” or “Null” characters periodically get input to the Outage Scheduler Notes fields, including entries via External Web Service.  This usually occurs while cutting-and-pasting in the Notes areas.  If the Market Participant filters for a day that has an Outage with special characters, it will lock the Outage Scheduler User Interface until ERCOT Production Support Staff can manually remove them.

Resolution:

Resolve issue where special characters in the Notes field will lock up the Outage Scheduler

Business Case:

If the Outage Scheduler User Interface locks when filtering due to special characters in the Notes fields, the Market Participant does not have visibility of any ongoing Outages until the problem is manually corrected by ERCOT Staff.  This change request will fix the issue of the Outage Scheduler User Interface locking the Market Participant from Outage Schedule usability.

Issue 7 (Tracking ID OS.03):

As stated in Issue 3 (OS.07) above, once an Outage is initially submitted, all entry fields except Planned/Earliest Start and Planned/Latest End are locked.  Devices cannot be added or removed from a Group Outage request while in Received status.

Resolution:

Allow addition of  elements to a grouped Outage in Received status only.

Business Case:

As stated in Issue 3 (OS.07), allows a requestor to add or remove devices in a Group Outage while in Received status without having to Cancel and resubmit the request.

Issue 8 (Tracking ID OS.05):

Each Resource may only have a one Planned, Forced or Maintenance Derate Outage at a time with no overlaps.  If an additional Derate Outage causing a change to the HSL of a Resource occurs, the original Outage must be canceled and resubmitted as a new Outage request.

Resolution:

Derate Outages should be allowed to overlap considering the total MW value across all overlapping Derate Outages.

Business Case:

The Outage Scheduler Derate Outage process must be modified to allow multiple overlapping Derate Outages to occur on a Resource at the same time.

Issue 9 (Tracking ID FQ.01, FQ.02, FQ.03 and FQ.04):

Current Custom Filter only allows filtering for:

- Specific From/To Dates

- Outage ID

- Group Name

- Outage Type

- Outage Status

- Requesting Entities

- Substation Name & Equipment

Resolution:

- Ability to filter by station without having to drill down

- Ability to filter by Nature of Work

- Ability to filter by area (interconnect)

- Ability to filter by in-service date

Business Case:

- Market Participants would like the ability to filter on the Station name only when filtering for Outages.  This will significantly reduce the time it takes to filter Outages plus reduce the chance of an Outage not appearing in the results.

- Market Participants would like the ability to apply the Custom Filter to these additional categories to help locate specific Outages in the database.