| NPRR Number | 655 | NPRR Title | Discontinue Contingency List Changes Due to Weather Report |
| --- | --- | --- | --- |
| Date Posted |  | September 24, 2014 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 4.2.3, Posting Secure Forecasted ERCOT System Conditions |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes the discontinuation of the posting requirement for the Contingency List Changes Due to Weather Report, ERCOT Market Information List (EMIL) ID, ZP4-724-M. This NPRR is part of a series of revision requests submitted by the Market Information System User Group (MISUG) in support of the Technical Advisory Committee (TAC) June 2013 recommendation that all manually developed ERCOT market reports be reviewed for market interest and the amount of labor involved to produce the reports. This NPRR is the result of a collaborative effort between the MISUG and ERCOT to review the reports that are manually produced by ERCOT. Below is the MISUG summary of the results of the review: - Evaluated the 134 reports manually produced by ERCOT Staff - 95 reports are required by Public Utility Commission of Texas (PUCT) Substantive Rules, ERCOT Protocols or an ERCOT Other Binding Document. - 39 reports are requested or self prompted. - Conclusion of the evaluation: - Discontinue 15 reports, eliminating 516 hrs of manual work annually. - Continue producing 119 reports which constitute 24,631.5 hours of manual work annually. - Automate 15 reports which would eliminate 3,906 hours of manual work annually. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | - Supports TAC recommendation to review manual reports produced by ERCOT to discontinue reports that are manual in nature and deemed unnecessary to continue to support |  |
| Quantitative Benefits | - One of 15 reports identified for discontinuation/decommissioning, collectively eliminating 516 hours of effort annually to manually produce the 15 reports. - The15 reports identified have been evaluated by the MISUG for value and utility to the market. |  |
| Impact to Market Segments | - Removal of report information that is unused or redundant. |  |
| Credit Implications | - No |  |
| Other | - Data is assembled manually and report has had no significant user download activity since market open. - This particular instance has not occurred since Nodal go-live. If there were to be an instance where this content was needed, the information would be provided through the ‘Weather Assumptions’ report information or the ‘Notifications of Forecast Changes Due to Weather’ notification. |  |

| Sponsor |  |
| --- | --- |
| Name | Julie Thomas on behalf of the MISUG |
| E-mail Address | julie.thomas@luminant.com |
| Company | Luminant Energy |
| Phone Number | 214-875-9378 |
| Cell Number | 512-848-3612 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Protocol Language Revision

- 4.2.3	Posting Secure Forecasted ERCOT System Conditions

(1)	No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:

(a)	For each update of the Network Operations Model, the Redacted Network Operations Model in the Common Information Model (CIM) format and the companion version of Network Operations Model (unredacted) will be posted to the MIS Certified Area for Transmission Service Providers (TSPs) as described in paragraph (9) of Section 3.10.4, ERCOT Responsibilities;

(b)	For each update of the Network Operations Model, differences between the posted Redacted Network Operations Model and the previous Redacted Network Operations Model as described in paragraph (4) of Section 3.10.4;

(c)	Load Profiles for non-Interval Data Recorder (IDR) metered Customers;

(d)	Distribution Loss Factors (DLFs) and forecasted ERCOT-wide Transmission Loss Factors (TLFs), as described in Section 13.3, Distribution Losses, and Section 13.2, Transmission Losses, for each Settlement Interval of the Operating Day; and

(e)	A current list of Electrically Similar Settlement Points produced from the 0600 DAM study that support that creation of Power System Simulator for Engineering (PSS/E) files.

(f)	A daily version of the Network Operations Model in a PSS/E format that has been exported from the Market Management System prior to 0600 representing the next Operating Day in hourly files, inclusive of:

(i)	Outages from the Outage Scheduler implemented in the hourly PSS/E files;

(ii)	All bus shunt MW and MVAr set to zero;

(iii)	All Load MW and MVAr set to zero;

(iv)	All generation MW and MVAr set to zero;

(v)	All ratings for series devices not monitored/secured in the DAM set to zero; and

(vi)	Slack bus used in the DAM shall be represented at the same bus in each case.

(g)	A daily version of supporting files for the PSS/E files supporting the Network Operations Model that has been exported from the Market Management System prior to 0600, inclusive of:

(i)	Contingency definition corresponding to each hourly PSS/E file;

(ii)	Generator mapping data corresponding to each hourly PSS/E file;

(iii)	Mapping of all Resource Nodes and Direct Current (DC) Tie Load Zone to the hourly PSS/E file including Private Use Network Settlement Points.  This file of hourly data will also include the base case energization status of Resource Node and DC Tie Load Zone reflecting Settlement Points available for DAM clearing process;

(iv)	Load mapping data corresponding to each hourly PSS/E case necessary to model all Load Zone energy transactions in the DAM;

(v)	Transmission line mapping data corresponding to each hourly PSS/E files;

(vi)	Transformer mapping data corresponding to each hourly PSS/E files; and

(vii)	Hub mapping data corresponding to each hourly PSS/E case necessary to model all Hub energy transactions in the DAM.