Operations Working Group Meeting

Wednesday, 9/24/14

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | Stephen Solis – ERCOT |
| --- | --- |
| Sherry Looney – Luminant | Colleen Frosch – ERCOT |
| Michael Cruz-Montes – CenterPoint Energy | Jian Chen – ERCOT |
| Dennis Richardson – Denton Municipal Electric | Agee Springer – ERCOT |
| Gene Lowrie – ERCOT | Patrick Trevino – CPS Energy |
| Stan Morris – TNMP | Billy Reid – Austin Energy |
| John Abel – Oncor | Brian Manning – ERCOT |
| Jerry Willms – Lone Star Transmission Kelly Landry – ERCOT Bob Temple – WETT Chad Thompson – ERCOT Barbara Clemenhagen – CES Tony Kroskey – Brazos Electric Matt Stout – ERCOT | Kelly Blackmer – ERCOT David Penney – Texas RE Taylor Woodruff – Oncor Hugo Mena – Electric Power Engineers, Inc Matt Carter – Garland Power and Light John Warren – LCRA TSC |

Dial-In Attendees:

| Randy Jones – Calpine Kevin Morley – CenterPoint Energy Stacy Wozney – ERCOT | Dennis Kunkel – AEP Robert Bailey – NRG Karl Tammar – Sharyland Utilities |
| --- | --- |

- Antitrust Admonition

Meeting opened at 9:36 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting Report

NOGRR132 tabled.  No action at OWG.

- August OWG Meeting Notes

Reviewed notes. OWG approved meeting notes with one change.

- NOGRR Reviews and Language Changes

- 135NOGRR Constraint Management During Energy Emergency Alerts. This Nodal Operating Guide Revision Request (NOGRR) seeks to improve management of congestion during an Energy Emergency Alert (EEA) by proposing:

  - Language that provides a mechanism for ERCOT Operations to manage constraints in EEA 2 or 3 to higher Facility ratings when applicable for those constraints identified as limiting generation output; and

  - Language that reconsiders use of double-circuit contingencies during emergency operations based on Grid conditions [ERCOT]

Language Review, Reviewed and tabled until workshop. No action at OWG.

- 136NOGRR Verifying QSE Capability to Operate in CFC. This Nodal Operating Guide Revision Request (NOGRR) establishes a process for ERCOT to conduct Constant Frequency Control (CFC) tests to ensure that Qualified Scheduling Entities (QSEs) can provide this service if ERCOT loses its ability to control system frequency; and removes the CFC definition from the Nodal Operating Guide due to the definition being incorporated into the Protocols via associated NPRR646. [ERCOT] Language Review. Tabled one month pending NPRR646. No action at OWG.

- 137NOGRR Rescind NOGRR034 and Maintain Current Telemetry Performance Reporting Practices. This Nodal Operating Guide Revision Request (NOGRR) rescinds the grey-boxed language introduced by NOGRR034, Rescind Telemetry Performance Calculation Exclusions, to maintain current telemetry performance reporting practices. [ERCOT] Language Review. Language was briefly reviewed by ERCOT personnel and one question answered. OWG recommended approval of the language and will return to OWG next meeting for IA review.

- Monthly Operations Report

- Reviewed the August report; no questions were asked.

- ERCOT personnel gave a presentation on its data and assessments of the temperature impacts on generator outages per the request from ROS and WMS. Several questions were asked by OWG.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

Overview of standard updates was presented. No questions were asked.

- System Operations Report

Procedure updates related to voltage violations in RUC future studies discussed. Starting Oct 1st RUC Desk will contact affected TSPs of Voltage Violations in real-time and future 4 hours ahead. Announcement of 20 MW increase in the Railroad DC tie coming in late October.

- Seminar Task Force Report

Presentation given by ERCOT regarding 2015 OTS series. Topics for the seminar were detailed and OWG questions were answered.

- Other

ERCOT presentation regarding 2014 UFLS PRC-007 survey. Questions from OWG regarding ownership of UFLS were answered.

Discuss submitting the draft NPRR and NOGRR on Voltage Control. OWG discussed the potential NPRR and NOGRR. Additional action was postponed pending further offline discussions.

ERCOT (Blackmer) gave a brief update on Operations Training Working Group

- Future Meeting Date

Wednesday October 22nd ERCOT Met Center room 168.