## Slide 1: Ancillary Services Procurement Methodology Technical Advisory Committee
all visuals may be modified
To insert or replace a visual on the title page:
Remove the existing visual or visual area, then:
Insert / Picture / From file or click on the icon
Then place the visual in background position

## Slide 2: Option 2 – Assume 50% LRs with Equivalency Ratio – Example Values
August - 2015 |  |  |  |  | 
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 2702 | 2906 | 1453 | 1453 | 1.25
03-06 | 2702 | 2906 | 1453 | 1453 | 1.25
07-10 | 2702 | 2906 | 1453 | 1453 | 1.25
11-14 | 2538 | 2788 | 1394 | 1394 | 1.08
15-18 | 2300 | 2496 | 1248 | 1248 | 1.00
19-22 | 2538 | 2788 | 1394 | 1394 | 1.08
October - 2015 |  |  |  |  | 
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 3002 | 3204 | 1602 | 1602 | 1.50
03-06 | 3002 | 3204 | 1602 | 1602 | 1.50
07-10 | 2808 | 3006 | 1503 | 1503 | 1.40
11-14 | 2696 | 2894 | 1447 | 1447 | 1.30
15-18 | 2696 | 2894 | 1447 | 1447 | 1.30
19-22 | 2696 | 2894 | 1447 | 1447 | 1.30
April- 2015 |  |  |  |  | 
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 3002 | 3204 | 1602 | 1602 | 1.50
03-06 | 3132 | 3310 | 1655 | 1655 | 2.00
07-10 | 2808 | 3006 | 1503 | 1503 | 1.40
11-14 | 2808 | 3006 | 1503 | 1503 | 1.40
15-18 | 2808 | 3006 | 1503 | 1503 | 1.40
19-22 | 2808 | 3006 | 1503 | 1503 | 1.40
January- 2015 |  |  |  |  | 
HE | Total RRS MW (Without 24% adjustment) | Total RRS MW (With 24% adjustment) | PFRS | LRs | Equivalency Ratio
22-02 | 2808 | 3006 | 1503 | 1503 | 1.40
03-06 | 3002 | 3204 | 1602 | 1602 | 1.50
07-10 | 2808 | 3006 | 1503 | 1503 | 1.40
11-14 | 2808 | 3006 | 1503 | 1503 | 1.40
15-18 | 2808 | 3006 | 1503 | 1503 | 1.40
19-22 | 2808 | 3006 | 1503 | 1503 | 1.40

## Slide 3: Option 2 Analysis
Minimum generation capacity to supply RRS procurement at 20% using January 2015 ERCOT example
  1404/.20 = 7,020Mw
Minimum generation capacity to supply RRS procurement at 24% using January 2015 ERCOT example
  1503/.24 = 6,262.5Mw
Footer and date can be personalized as follow:
Insert / Header and footer
Select the date and type the appropriate title
Click on Apply to all

## Slide 4: Conclusion
Under the 20% RRS capability there are 757.5Mw of capacity needed to supply the RRS requirement.
Under the 20% RRS capability units with power augmentation cannot have the capacity in RRS, which will in effect take those units out of the RRS market, especially at on-peak times.
Footer and date can be personalized as follow:
Insert / Header and footer
Select the date and type the appropriate title
Click on Apply to all