ERCOT Nodal Protocols

- Table of Contents

- April 19, 2011

1	OVERVIEW	1-1

1.1	Summary of the ERCOT Protocols Document	1-1

1.2	Functions of ERCOT	1-2

1.3	Confidentiality	1-3

1.3.1	Restrictions on Protected Information	1-3

1.3.1.1	Items Considered Protected Information	1-3

1.3.1.2	Items Not Considered Protected Information	1-7

1.3.2	Procedures for Protected Information	1-8

1.3.3	Expiration of Confidentiality	1-8

1.3.4	Protecting Disclosures to the PUCT and Other Governmental Authorities	1-9

1.3.5	Notice Before Permitted Disclosure	1-10

1.3.6	Exceptions	1-10

1.3.7	Specific Performance	1-12

1.3.8	Commission Declassification	1-12

1.3.9	Expansion of Protected Information Status	1-12

1.4	Operational Audit	1-12

1.4.1	Materials Subject to Audit	1-12

1.4.2	ERCOT Finance and Audit Committee	1-12

1.4.3	Operations Audit	1-13

1.4.3.1	Audits to Be Performed	1-13

1.4.3.2	Material Issues	1-13

1.4.4	Audit Results	1-14

1.4.5	Availability of Records	1-14

1.4.6	Confidentiality of Information	1-14

1.5	ERCOT Fees and Charges	1-15

1.6	Open Access to the ERCOT Transmission Grid	1-15

1.6.1	Overview	1-15

1.6.2	Eligibility for Transmission Service	1-15

1.6.3	Nature of Transmission Service	1-15

1.6.4.	Payment for Transmission Access Service	1-15

1.6.5	Interconnection of New Generation	1-16

1.7	Rules of Construction	1-16

1.8	Effective Date	1-18

2	DEFINITIONS AND ACRONYMS	2-1

2.1	DEFINITIONS	2-1

Adjusted Metered Load (AML)	2-1

Adjusted Static Models	2-1

Adjustment Period	2-1

Advanced Meter	2-1

Advanced Metering System (AMS)	2-2

Advisory	2-2

Affiliate		2-2

Agreement	2-2

All-Inclusive Generation Resource (see Resource)	2-2

All-Inclusive Resource (see Resource)	2-2

Alternative Dispute Resolution (ADR)	2-3

Ancillary Service	2-3

Ancillary Service Capacity Monitor	2-3

Ancillary Service Obligation	2-3

Ancillary Service Offer	2-3

Ancillary Service Plan	2-3

Ancillary Service Resource Responsibility	2-3

Ancillary Service Schedule	2-3

Ancillary Service Supply Responsibility	2-4

Ancillary Service Trade	2-4

Ancillary Service Trade with ERCOT	2-4

Applicable Legal Authority (ALA)	2-4

Area Control Error (ACE)	2-4

Authorized Representative	2-4

Automatic Voltage Regulator (AVR)	2-4

Availability Plan	2-5

Bank Business Day (see Business Day)	2-5

Bankrupt	2-5

Base Point	2-5

Black Start Resource (see Resource)	2-5

Black Start Service (BSS)	2-5

Block Load Transfer (BLT)	2-5

Bus Load Forecast	2-6

Business Day	2-6

Bank Business Day	2-6

Retail Business Day	2-6

Business Hours	2-6

Capacity Trade	2-7

Central Prevailing Time (CPT)	2-7

Comision Federal de Electricidad (CFE)	2-7

Common Information Model (CIM)	2-7

Competitive Constraint	2-7

Competitive Retailer (CR)	2-7

Competitive Retailer (CR) of Record	2-7

Compliance Period	2-8

Compliance Premium	2-8

Congestion Revenue Right (CRR)	2-8

Flowgate Right (FGR)	2-8

Point-to-Point (PTP) Obligation	2-8

Point-to-Point (PTP) Option	2-8

Congestion Revenue Right (CRR) Account Holder	2-9

Congestion Revenue Right (CRR) Auction	2-9

Congestion Revenue Right (CRR) Network Model	2-9

Congestion Revenue Right (CRR) Owner	2-9

Continuous Service Agreement (CSA)	2-9

Control Area	2-9

Control Area Operator (CAO)	2-9

Controllable Load Resource (see Resource)	2-9

Controllable Load Resource Desired Load	2-9

Cost Allocation Zone	2-10

Counter-Party	2-10

Critical Energy Infrastructure Information (CEII)	2-10

Current Operating Plan (COP)	2-10

Current Operating Plan (COP) and Trades Snapshot	2-10

Customer	2-10

Customer Choice	2-10

Customer Registration Database	2-11

Data Aggregation	2-11

Data Aggregation System (DAS)	2-11

Data Archive	2-11

Data Warehouse	2-11

Day-Ahead	2-11

Day-Ahead Market (DAM)	2-12

Day-Ahead Market (DAM)-Committed Interval	2-12

Day-Ahead Market (DAM) Energy Bid	2-12

Day-Ahead Market (DAM) Energy-Only Offer	2-12

Day-Ahead Market (DAM) Resettlement Statement (see Settlement Statement)	2-12

Day-Ahead Market (DAM) Statement (see Settlement Statement)	2-12

Day-Ahead Operations	2-12

Day-Ahead Reliability Unit Commitment (DRUC)	2-12

Delivery Plan	2-12

Demand		2-13

Designated Representative	2-13

Digital Certificate	2-13

Direct Current Tie (DC Tie)	2-13

Direct Current Tie (DC Tie) Load	2-13

Direct Current Tie (DC Tie) Resource	2-13

Direct Current Tie (DC Tie) Schedule	2-13

Direct Load Control (DLC)	2-13

Dispatch		2-13

Dispatch Instruction	2-14

Dispute Contact	2-14

Distributed Generation	2-14

Distributed Renewable Generation	2-14

Distribution Loss Factor (DLF)	2-14

Distribution Losses	2-14

Distribution Service Provider (DSP)	2-14

Distribution System	2-15

DUNS Number	2-15

Dynamic Rating	2-15

Dynamic Rating Processor	2-15

Dynamically Scheduled Resource (DSR) (see Resource)	2-15

Dynamically Scheduled Resource (DSR) Load	2-15

Electric Cooperative (EC)	2-15

Electric Reliability Council of Texas, Inc. (ERCOT)	2-16

Electric Reliability Organization	2-16

Electric Service Identifier (ESI ID)	2-16

Electrical Bus	2-16

Eligible Transmission Service Customer	2-16

Emergency Base Point	2-17

Emergency Condition	2-17

Emergency Interruptible Load Service (EILS)	2-17

Emergency Interruptible Load Service (EILS) Contract Period	2-17

Emergency Interruptible Load Service (EILS) Load	2-17

Emergency Interruptible Load Service (EILS) Self-Provision	2-17

Emergency Interruptible Load Service (EILS) Time Period	2-17

Emergency Notice	2-18

Emergency Ramp Rate	2-18

Emergency Rating (see Rating)	2-18

Energy Emergency Alert (EEA)	2-18

Energy Imbalance Service	2-18

Energy Offer Curve	2-19

Energy Trade	2-19

Entity		2-19

ERCOT-Polled Settlement (EPS) Meter	2-19

ERCOT Region	2-19

ERCOT System	2-19

ERCOT System Demand	2-19

ERCOT Transmission Grid	2-19

Facilities	2-20

Facility Identification Number	2-20

15-Minute Rating (see Rating)	2-20

Financing Person	2-20

Flowgate Right (FGR) (see Congestion Revenue Right (CRR))	2-20

Force Majeure Event	2-20

Forced Derate	2-20

Forced Outage (see Outage)	2-20

Fuel Index Price (FIP)	2-21

Fuel Oil Price (FOP)	2-21

Gas Day		2-22

Generation Entity	2-22

Generation Resource (see Resource)	2-22

Generic Transmission Limit (GTL)	2-22

Good Utility Practice	2-22

Governmental Authority	2-22

Governor	2-23

Governor Dead-Band	2-23

Half-Hour Start Unit	2-23

High Ancillary Service Limit (HASL)	2-23

High Emergency Limit (HEL)	2-23

High Sustained Limit (HSL)	2-23

High Sustained Limit (HSL) for a Generation Resource	2-23

High Sustained Limit (HSL) for a Load Resource	2-24

Hourly Reliability Unit Commitment (HRUC)	2-24

Hub		2-24

Hub Bus		2-24

Hub LMP (see Locational Marginal Price)	2-24

Independent Market Information System Registered Entity (IMRE)	2-24

Independent Market Monitor (IMM)	2-25

Independent Organization	2-25

Intermittent Renewable Resource (IRR) (see Resource)	2-25

Interval Data Recorder (IDR)	2-25

Interval Data Recorder (IDR) Meter	2-25

Interval Data Recorder (IDR) Meter  Data Threshold	2-25

Interval Data Recorder (IDR) Meter Mandatory Installation Requirements	2-25

Interval Data Recorder (IDR) Meter Optional Removal Threshold	2-25

Invoice		2-26

Invoice Recipient	2-26

Level I Maintenance Outage (see Outage)	2-26

Level II Maintenance Outage (see Outage)	2-26

Level III Maintenance Outage (see Outage)	2-26

Load		2-26

Load Frequency Control (LFC)	2-26

Load Profile	2-27

Load Profile ID	2-27

Load Profile Models	2-27

Load Profile Segment	2-27

Load Profile Type	2-27

Load Profiling	2-27

Load Profiling Methodology	2-27

Load Ratio Share	2-27

Load Resource (see Resource)	2-27

Load Serving Entity (LSE)	2-28

Load Zone	2-28

Load Zone LMP (see Locational Marginal Price)	2-28

Locational Marginal Price (LMP)	2-28

Hub LMP	2-28

Load Zone LMP	2-28

Low Ancillary Service Limit (LASL)	2-28

Low Emergency Limit (LEL)	2-28

Low Power Consumption (LPC)	2-29

Low Sustained Limit (LSL)	2-29

Low Sustained Limit (LSL) for a Generation Resource	2-29

Low Sustained Limit (LSL) for a Load Resource	2-29

Maintenance Outage (see Outage)	2-29

Make-Whole Charge	2-29

Make-Whole Payment	2-29

Mandatory Installation Threshold	2-29

Market Clearing Price for Capacity (MCPC)	2-29

Market Information System (MIS)	2-30

Market Information System (MIS) Public Area	2-30

Market Information System (MIS) Secure Area	2-30

Market Information System (MIS) Certified Area	2-30

Market Participant	2-30

Market Segment	2-30

Mass Transition	2-31

Maximum Power Consumption (MPC)	2-31

Measurable Event	2-31

Messaging System	2-31

Meter Data Acquisition System (MDAS)	2-31

Meter Reading Entity (MRE)	2-31

Metering Facilities	2-32

Minimum-Energy Offer	2-32

Minimum Reservation Price	2-32

Mitigated Offer Cap	2-32

Mitigated Offer Floor	2-32

Mothballed Generation Resource (see Resource)	2-32

Move-In Request	2-32

Move-Out Request	2-32

Municipally Owned Utility (MOU)	2-32

Net Dependable Capability	2-33

Net Generation	2-33

Network Operations Model	2-33

Network Security Analysis	2-33

Non-Competitive Constraint	2-33

Non-Metered Load	2-33

Non-Modeled Generator (see Resource)	2-33

Non-Opt-In Entity (NOIE)	2-33

Non-Opt-In Entity (NOIE) Load Zone	2-34

Non-Spinning Reserve (Non-Spin)	2-34

Normal Ramp Rate	2-34

Normal Rating (see Rating)	2-34

Notice or Notification	2-34

Off-Line		2-35

Oklaunion Exemption	2-35

On-Line		2-35

On-Peak Hours	2-35

Operating Condition Notice (OCN)	2-35

Operating Day	2-35

Operating Hour	2-35

Operating Period	2-35

Opportunity Outage (see Outage)	2-36

Other Binding Documnents List	2-36

Outage		2-36

Forced Outage	2-36

Maintenance Outage	2-36

Opportunity Outage	2-37

Planned Outage	2-37

Simple Transmission Outage	2-37

Outage Scheduler	2-37

Output Schedule	2-37

Photovoltaic	2-37

Physical Responsive Capability (PRC)	2-37

Planned Outage (see Outage)	2-37

Point of Interconnection (POI)	2-38

Point-to-Point (PTP) Obligation (see Congestion Revenue Right (CRR))	2-38

Point-to-Point (PTP) Option (see Congestion Revenue Right (CRR))	2-38

Power System Stabilizer (PSS)	2-38

Premise		2-38

Primary Frequency Response	2-38

Prior Agreement	2-38

Private Use Network	2-38

Program Administrator	2-38

Protected Information	2-39

Provider of Last Resort (POLR)	2-39

Qualified Scheduling Entity (QSE)	2-39

Qualified Scheduling Entity (QSE) Clawback Interval	2-39

Qualified Scheduling Entity (QSE)-Committed Interval	2-39

Qualifying Facility (QF)	2-39

Rating		2-40

Emergency Rating	2-40

15-Minute Rating	2-40

Normal Rating	2-40

Reactive Power	2-40

Real-Time	2-40

Real-Time Market (RTM) Final Statement (see Settlement Statement)	2-40

Real-Time Market (RTM) Initial Statement (see Settlement Statement)	2-40

Real-Time Market (RTM) Resettlement Statement (see Settlement Statement)	2-40

Real-Time Market (RTM) True-Up Statement (see Settlement Statement)	2-40

Redacted Network Operations Model	2-41

Regional Planning Group (RPG) Project Review	2-41

Regulation Down Service (Reg-Down) (see Regulation Service)	2-42

Regulation Service	2-42

Regulation Down Service (Reg-Down)	2-42

Regulation Up Service (Reg-Up)	2-42

Regulation Up Service (Reg-Up) (see Regulation Service)	2-42

Reliability Must-Run (RMR) Service	2-42

Reliability Must-Run (RMR) Unit	2-42

Reliability Unit Commitment (RUC)	2-43

Reliability Unit Commitment (RUC) Cancellation	2-43

Reliability Unit Commitment (RUC)-Committed Hour	2-43

Reliability Unit Commitment (RUC)-Committed Interval	2-43

Reliability Unit Commitment (RUC) Notification	2-43

Reliability Unit Commitment (RUC) Study Period	2-43

Remedial Action Plan (RAP)	2-43

Renewable Energy Credit (REC)	2-43

Renewable Energy Credit (REC) Account	2-44

Renewable Energy Credit (REC) Account Holder	2-44

Renewable Energy Credit (REC) Trading Program	2-44

Renewable Portfolio Standard (RPS)	2-44

Renewable Production Potential (RPP)	2-44

Repowered Facility	2-44

Reserve Discount Factor (RDF)	2-44

Resource	2-45

All-Inclusive Generation Resource	2-44

All-Inclusive Resource	2-45

Dynamically Scheduled Resource (DSR)	2-45

Generation Resource	2-45

Black Start Resource	2-45

Combined Cycle Train	2-45

Combined Cycle Generation Resource	2-45

Decommissioned Generation Resource	2-46

Intermittent Renewable Resource (IRR)	2-46

Mothballed Generation Resource	2-46

Quick Start Generation Resource (QSGR)	2-46

Split Generation Resource	2-46

Switchable Generation Resource	2-46

Wind-powered Generation Resource (WGR)	2-46

Load Resource	2-47

Controllable Load Resource	2-47

Non-Modeled Generator	2-47

Resource Category	2-47

Resource Entity	2-47

Resource ID (RID)	2-47

Resource Node	2-47

Resource Parameter	2-48

Resource Status	2-48

Responsive Reserve (RRS)	2-48

Retail Business Day (see Business Day)	2-48

Retail Business Hour	2-48

Retail Electric Provider (REP)	2-49

Retail Entity	2-49

Revenue Quality Meter	2-49

Sampling	2-49

Scheduled Power Consumption	2-49

Scheduled Power Consumption Snapshot	2-49

Season		2-49

Security-Constrained Economic Dispatch (SCED)	2-50

Self-Arranged Ancillary Service Quantity	2-50

Self-Schedule	2-50

Service Address	2-50

Service Delivery Point	2-50

Settlement	2-50

Settlement Calendar	2-50

Settlement Interval	2-50

Settlement Invoice	2-51

Settlement Meter	2-51

Settlement Point	2-51

Settlement Point Price	2-51

Settlement Quality Meter Data	2-51

Settlement Statement	2-51

Day-Ahead Market (DAM) Resettlement Statement	2-51

Day-Ahead Market (DAM) Statement	2-51

Real-Time Market (RTM) Final Statement	2-52

Real-Time Market (RTM) Initial Statement	2-52

Real-Time Market (RTM) Resettlement Statement	2-52

Real-Time Market (RTM) True-Up Statement	2-52

Shadow Price	2-52

Shift Factor	2-52

Short-Term Wind Power Forecast (STWPF)	2-52

Simple Transmission Outage (see Outage)	2-52

Special Protection Systems (SPS)	2-53

Split Generation Resource (see Resource)	2-53

Startup Cost	2-53

Startup Loading Failure	2-53

Startup Offer	2-53

State Estimator (SE)	2-53

State Estimator (SE) Bus	2-54

Sustained Response Period	2-54

Switch Request	2-54

Switchable Generation Resource (see Resource)	2-54

Synchronous Condenser Unit	2-54

System Operator	2-54

System-Wide Offer Cap (SWCAP)	2-54

TSP and DSP Metered Entity	2-54

Texas Nodal Market Implementation Date	2-55

Texas Standard Electronic Transaction (TX SET)	2-55

Three-Part Supply Offer	2-55

Time Of Use (TOU) Meter	2-55

Time Of Use Schedule (TOUS)	2-55

Transmission Access Service	2-55

Transmission and/or Distribution Service Provider (TDSP)	2-55

Transmission Element	2-56

Transmission Facilities	2-56

Transmission Loss Factor (TLF)	2-56

Transmission Losses	2-56

Transmission Service	2-56

Transmission Service Provider (TSP)	2-56

Unaccounted for Energy (UFE)	2-57

Unit Reactive Limit (URL)	2-57

Updated Desired Base Point	2-57

Updated Network Model	2-57

Verbal Dispatch Instruction (VDI)	2-57

Voltage Profile	2-57

Voltage Support Service (VSS)	2-57

Watch		2-58

Weather Zone	2-58

Wholesale Customer	2-58

Wind-powered Generation Resource (WGR) (see Resource)	2-58

Wind-powered Generation Resource Production Potential (WGRPP)	2-58

2.2	ACRONYMS AND ABBREVIATIONS	2-58

3	MANAGEMENT ACTIVITIES FOR THE ERCOT SYSTEM	3-1

3.1	Outage Coordination	3-1

3.1.1	Role of ERCOT	3-1

3.1.2	Planned Outage or Maintenance Outage Data Reporting	3-2

3.1.3	Rolling 12-Month Outage Planning and Update	3-2

3.1.3.1	Transmission Facilities	3-2

3.1.3.2	Resources	3-3

3.1.4	Communications Regarding Resource and Transmission Facilities Outages	3-3

3.1.4.1	Single Point of Contact	3-3

3.1.4.2	Method of Communication	3-4

3.1.4.3	Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities	3-4

3.1.4.4	Communicating Rejection of Proposed Resource Outages	3-4

3.1.4.5	Management of Resource or Transmission Forced Outages or Maintenance Outages	3-5

3.1.4.6	Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance Outage Due to Unforeseen Events	3-6

3.1.4.7	Outage Coordination of Forecasted Emergency Conditions	3-6

3.1.4.8	Deratings	3-6

3.1.5	Transmission System Outages	3-7

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities	3-7

3.1.5.2	Receipt of TSP Requests by ERCOT	3-8

3.1.5.3	Timelines for Response by ERCOT for TSP Requests	3-9

3.1.5.4	Delay	3-9

3.1.5.5	Opportunity Outage of Transmission Facilities	3-9

3.1.5.6	Rejection Notice	3-10

3.1.5.7	Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities	3-10

3.1.5.8	Priority of Approved Planned Outages	3-11

3.1.5.9	Information for Inclusion in Transmission Facilities Outage Requests	3-11

3.1.5.10	Additional Information Requests	3-12

3.1.5.11	Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests	3-12

3.1.5.12	Submittal Timeline for Transmission Facility Outage Requests	3-12

3.1.5.13	Transmission Report	3-13

3.1.6	Outages of Resources Other than Reliability Resources	3-13

3.1.6.1	Receipt of Resource Requests by ERCOT	3-14

3.1.6.2	Resources Outage Plan	3-14

3.1.6.3	Additional Information Requests	3-14

3.1.6.4	Approval of Changes to a Resource Outage Plan	3-15

3.1.6.5	Evaluation of Proposed Short-Noticed Resource Outage	3-15

3.1.6.6	Timelines for Response by ERCOT for Resource Outages	3-16

3.1.6.7	Delay	3-16

3.1.6.8	Opportunity Outage	3-16

3.1.6.9	Outage Returning Early	3-17

3.1.6.10	Resource Coming On-Line	3-17

3.1.7	Reliability Resource Outages	3-18

3.1.7.1	Timelines for Response by ERCOT on Reliability Resource Outages	3-18

3.1.7.2	Changes to an Approved Reliability Resource Outage Plan	3-19

3.2 	Analysis of Resource Adequacy	3-19

3.2.1	Calculation of Aggregate Resource Capacity	3-19

3.2.2	Demand Forecasts	3-19

3.2.3	System Adequacy Reports	3-20

3.2.4	Statement of Opportunities	3-21

3.2.5	Publication of Resource and Load Information	3-21

3.3	Management of Changes to ERCOT Transmission Grid	3-26

3.3.1	ERCOT Approval of New or Relocated Facilities	3-26

3.3.2	Types of Work Requiring ERCOT Approval	3-27

3.3.2.1	Information to Be Provided to ERCOT	3-27

3.3.2.2	Record of Approved Work	3-29

3.4	Load Zones	3-29

3.4.1	Load Zone Types	3-29

3.4.2	Load Zone Modifications	3-30

3.4.3	NOIE Load Zones	3-30

3.4.4	DC Tie Load Zones	3-31

3.4.5	Additional Load Buses	3-31

3.5	Hubs	3-32

3.5.1	Process for Defining Hubs	3-32

3.5.2	Hub Definitions	3-33

3.5.2.1	North 345 kV Hub (North 345)	3-33

3.5.2.2	South 345 kV Hub (South 345)	3-36

3.5.2.3	Houston 345 kV Hub (Houston 345)	3-39

3.5.2.4	West 345 kV Hub (West 345)	3-41

3.5.2.5	ERCOT Hub Average 345 kV Hub (ERCOT 345)	3-44

3.5.2.6	ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus)	3-45

3.5.3	ERCOT Responsibilities for Managing Hubs	3-47

3.5.3.1	Posting of Hub Buses and Electrical Buses included in Hubs	3-47

3.5.3.2	Calculation of Hub Prices	3-48

3.6	Load Participation	3-48

3.7	Resource Parameters	3-48

3.7.1	Resource Parameter Criteria	3-49

3.7.1.1	Generation Resource Parameters	3-49

3.7.1.2	Load Resource Parameters	3-50

3.7.1.3	Changes in Resource Parameters with Operational Impacts	3-51

3.7.2	Resource Parameter Validation	3-52

3.8	Special Considerations for Split Generation Meters, Combined Cycle Generation Resources and Quick Start Generation Resources	3-52

3.8.1	Split Generation Resources	3-52

3.8.2	Combined Cycle Generation Resources	3-53

3.8.3	Quick Start Generation Resources	3-54

3.9	Current Operating Plan (COP)	3-57

3.9.1	Current Operating Plan (COP) Criteria	3-58

3.9.2	Current Operating Plan Validation	3-62

3.10	Network Operations Modeling and Telemetry	3-63

3.10.1	Time Line for Network Operations Model Changes	3-65

3.10.2	Annual Planning Model	3-68

3.10.3	CRR Network Model	3-68

3.10.4	ERCOT Responsibilities	3-69

3.10.5	TSP Responsibilities	3-71

3.10.6	Resource Entity Responsibilities	3-72

3.10.7	ERCOT System Modeling Requirements	3-72

3.10.7.1	Modeling of Transmission Elements and Parameters	3-72

3.10.7.1.1 Transmission Lines	3-73

3.10.7.1.2 Transmission Buses	3-73

3.10.7.1.3 Transmission Breakers and Switches	3-74

3.10.7.1.4 Transmission and Generation Resource Step-Up Transformers	3-75

3.10.7.1.5 Reactors, Capacitors, and other Reactive Controlled Sources	3-76

3.10.7.2	Modeling of Resources and Transmission Loads	3-77

3.10.7.3	Modeling of Private Use Networks	3-78

3.10.7.4	Definition of Special Protection Systems and Remedial Action Plans	3-79

3.10.7.5	Telemetry Criteria	3-80

3.10.7.5.1 Continuous Telemetry of the Status of Breakers and Switches	3-81

3.10.7.5.2  Continuous Telemetry of the Real-Time Measurements of Bus

Load, Voltages, Tap Position, and Flows	3-82

3.10.7.6	Modeling of Generic Transmission Limits	3-84

3.10.8	Dynamic Ratings	3-84

3.10.8.1	Dynamic Ratings Delivered via ICCP	3-85

3.10.8.2	Dynamic Ratings Delivered via Static Table and Telemetered Temperature	3-85

3.10.8.3	Dynamic Rating Network Operations Model Change Requests	3-86

3.10.8.4	ERCOT Responsibilities Related to Dynamic Ratings	3-86

3.10.8.5	Transmission Service Provider Responsibilities Related to Dynamic Ratings	3-87

3.10.9	State Estimator Performance Standard	3-87

3.10.9.1	Considerations for Performance Standards	3-88

3.10.9.2	Telemetry and State Estimator Performance Monitoring	3-89

3.11	Transmission Planning	3-89

3.11.1	Overview	3-89

3.11.2	Planning Criteria	3-89

3.11.3	Regional Planning Group	3-91

3.11.4	Regional Planning Group Project Review Process	3-91

3.11.4.1	 Project Submission	3-91

3.11.4.2	 Project Comment Process	3-91

3.11.4.3	 Categorization of Proposed Transmission Projects	3-91

3.11.4.4	 Tier 4	3-92

3.11.4.5	 Tier 3	3-92

3.11.4.6	 Tier 2	3-93

3.11.4.7	 Tier 1	3-93

3.11.4.8	 Determine Designated Providers of Transmission Additions	3-94

3.11.4.9	 Regional Planning Group Acceptance and ERCOT Endorsement	3-94

3.11.4.10 Modifications to ERCOT Endorsed Projects	3-95

3.11.5	Assessment of Chronic Congestion	3-95

3.11.6	Generation Interconnection Process	3-95

3.12	Load Forecasting	3-96

3.12.1	Seven-Day Load Forecast	3-96

3.13	Renewable Production Potential Forecasts	3-96

3.14	Contracts for Reliability Resources and EILS Loads	3-97

3.14.1	Reliability Must Run	3-97

3.14.1.1	 Notification of Suspension of Operations	3-99

3.14.1.2	 ERCOT Evaluation	3-99

3.14.1.3	 ERCOT Report to Board on Signed RMR Agreements	3-101

3.14.1.4	 Exit Strategy from an RMR Agreement	3-101

3.14.1.5	 Potential Alternatives to RMR Agreements	3-102

3.14.1.6	 Transmission System Upgrades Associated with an RMR and/or MRA Exit  Strategy	3-102

3.14.1.7	 RMR or MRA Contract Termination	3-103

3.14.1.8	 RMR and/or MRA Contract Extension	3-104

3.14.1.9	 Generation Resource Return to Service Updates	3-105

3.14.1.10 Eligible Costs	3-106

3.14.1.11 Budgeting Eligible Costs	3-107

3.14.1.12 Reporting Actual Eligible Cost	3-108

3.14.1.13 Incentive Factor	3-109

3.14.1.14 Major Equipment Modifications	3-109

3.14.1.15 Budgeting Fuel Costs	3-109

3.14.1.16 Reporting Actual Eligible Costs	3-110

3.14.2	Black Start	3-110

3.14.3	Emergency Interruptible Load Service (EILS)	3-111

3.15	Voltage Support	3-116

3.15.1	ERCOT Responsibilities Related to Voltage Support	3-118

3.15.2	TSP and DSP Responsibilities Related to Voltage Support	3-119

3.15.3	QSE Responsibilities Related to Voltage Support	3-120

3.16	Standards for Determining Ancillary Service Quantities	3-121

3.17	Ancillary Service Capacity Products	3-122

3.17.1	Regulation Service	3-122

3.17.2	Responsive Reserve Service	3-123

3.17.3	Non-Spinning Reserve Service	3-123

3.18	Resource Limits in Providing Ancillary Service	3-124

3.19	Constraint Competitiveness Tests	3-124

3.19.1	Annual Competitiveness Test	3-126

3.19.2	Monthly Competitiveness Test	3-129

3.19.3	Daily Competitiveness Test	3-129

4	Day-Ahead Operations	4-1

4.1	Introduction	4-1

4.1.1	Day-Ahead Timeline Summary	4-2

4.1.2	Day-Ahead Process and Timing Deviations	4-2

4.2	ERCOT Activities in the Day-Ahead	4-3

4.2.1	Ancillary Service Plan and Ancillary Service Obligation	4-3

4.2.1.1	Ancillary Service Plan	4-3

4.2.1.2	Ancillary Service Obligation Assignment and Notice	4-4

4.2.2	Wind-Powered Generation Resource Production Potential	4-4

4.2.3	Posting Forecasted ERCOT System Conditions	4-5

4.2.4	ERCOT Notice of Validation Rules for the Day-Ahead	4-6

4.3	QSE Activities and Responsibilities in the Day-Ahead	4-6

4.4	Inputs into DAM and Other Trades	4-7

4.4.1	Capacity Trades	4-7

4.4.1.1	Capacity Trade Criteria	4-7

4.4.1.2	Capacity Trade Validation	4-7

4.4.2	Energy Trades	4-8

4.4.2.1	Energy Trade Criteria	4-8

4.4.2.2	Energy Trade Validation	4-9

4.4.3	Self-Schedules	4-9

4.4.3.1	Self-Schedule Criteria	4-9

4.4.3.2	Self-Schedule Validation	4-10

4.4.4	DC Tie Schedules	4-10

4.4.4.1	DC Tie Schedule Criteria	4-11

4.4.4.2	Oklaunion Exemption	4-12

4.4.5	CRR Offers	4-12

4.4.5.1	CRR Offer Criteria	4-12

4.4.5.2	CRR Offer Validation	4-13

4.4.6	PTP Obligation Bids	4-13

4.4.6.1	PTP Obligation Bid Criteria	4-14

4.4.6.2	PTP Obligation Bid Validation	4-14

4.4.7	Ancillary Service Supplied and Traded	4-14

4.4.7.1	Self-Arranged Ancillary Service Quantities	4-14

4.4.7.2	Ancillary Service Offers	4-17

4.4.7.2.1	 Ancillary Service Offer Criteria	4-17

4.4.7.2.2	 Ancillary Service Offer Validation	4-19

4.4.7.3	Ancillary Service Trades	4-19

4.4.7.3.1	 Ancillary Service Trade Criteria	4-20

4.4.7.3.2	 Ancillary Service Trade Validation	4-20

4.4.7.4	Ancillary Service Supply Responsibility	4-22

4.4.8	RMR Offers	4-24

4.4.9	Energy Offers and Bids	4-24

4.4.9.1	Three-Part Supply Offers	4-24

4.4.9.2	Startup Offer and Minimum-Energy Offer	4-25

4.4.9.2.1	 Startup Offer and Minimum-Energy Offer Criteria	4-25

4.4.9.2.2	 Startup Offer and Minimum-Energy Offer Validation	4-26

4.4.9.2.3	 Startup Offer and Minimum-Energy Offer Generic Caps	4-26

4.4.9.2.4	 Verifiable Startup Offer and Minimum-Energy Offer Caps	4-28

4.4.9.3	Energy Offer Curve	4-28

4.4.9.3.1	 Energy Offer Curve Criteria	4-30

4.4.9.3.2	 Energy Offer Curve Validation	4-30

4.4.9.3.3	 Energy Offer Curve Caps for Make-Whole Calculation Purposes	4-31

4.4.9.4	Mitigated Offer Cap and Mitigated Offer Floor	4-32

4.4.9.4.1	 Mitigated Offer Cap	4-32

4.4.9.4.2	 Mitigated Offer Floor	4-33

4.4.9.5	DAM Energy-Only Offer Curves	4-34

4.4.9.5.1	 DAM Energy-Only Offer Curve Criteria	4-34

4.4.9.5.2	 DAM Energy-Only Offer Validation	4-35

4.4.9.6	DAM Energy Bids	4-35

4.4.9.6.1	 DAM Energy Bid Criteria	4-35

4.4.9.6.2	 DAM Energy Bid Validation	4-36

4.4.10	Credit Requirement for DAM Bids and Offers	4-36

4.4.11	System-Wide Offer Caps	4-44

4.4.11.1	Scarcity Pricing Mechanism	4-45

4.4.11.2	Scarcity Pricing and Mitigated Offer Cap During Nodal Startup	4-45

4.5	DAM Execution and Results	4-46

4.5.1	DAM Clearing Process	4-46

4.5.2	Ancillary Service Insufficiency	4-50

4.5.3	Communicating DAM Results	4-51

4.6	DAM Settlement	4-54

4.6.1	Day-Ahead Settlement Point Prices	4-54

4.6.1.1	Day-Ahead Settlement Point Prices for Resource Nodes	4-54

4.6.1.2	Day-Ahead Settlement Point Prices for Load Zones	4-55

4.6.1.3	Day-Ahead Settlement Point Prices for Hubs	4-55

4.6.1.4	Day-Ahead Settlement Point Prices at the Logical Resource Node for a Combined Cycle Generation Resource	4-55

4.6.2	Day-Ahead Energy and Make-Whole Settlement	4-56

4.6.2.1	Day-Ahead Energy Payment	4-56

4.6.2.2	Day-Ahead Energy Charge	4-57

4.6.2.3	Day-Ahead Make-Whole Settlements	4-58

4.6.2.3.1	 Day-Ahead Make-Whole Payment	4-59

4.6.2.3.2	 Day-Ahead Make-Whole Charge	4-64

4.6.3	Settlement for PTP Obligations Bought in DAM	4-66

4.6.4	Settlement of Ancillary Services Procured in the DAM	4-67

4.6.4.1	Payments for Ancillary Services Procured in the DAM	4-67

4.6.4.1.1	 Regulation Up Service Payment	4-67

4.6.4.1.2	 Regulation Down Service Payment	4-68

4.6.4.1.3	 Responsive Reserve Service Payment	4-68

4.6.4.1.4	 Non-Spinning Reserve Service Payment	4-69

4.6.4.2	Charges for Ancillary Services Procurement in the DAM	4-70

4.6.4.2.1	 Regulation Up Service Charge	4-70

4.6.4.2.2	 Regulation Down Service Charge	4-71

4.6.4.2.3	 Responsive Reserve Service Charge	4-73

4.6.4.2.4	 Non-Spinning Reserve Service Charge	4-75

4.6.5	Calculation of “Average Incremental Energy Cost” (AIEC)	4-77

5	Transmission Security Analysis and Reliability Unit Commitment (RUC)	5-1

5.1	Introduction	5-1

5.2	Reliability Unit Commitment Timeline Summary	5-2

5.2.1	RUC Normal Timeline Summary	5-2

5.2.2	RUC Process Timing Deviations	5-3

5.2.2.1	RUC Process Timeline After a Delay of the Day-Ahead Market	5-3

5.2.2.2	RUC Process Timeline After an Aborted Day-Ahead Market	5-4

5.3	ERCOT Security Sequence Responsibilities	5-6

5.4	QSE Security Sequence Responsibilities	5-7

5.5	Security Sequence, Including RUC	5-7

5.5.1	Security Sequence	5-7

5.5.2	Reliability Unit Commitment (RUC) Process	5-9

5.5.3	Communication of RUC Commitments and Decommitments	5-13

5.6	RUC Cost Eligibility	5-13

5.6.1	Verifiable Costs	5-13

5.6.1.1	Verifiable Startup Costs	5-17

5.6.1.2	Verifiable Minimum-Energy Costs	5-18

5.6.2	RUC Startup Cost Eligibility	5-18

5.6.3	Forced Outage of a RUC-Committed Resource	5-19

5.6.4	Cancellation of a RUC Commitment	5-19

5.7	Settlement for RUC Process	5-20

5.7.1	RUC Make-Whole Payment	5-20

5.7.1.1	RUC Guarantee	5-21

5.7.1.2	RUC Minimum-Energy Revenue	5-24

5.7.1.3	Revenue Less Cost Above LSL During RUC-Committed Hours	5-25

5.7.1.4	Revenue Less Cost During QSE Clawback Intervals	5-26

5.7.2	RUC Clawback Charge	5-28

5.7.3	Payment When ERCOT Decommits a QSE-Committed Resource	5-33

5.7.4	RUC Make-Whole Charges	5-36

5.7.4.1	RUC Capacity-Short Charge	5-36

5.7.4.1.1	Capacity Shortfall Ratio Share	5-38

5.7.4.1.2	RUC Capacity Credit	5-41

5.7.4.2	RUC Make-Whole Uplift Charge	5-42

5.7.5	RUC Clawback Payment	5-43

5.7.6	RUC Decommitment Charge	5-43

6	Adjustment Period and Real-Time Operations	6-1

6.1	Introduction	6-1

6.2	Market Timeline Summary	6-2

6.3	Adjustment Period and Real-Time Operations Timeline	6-3

6.3.1	Activities for the Adjustment Period	6-4

6.3.2	Activities for Real-Time Operations	6-5

6.3.3	Real-Time Timeline Deviations	6-7

6.3.4	ERCOT Notification of Validation Rules for Real-Time	6-8

6.4	Adjustment Period	6-8

6.4.1	Capacity Trade, Energy Trade, Self-Schedule, and Ancillary Service Trades	6-8

6.4.2	Output Schedules	6-8

6.4.2.1	Output Schedules for Resources Other than Dynamically Scheduled Resources	6-9

6.4.2.2	Output Schedules for Dynamically Scheduled Resources	6-9

6.4.2.3	Output Schedule Criteria	6-10

6.4.2.4	Output Schedule Validation	6-10

6.4.2.5	DSR Load	6-11

6.4.3	Energy Offer Curve	6-11

6.4.4	Incremental and Decremental Energy Offer Curves	6-12

6.4.5	Resource Status	6-12

6.4.6	QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources	6-13

6.4.6.1	QSE Request to Decommit Resources in the Operating Period	6-14

6.4.6.2	QSE Request to Decommit Resources in the Adjustment Period	6-14

6.4.7	Notification of Forced Outage of a Resource	6-14

6.4.8	Ancillary Services Capacity During the Adjustment Period and in Real-Time	6-15

6.4.8.1	Evaluation and Maintenance of Ancillary Service Capacity Sufficiency	6-15

6.4.8.1.1	 ERCOT Increases to the Ancillary Services Plan	6-15

6.4.8.1.2	 Replacement of Undeliverable Ancillary Service Due to Transmission  Constraints	6-16

6.4.8.1.3	 Replacement of Ancillary Service Due to Failure to Provide	6-17

6.4.8.2	Supplemental Ancillary Services Market	6-18

6.4.8.2.1	 Resubmitting Offers for Ancillary Services in the Adjustment

Period		6-19

6.4.8.2.2	 SASM Clearing Process	6-19

6.4.8.2.3	 Communication of SASM Results	6-20

6.5	Real-Time Energy Operations	6-21

6.5.1	ERCOT Activities	6-21

6.5.1.1	ERCOT Control Area Authority	6-21

6.5.1.2	Centralized Dispatch	6-21

6.5.2	Operating Standards	6-22

6.5.3	Equipment Operating Ratings and Limits	6-22

6.5.4	Inadvertent Energy Account	6-23

6.5.5	QSE Activities	6-23

6.5.5.1	Changes in Resource Status	6-23

6.5.5.2	Operational Data Requirements	6-23

6.5.6	TSP and DSP Responsibilities	6-27

6.5.7	Energy Dispatch Methodology	6-28

6.5.7.1	Real-Time Sequence	6-28

6.5.7.1.1	 SCADA Telemetry	6-29

6.5.7.1.2	 Network Topology Builder	6-29

6.5.7.1.3	 Bus Load Forecast	6-29

6.5.7.1.4	 State Estimator	6-30

6.5.7.1.5	 Topology Consistency Analyzer	6-30

6.5.7.1.6	 Breakers/Switch Status Alarm Processor and Forced Outage

Detection Processor	6-30

6.5.7.1.7	 Real-Time Weather and Dynamic Rating Processor	6-30

6.5.7.1.8	 Overload Alarm Processor	6-31

6.5.7.1.9	 Contingency List and Contingency Screening	6-31

6.5.7.1.10 Network Security Analysis Processor and Security Violation

Alarm		6-31

6.5.7.1.11 Transmission Network and Power Balance Constraint

Management	6-32

6.5.7.1.12 Resource Limits	6-33

6.5.7.1.13 Data Inputs and Outputs for the Real-Time Sequence and SCED	6-35

6.5.7.2	Resource Limit Calculator	6-37

6.5.7.3	Security Constrained Economic Dispatch	6-41

6.5.7.4	Base Points	6-45

6.5.7.5	Ancillary Services Capacity Monitor	6-46

6.5.7.6	Load Frequency Control	6-47

6.5.7.6.1	 LFC Process Description	6-48

6.5.7.6.2	 LFC Deployment	6-49

6.5.7.7	Voltage Support Service	6-54

6.5.7.8	Dispatch Procedures	6-54

6.5.7.9	Compliance with Dispatch Instructions	6-55

6.5.7.10	WGR Ramp Rate Limitations	6-56

6.5.8	Verbal Dispatch Instructions	6-58

6.5.9	Emergency Operations	6-58

6.5.9.1	Emergency and Short Supply Operation	6-59

6.5.9.2	Failure of the SCED Process	6-59

6.5.9.3	Communication under Emergency Conditions	6-60

6.5.9.3.1	 Operating Condition Notice	6-61

6.5.9.3.2	 Advisory	6-62

6.5.9.3.3	 Watch	6-62

6.5.9.3.4	 Emergency Notice	6-64

6.5.9.4	Energy Emergency Alert	6-65

6.5.9.4.1	 General Procedures Prior to EEA Operations	6-66

6.5.9.4.2	 EEA Levels	6-66

6.5.9.4.3	 Restoration of Market Operations	6-69

6.5.9.5	Block Load Transfers between ERCOT and Non-ERCOT Control Areas	6-69

6.5.9.5.1	 Registration and Posting of BLT Points	6-71

6.5.9.5.2	 Scheduling and Operation of BLTs	6-72

6.5.9.6	Black Start	6-72

6.6	Settlement Calculations for the Real-Time Energy Operations	6-73

6.6.1	Real-Time Settlement Point Prices	6-73

6.6.1.1	Real-Time Settlement Point Price for a Resource Node	6-73

6.6.1.2	Real-Time Settlement Point Price for a Load Zone	6-75

6.6.1.3	Real-Time Settlement Point Price for a Hub	6-76

6.6.1.4	Load Zone LMPs	6-76

6.6.1.5	Hub LMPs	6-77

6.6.2	Load Ratio Share	6-78

6.6.2.1	ERCOT Total Adjusted Metered Load	6-78

6.6.2.2	QSE Load Ratio Share for a 15-Minute Settlement Interval	6-78

6.6.2.3	QSE Load Ratio Share for an Operating Hour	6-79

6.6.3	Real-Time Energy Charges and Payments	6-79

6.6.3.1	Real-Time Energy Imbalance Payment or Charge at a Resource Node	6-79

6.6.3.2	Real-Time Energy Imbalance Payment or Charge at a Load Zone	6-84

6.6.3.3	Real-Time Energy Imbalance Payment or Charge at a Hub	6-86

6.6.3.4	Real-Time Energy Payment for DC Tie Import	6-87

6.6.3.5	Real-Time Payment for a Block Load Transfer Point	6-89

6.6.3.6	Real-Time Energy Charge for DC Tie Export Represented by the QSE Under the Oklaunion Exemption	6-90

6.6.4	Real-Time Congestion Payment or Charge for Self-Schedules	6-90

6.6.5	Generation Resource Base Point Deviation Charge	6-91

6.6.5.1	General Generation Resource Base Point Deviation Charge	6-92

6.6.5.1.1	 Base Point Deviation Charge for Over Generation	6-93

6.6.5.1.2	 Base Point Deviation Charge for Under Generation	6-96

6.6.5.2	IRR Generation Resource Base Point Deviation Charge	6-98

6.6.5.3	Generators Exempt from Deviation Charges	6-99

6.6.5.4	Base Point Deviation Payment	6-100

6.6.6	Reliability Must-Run Settlement	6-100

6.6.6.1	RMR Standby Payment	6-100

6.6.6.2	RMR Payment for Energy	6-103

6.6.6.3	RMR Adjustment Charge	6-105

6.6.6.4	RMR Charge for Unexcused Misconduct	6-107

6.6.6.5	RMR Service Charge	6-108

6.6.7	Voltage Support Settlement	6-111

6.6.7.1	Voltage Support Service Payments	6-111

6.6.7.2	Voltage Support Charge	6-114

6.6.8	Black Start Capacity	6-115

6.6.8.1	Black Start Capacity Payment	6-115

6.6.8.2	Black Start Capacity Charge	6-117

6.6.9	Emergency Operations Settlement	6-117

6.6.9.1	Payment for Emergency Power Increase Directed by ERCOT	6-118

6.6.9.2	Charge for Emergency Power Increases	6-122

6.6.10	Real-Time Revenue Neutrality Allocation	6-122

6.6.11	Emergency Interruptible Load Service (EILS) Capacity	6-128

6.6.11.1	EILS Capacity Payments	6-128

6.6.11.2	EILS Capacity Charge	6-132

6.7	Real-Time Settlement Calculations for the Ancillary Services	6-133

6.7.1	Payments for Ancillary Service Capacity Sold in a Supplemental Ancillary Service Market	6-133

6.7.2	Charges for Ancillary Service Capacity Replaced Due to Failure to Provide	6-135

6.7.3	Adjustments to Cost Allocations for Ancillary Services Procurement	6-137

7	Congestion Revenue Rights	7-1

7.1	Function of Congestion Revenue Rights	7-1

7.2	Characteristics of Congestion Revenue Rights	7-2

7.2.1	CRR Naming Convention	7-2

7.3	Types of Congestion Revenue Rights to Be Auctioned	7-2

7.3.1	Flowgates	7-3

7.3.1.1	Process for Defining Flowgates	7-3

7.3.1.2	Defined Flowgates	7-3

7.4	Allocation of Preassigned Congestion Revenue Rights	7-3

7.4.1	PCRR Allocation Eligibility	7-4

7.4.2	PCRR Allocation Terms and Conditions	7-4

7.5	CRR Auctions	7-8

7.5.1	Nature and Timing	7-8

7.5.2	CRR Auction Offers and Bids	7-10

7.5.2.1	CRR Auction Offer Criteria	7-11

7.5.2.2	CRR Auction Offer Validation	7-12

7.5.2.3	CRR Auction Bid Criteria	7-12

7.5.2.4	CRR Auction Bid Validation	7-13

7.5.3	ERCOT Responsibilities	7-13

7.5.3.1	Data Transparency	7-14

7.5.3.2	Auction Notices	7-15

7.5.4	CRR Account Holder Responsibilities	7-15

7.5.5	Auction Clearing Methodology	7-16

7.5.5.1	Creditworthiness	7-16

7.5.5.2	Disclosure of CRR Ownership	7-16

7.5.5.3	Auction Process	7-16

7.5.5.4	Simultaneous Feasibility Test	7-17

7.5.6	CRR Auction Settlements	7-19

7.5.6.1	Payment of an Awarded CRR Auction Offer	7-19

7.5.6.2	Charge of an Awarded CRR Auction Bid	7-20

7.5.6.3	Charge of PCRRs Pertaining to a CRR Auction	7-22

7.5.6.4	CRR Auction Revenues	7-23

7.5.7	Method for Distributing CRR Auction Revenues	7-27

7.6	CRR Balancing Account	7-29

7.7	[RESERVED]	7-29

7.8	Bilateral Trades and ERCOT CRR Registration System	7-29

7.9	CRR Settlements	7-30

7.9.1	Day-Ahead CRR Payments and Charges	7-30

7.9.1.1	Payments and Charges for PTP Obligations Settled in DAM	7-30

7.9.1.2	Payments for PTP Options Settled in DAM	7-33

7.9.1.3	Minimum and Maximum Resource Prices	7-35

7.9.1.4	Payments for FGRs Settled in DAM	7-37

7.9.1.5	Payments and Charges for PTP Obligations with Refund Settled in DAM	7-39

7.9.1.6	Payments for PTP Options with Refund Settled in DAM	7-42

7.9.2	Real-Time CRR Payments and Charges	7-45

7.9.2.1	Payments and Charges for PTP Obligations Settled in Real-Time	7-45

7.9.2.2	Payments for PTP Options Settled in Real-Time	7-47

7.9.2.3	Payments for NOIE PTP Options with Refund Settled in Real-Time	7-51

7.9.2.4	Payments for FGRs in Real-Time	7-56

7.9.2.5	Payments and Charges for PTP Obligations with Refund in Real-Time	7-57

7.9.3	CRR Balancing Account	7-59

7.9.3.1	DAM Congestion Rent	7-59

7.9.3.2	Credit to CRR Balancing Account	7-61

7.9.3.3	Shortfall Charges to CRR Owners	7-63

7.9.3.4	Monthly Refunds to Short-Paid CRR Owners	7-66

7.9.3.5	CRR Balancing Account Closure	7-68

8	Performance Monitoring	8-1

8.1	QSE and Resource Performance Monitoring	8-1

8.1.1	QSE Ancillary Service Performance Standards	8-3

8.1.1.1	Ancillary Service Qualification and Testing	8-3

8.1.1.2	General Capacity Testing Requirements	8-5

8.1.1.2.1	Ancillary Service Technical Requirements and Qualification Criteria and Test Methods	8-8

8.1.1.2.1.1 Regulation Service Qualification	8-9

8.1.1.2.1.2 Responsive Reserve Service Qualification	8-10

8.1.1.2.1.3 Non-Spinning Reserve Qualification	8-12

8.1.1.2.1.4 Voltage Support Service (VSS) Qualification	8-13

8.1.1.2.1.5 System Black Start Capability Qualification	8-13

8.1.1.3	Ancillary Service Capacity Compliance Criteria	8-17

8.1.1.3.1	Regulation Service Capacity Monitoring Criteria	8-18

8.1.1.3.2	Responsive Reserve Service Capacity Monitoring Criteria	8-18

8.1.1.3.3	Non-Spinning Reserve Capacity Monitoring Criteria	8-19

8.1.1.4	Ancillary Service and Energy Deployment Compliance Criteria	8-19

8.1.1.4.1	Regulation Service and Generation Resource/Controllable Load Resource Energy Deployment Performance	8-19

8.1.1.4.2	Responsive Reserve Service Energy Deployment Criteria	8-30

8.1.1.4.3	Non-Spinning Reserve Service Energy Deployment Criteria	8-31

8.1.2	Current Operating Plan (COP) Performance Requirements	8-32

8.1.3	Emergency Interruptible Load Service (EILS) Performance and Testing	8-33

8.1.3.1	Performance Criteria for EILS Loads	8-33

8.1.3.2	Testing of EILS Loads	8-40

8.1.3.3	Suspension of Qualification of EILS Loads and/or their QSEs	8-40

8.1.3.3.1	Performance Criteria for EILS QSEs	8-41

8.1.3.4	ERCOT Data Collection for EILS	8-42

8.2	ERCOT Performance Monitoring	8-42

8.3	TSP Performance Monitoring and Compliance	8-47

8.4	ERCOT Response to Market Non-Performance	8-48

8.5	Primary Frequency Response Requirements and Monitoring	8-49

8.5.1	Generation Resource and QSE Participation	8-49

8.5.1.1	Governor in Service	8-49

8.5.1.2	Reporting	8-49

8.5.1.3 	Wind-powered Generation Resource (WGR) Primary Frequency Response	8-49

8.5.2	Primary Frequency Response Measurements	8-50

8.5.2.1	ERCOT Required Primary Frequency Response	8-51

8.5.2.2	ERCOT Data Collection	8-51

9	SETTLEMENT AND BILLING	9-1

9.1	General	9-1

9.1.1	Settlement and Billing Process Overview	9-1

9.1.2	Settlement Calendar	9-1

9.1.3	Settlement Statement and Invoice Access	9-2

9.1.4	Settlement Statement and Invoice Timing	9-2

9.1.5	Settlement Payment Convention	9-3

9.2	Settlement Statements for the Day-Ahead Market	9-3

9.2.1	Settlement Statement Process for the DAM	9-3

9.2.2	 Settlement Statements for the DAM	9-3

9.2.3	DAM Settlement Charge Types	9-4

9.2.4	DAM Statement	9-5

9.2.5	DAM Resettlement Statement	9-5

9.2.6	Notice of Resettlement for the DAM	9-5

9.2.7	Confirmation of Statement for the DAM	9-6

9.2.8	Validation of the Settlement Statement for the DAM	9-6

9.2.9	Suspension of Issuing Settlement Statements for the DAM	9-6

9.3	Settlement Invoices for the DAM	9-6

9.4	Payment Process for the DAM	9-7

9.4.1	Invoice Recipient Payment to ERCOT for the DAM	9-7

9.4.2	ERCOT Payment to Invoice Recipients for the DAM	9-8

9.4.3	[RESERVED]	9-8

9.4.4	Enforcing the Security of a Short-Paying Invoice Recipient	9-8

9.4.5	Late Fees and Late Fee Invoices for the DAM	9-8

9.5	 Settlement Statements for Real-Time Market	9-10

9.5.1	Settlement Statement Process for the Real-Time Market	9-10

9.5.2	Settlement Statements for the RTM	9-10

9.5.3	Real-Time Market Settlement Charge Types	9-12

9.5.4	RTM Initial Statement	9-14

9.5.5	RTM Final Statement	9-14

9.5.6	RTM Resettlement Statement	9-15

9.5.7	Notice of Resettlement for the Real-Time Market	9-15

9.5.8	RTM True-Up Statement	9-16

9.5.9	Notice of True-Up Settlement Timeline Changes for the Real-Time Market	9-16

9.5.10	Confirmation for the Real-Time Market	9-17

9.5.11	Validation of the True-Up Statement for the Real-Time Market	9-17

9.5.12	Suspension of Issuing Settlement Statements for the Real-Time Market	9-17

9.6	Settlement Invoices for the Real-Time Market	9-17

9.7	Payment Process for the RTM	9-18

9.7.1	Invoice Recipient Payment to ERCOT for the RTM	9-18

9.7.2	ERCOT Payment to Invoice Recipients for the Real-Time Market	9-19

9.7.3	Enforcing the Security of a Short-Paying Invoice Recipient	9-19

9.7.4	Late Fees and Late Fee Invoices for the RTM	9-19

9.8	CRR Auction Award Invoices	9-21

9.9	Payment Process for CRR Auction Invoices	9-22

9.9.1	Invoice Recipient Payment to ERCOT for the CRR Auction	9-22

9.9.2	ERCOT Payment to Invoice Recipients for the CRR Auction	9-23

9.9.3	Enforcing the Security of a Short-Paying CRR Auction Invoice Recipient	9-23

9.10	CRR Auction Revenue Distribution Invoices	9-23

9.11	Payment Process for CRR Auction Revenue Distribution	9-25

9.11.1	Invoice Recipient Payment to ERCOT for CRR Auction Revenue Distribution	9-25

9.11.2	ERCOT Payment to Invoice Recipients for CRR Auction Revenue Distribution	9-25

9.11.3	Partial Payments by Invoice Recipients for CRR Auction Revenue Distribution	9-25

9.11.4	Enforcing the Security of a Short-Paying CARD Invoice Recipient	9-26

9.12	CRR Balancing Account Invoices	9-26

9.13	Payment Process for the CRR Balancing Account	9-27

9.14	Settlement and Billing Dispute Process	9-28

9.14.1	Data Review, Validation, Confirmation, and Dispute of Settlement Statements	9-28

9.14.2	Notice of Dispute	9-28

9.14.3	Contents of Notice	9-29

9.14.4	 ERCOT Processing of Disputes	9-30

9.14.4.1	Status of Dispute	9-31

9.14.4.1.1 Not Started	9-31

9.14.4.1.2 Open	9-31

9.14.4.1.3 Closed	9-31

9.14.4.1.4 Rejected	9-32

9.14.4.1.5 Withdrawn	9-32

9.14.4.1.6 ADR	9-32

9.14.4.2	Resolution of Dispute	9-33

9.14.4.2.1 Denied	9-33

9.14.4.2.2 Granted	9-33

9.14.4.2.3 Granted with Exceptions	9-33

9.14.5	Settlement of Emergency Interruptible Load Service (EILS)	9-34

9.14.6	Disputes for Operations Decisions	9-34

9.14.7	Disputes for RUC Make-Whole Payment for Exceptional Fuel Costs	9-35

9.15	Settlement Charges	9-35

9.15.1	Charge Type Matrix	9-35

9.16	Administrative Fees	9-35

9.16.1	ERCOT System Administration Charge	9-36

9.16.2	Application Fee	9-36

9.16.3	Private Wide Area Network Fees	9-36

9.16.4	ERCOT Nodal Implementation Surcharge	9-36

9.17	Transmission Billing Determinant Calculation	9-37

9.17.1	Billing Determinant Data Elements	9-38

9.17.2	Direct Current Tie Schedule Information	9-38

9.18	Profile Development Cost Recovery Fee for Non-ERCOT Sponsored Load Profile Segment	9-39

9.19	Partial Payments by Invoice Recipients	9-40

9.19.1	Default Uplift Invoices	9-42

9.19.2	Payment Process for Default Uplift Invoices	9-47

9.19.2.1	Invoice Recipient Payment to ERCOT for Default Uplift	9-47

9.19.2.2	ERCOT Payment to Invoice Recipients for Default Uplift	9-48

10	METERING	10-1

10.1	Overview	10-1

10.2	Scope of Metering Responsibilities	10-1

10.2.1	QSE Real-Time Metering	10-1

10.2.2	TSP and DSP Metered Entities	10-1

10.2.3	ERCOT-Polled Settlement Meters	10-3

10.2.3.1	Entity EPS Responsibilities	10-3

10.3	Meter Data Acquisition System (MDAS)	10-4

10.3.1	Purpose	10-4

10.3.2	ERCOT-Polled Settlement Meters	10-4

10.3.2.1	Generation Meter Splitting	10-4

10.3.2.1.1 Generator Metering Real-Time Splitting Signal	10-5

10.3.2.1.2 Allocating EPS Metered Data to Generator Virtual Meters	10-5

10.3.2.1.3 Processing for Missing Dynamic Splitting Signal	10-5

10.3.2.1.4 Calculating the Virtual Generator Ratio	10-6

10.3.2.1.5 Generation Splitting Data Made Available to Market Participants	10-6

10.3.2.1.6 Allocating EPS Metered Data to Generator Owners When It Is

Net Load	10-6

10.3.2.2	Loss Compensation of EPS Meter Data	10-6

10.3.2.3	Generation Netting for ERCOT-Polled Settlement Meters	10-7

10.3.2.4	Reporting of Net Generation Capacity	10-8

10.3.3	TSP or DSP Metered Entities	10-8

10.3.3.1	Data Responsibilities	10-8

10.3.3.2	Retail Load Meter Splitting	10-9

10.3.3.2.1 Retail Customer Load Splitting Mechanism	10-9

10.3.3.2.2 TSP and DSP Responsibilities Associated with Retail Customer

Load Splitting	10-10

10.3.3.2.3 ERCOT Requirements for Retail Load Splitting	10-10

10.3.3.3	Submission of Settlement Quality Meter Data to ERCOT	10-10

10.3.3.3.1 Past Due Data Submission	10-11

10.4	Certification of EPS Metering Facilities	10-11

10.4.1	Overview	10-11

10.4.2	EPS Design Proposal Documentation Required from the TSP or DSP	10-11

10.4.2.1	Approval or Rejection of an EPS Design Proposal for EPS Metering

Facilities	10-12

10.4.2.1.1 Unconditional Approval	10-12

10.4.2.1.2 Conditional Approval	10-12

10.4.2.1.3 Rejection	10-13

10.4.3	Site Certification Documentation Required from the TSP or DSP EPS Meter

Inspector	10-13

10.4.3.1	Review by ERCOT	10-13

10.4.3.2	Provisional Approval	10-13

10.4.3.3	Obligation to Maintain Approval	10-14

10.4.3.4	Revocation of Approval	10-14

10.4.3.5	Changes to Approved EPS Metering Facilities	10-14

10.4.3.6	Confirmation of Certification	10-15

10.5	TSP and DSP EPS Meter Inspectors	10-15

10.5.1	List of TSP and DSP EPS Meter Inspectors	10-15

10.5.2	EPS Meter Inspector Approval Process	10-15

10.5.2.1	TSP and DSP Responsibilities	10-15

10.5.2.2	ERCOT Responsibilities	10-15

10.6	Auditing and Testing of Metering Facilities	10-16

10.6.1	EPS Meter Entities	10-16

10.6.1.1	ERCOT Requirement for Audits and Tests	10-16

10.6.1.2	TSP and DSP Testing Requirements for EPS Metering Facilities	10-16

10.6.1.3	Failure to Comply	10-17

10.6.1.4	Requests by Market Participants	10-17

10.6.2	TSP and DSP Metered Entities	10-17

10.6.2.1	Requirement for Audit and Testing	10-17

10.6.2.2	TSP and DSP Requirement to Certify per Governmental Authorities	10-17

10.7	ERCOT Request for Installation of EPS Metering Facilities	10-18

10.7.1	Additional EPS Metering Installations	10-18

10.7.2	Approval or Rejection of Waiver Request for Installation of EPS Metering Facilities	10-18

10.7.2.1	Approval	10-18

10.7.2.2	Rejection	10-18

10.8	Maintenance of Metering Facilities	10-19

10.8.1	EPS Meters	10-19

10.8.1.1	Duty to Maintain EPS Metering Facilities	10-19

10.8.1.2	EPS Metering Facilities Repairs	10-19

10.8.2	TSP or DSP Metered Entities	10-19

10.9	Standards for Metering Facilities	10-20

10.9.1	ERCOT-Polled Settlement Meters	10-20

10.9.2	TSP or DSP Metered Entities	10-21

10.9.3	Failure to Comply with Standards	10-22

10.10	Security of Meter Data	10-22

10.10.1	EPS Meters	10-22

10.10.1.1 TSP and DSP Data Security Responsibilities	10-22

10.10.1.2 ERCOT Data Security Responsibilities	10-23

10.10.1.3 Resource Entity Data Security Responsibilities	10-23

10.10.1.4 Third Party Access Withdrawn	10-23

10.10.1.5 Meter Site Security	10-23

10.10.2	TSP or DSP Metered Entities	10-23

10.11	Validating, Editing, and Estimating of Meter Data	10-23

10.11.1	EPS Meters	10-23

10.11.2	Obligation to Assist	10-24

10.11.3	TSP or DSP Settlement Meters	10-24

10.12	Communications	10-24

10.12.1	ERCOT Acquisition of Meter Data	10-24

10.12.2	TSP or DSP Meter Data Submittal to ERCOT	10-24

10.12.3	ERCOT Distribution of Settlement Quality Meter Data	10-25

10.13	Meter Identification	10-25

10.14	Exemptions from Compliance to Metering Protocols	10-25

10.14.1	Authority to Grant Exemptions	10-25

10.14.2	Guidelines for Granting Temporary Exemptions	10-25

10.14.3	Procedure for Applying for Exemptions	10-26

10.14.3.1 Information to be Included in the Application	10-26

11	Data Acquisition and Aggregation	11-1

11.1	Data Acquisition and Aggregation from ERCOT Polled Settlement Metered Entities	1

11.1.1	Overview	1

11.1.2	ERCOT Polled Settlement Meter Data Collection	1

11.1.3	ERCOT Polled Settlement Meter Time Synchronization	1

11.1.4	ERCOT Polled Settlement Meter Data Validation, Editing, and Estimation	1

11.1.5	Loss Compensation of ERCOT Polled Settlement Meter Data	2

11.1.6	ERCOT Polled Settlement Meter Netting	2

11.1.7	ERCOT Polled Settlement Generation Meter Splitting	3

11.1.8	Correction of ERCOT Polled Settlement Meter Data for Non-Opt-In Transmission

Losses	3

11.1.9	Treatment of Non-Opt-In Radially Connected Entities	3

11.1.10	Treatment of ERCOT Polled Settlement Load Data	3

11.1.11	Treatment of ERCOT Polled Settlement Resource ID Data	4

11.2	Data Acquisition from Transmission Service Providers and/or Distribution Service Providers	4

11.2.1	Overview	4

11.2.2	Data Provision and Verification of Non ERCOT Polled Settlement Metered Points	5

11.3	Electric Service Identifier Synchronization	5

11.3.1	Electric Service Identifier Service History and Usage	5

11.3.2	Variance Process	5

11.3.3	Alternative Dispute Resolution	6

11.4	Load Data Aggregation	6

11.4.1	Estimation of Missing Data	6

11.4.2	Non-Interval Missing Consumption Data Estimation	6

11.4.3	Interval Consumption Data Estimation	8

11.4.3.1	Weather Responsiveness Determination	8

11.4.3.2	Weather Sensitive Proxy Day Method	9

11.4.3.3	Non-Weather Sensitive Proxy Day Method	10

11.4.3.4	Interval Data Recorder Estimation Reporting	11

11.4.4	Data Aggregation Processing for Actual Data	11

11.4.4.1	Application of Profiles to Non-Interval Data	11

11.4.4.2	Load Reduction for Excess PhotoVoltaic Distributed Renewable Generation	12

11.4.4.3	Load Reduction for Excess Non-PhotoVoltaic Distributed Generation	13

11.4.5	Adjustment of Consumption Data for Losses	15

11.4.6	Unaccounted for Energy Calculation and Allocation	16

11.4.6.1	Calculation of ERCOT-Wide Unaccounted For Energy	16

11.4.6.2	Allocation of Unaccounted For Energy	17

11.4.6.3	Unaccounted For Energy Allocation to Unaccounted For Energy Categories	17

11.4.6.4	Unaccounted For Energy Allocation to Load Serving Entities within Unaccounted For Energy Categories	18

11.5	Data Aggregation	19

11.5.1	Aggregate Retail Load Data	19

11.5.1.1	Aggregated Load Data Posting/Availability	19

11.5.1.2	TSP and/or DSP Load Data Posting/Availability	20

11.5.2	Generation Meter Data Aggregation	20

11.5.2.1	Participant Specific Generation Data Posting/Availability	20

11.5.2.2	General Public Generation Data Posting/Availability	21

11.6	Unaccounted For Energy Analysis	21

11.6.1	Overview	21

11.6.2	Annual Unaccounted For Energy Analysis Report	22

12	Market Information System	12-1

12.1	Overview	12-1

12.2	ERCOT Responsibilities	12-1

12.3	MIS Administrative and Design Requirements	12-2

12.4 	ERCOT Internet Website	12-2

13	Transmission and Distribution Losses	13-1

13.1	Overview	13-1

13.1.1	Responsibility for Transmission and Distribution Losses	13-1

13.1.2	Calculation of Losses for Settlement	13-2

13.2	Transmission Losses	13-2

13.2.1	Forecasted Transmission Loss Factors	13-2

13.2.2	Deemed Actual Transmission Loss Factors	13-2

13.2.3	Transmission Loss Factor Calculations	13-2

13.2.4	Seasonal Transmission Loss Factor Calculation	13-3

13.2.5	Loss Monitoring	13-3

13.3	Distribution Losses	13-4

13.3.1	Loss Factor Calculation	13-4

13.3.2	Loss Monitoring	13-5

13.4	Special Loss Calculations for Settlement and Analysis	13-5

13.4.1	Deemed Actual Transmission Losses for NOIEs	13-5

14	State of Texas Renewable Energy Credit Trading Program	14-1

14.1	Overview	14-1

14.2	Duties of ERCOT	14-1

14.2.1	Site Visits	14-3

14.3	Creation of Renewable Energy Credit Accounts and Attributes of Renewable Energy Credits	14-3

14.3.1	Creation of Renewable Energy Credit Accounts	14-3

14.3.2	Attributes of Renewable Energy Credits and Compliance Premiums	14-3

14.4	Registration to Become a Renewable Energy Credit Generator or Renewable Energy Credit Aggregator	14-4

14.5	Reporting Requirements	14-4

14.5.1	Renewable Energy Credit Generators and Renewable Energy Credit Offset Generators	14-5

14.5.2	Retail Entities	14-5

14.5.3	End-Use Customers	14-6

14.6	Awarding of Renewable Energy Credits	14-7

14.6.1 	Adjustments to Renewable Energy Credit Award Calculations	14-7

14.6.2	Awarding of Compliance Premiums	14-8

14.7	Transfer of Renewable Energy Credits or Compliance Premiums Between Parties	14-8

14.8	Renewable Energy Credit Offsets	14-9

14.9	Allocation of Statewide Renewable Portfolio Standard Requirement Among Retail Entities	14-9

14.9.1	Annual Capacity Targets	14-10

14.9.2	Capacity Conversion Factor	14-11

14.9.3	Statewide Renewable Portfolio Standard Requirement	14-12

14.9.4	Application of Offsets - Adjusted Renewable Portfolio Standard Requirement	14-13

14.9.5	Final Renewable Portfolio Standard Requirement	14-14

14.10	Retiring of Renewable Energy Credits or Compliance Premiums	14-15

14.10.1	Mandatory Retirement	14-15

14.10.2	Voluntary Retirement	14-15

14.10.3	Retiring Unused Renewable Energy Credits or Compliance Premiums	14-15

14.11	Penalties and Enforcement	14-16

14.12	Maintain Public Information	14-16

14.13 	Submit Annual Report to Public Utility Commission of Texas	14-17

15	Customer Registration	15-1

15.1	Customer Switch of Competitive Retailer	15-2

15.1.1	Submission of a Switch Request	15-2

15.1.1.1 Notification to Customer of Switch Request	15-2

15.1.1.2 Provision of Historical Usage	15-2

15.1.1.2.1 Provision of Historical Usage with a Switch Request	15-3

15.1.1.2.2 Ad Hoc Requests for Historical Usage	15-3

15.1.1.3 Switch Registration Notification Request to TDSP	15-3

15.1.1.4 Response from TDSP to Registration Notification Request	15-3

15.1.1.5 Response to Valid Switch Request	15-4

15.1.1.6 Notification to Current CR of Drop Due to Switch (with date)	15-5

15.1.1.7 Completion of Switch Request and Effective Switch Date	15-5

15.1.1.8 Rejection of Switch Request	15-6

15.1.2	Response from ERCOT to Drop to Affiliate Retail Electric Provider Request	15-7

15.1.3	Mass Transition	15-7

15.1.3.1 Customer Billing Contact Information	15-8

15.1.4	Beginning Service (New Construction Completed and Move-Ins)	15-8

15.1.4.1 Move-In Request to Begin Electric Service	15-8

15.1.4.2 Response to Invalid Move-In Request	15-9

15.1.4.3 Notification to TDSP of Move-In	15-9

15.1.4.4 Response to Registration Notification Request from TDSP (Move-In)	15-10

15.1.4.5 Response to Valid Move-In Request	15-12

15.1.4.5.1 Maintain ESI ID with Meter Level Information Request/Response	15-12

15.1.4.6 Notification to Current CR	15-13

15.1.4.6.1 Completed Unexecutable	15-13

15.1.4.7 Completion of Move-In Request and Effective Move-In Date	15-13

15.1.4.7.1 Standard Move-In Requests	15-14

15.1.4.7.2 Priority Move-In Requests	15-14

15.1.4.8 Rejection of Move-In Request	15-15

15.1.5	Service Termination (Move-Out)	15-15

15.1.5.1 Request to Terminate Service	15-15

15.1.5.2 Response to Invalid Move-Out Request	15-16

15.1.5.3 Notification to TDSP of Move-Out	15-16

15.1.5.4 Response to Registration Notification Request/Service Termination from TDSP	15-16

15.1.5.5 Response to Valid Move-Out Request and Continuous Service Agreement in Effect	15-18

15.1.5.6 Completion of Move-Out Request and Effective Move-Out Date	15-19

15.1.5.7 Rejection of Move-Out Request	15-19

15.1.6	Concurrent Processing	15-20

15.1.6.1 Move-In Date Prior to or After Move-Out Date	15-20

15.1.6.2 Move-In Date Equal to Move-Out Date	15-20

15.1.6.3 Move-In Date Prior to or Equal to Switch Date	15-21

15.1.6.4 Move-In Date After Switch Date	15-21

15.1.6.5 Move-In Date After Mass Transition Drop Date	15-21

15.1.6.6 Move-Out Date Prior to or Equal to Switch Date	15-21

15.1.6.7 Move-Out Date After Switch Date	15-21

15.1.6.8 Move-Out Date After Mass Transition Drop Date	15-22

15.1.6.9 Multiple Switches	15-22

15.1.6.10 Multiple Move-Ins	15-22

15.1.6.11 Multiple Move-Outs	15-22

15.1.7	Move-In or Move-Out Date Change	15-23

15.1.8	Cancellation of Registration Transactions	15-23

15.1.9	Continuous Service Agreement (CSA) CR Processing	15-24

15.1.9.1 Request to Initiate CSA	15-24

15.1.9.2 Request to Terminate CSA	15-24

15.1.9.3 Notice to CSA Competitive Retailer of Enrollment Due to a Move-Out	15-24

15.1.9.4 Notice to CSA Competitive Retailer of Drop Due to a Move-In	15-25

15.1.10	Continuous Service Agreement (CSA) CR Processing in MOU/EC Service Territory	15-25

15.1.10.1 Request to Initiate CSA	15-25

15.1.10.2 Request to Terminate CSA	15-26

15.1.10.3 Notice to CSA Competitive Retailer of Enrollment Due to a Move-Out	15-26

15.1.10.4 Notice to CSA Competitive Retailer of Drop Due to a Move-In	15-26

15.2	Database Queries	15-27

15.2.1	Find ESI ID Function on the Market Information System	15-27

15.2.2	Find Transaction Function on the Market Information System	15-27

15.2.3	ESI ID Extract on the Market Information System	15-28

15.3	Monthly Meter Reads	15-28

15.4	Electric Service Identifier (ESI ID)	15-29

15.4.1	ESI ID Format	15-29

15.4.1.1 Assignment of ESI IDs to Unmetered Service Delivery Points	15-29

15.4.1.2 Assignment of ESI IDs to metered Service Delivery Points	15-30

15.4.1.3 Splitting a Service Delivery Point into Multiple ESI IDs	15-30

15.4.1.4 New ESI ID Creation	15-30

15.4.1.5 ESI ID Maintenance	15-31

16	REGISTRATION AND QUALIFICATION OF MARKET PARTICIPANTS	16-1

16.1	Qualification, Registration, and Execution of Agreements	16-1

16.1.1	Re-Registration as a Market Participant	16-1

16.2	Registration and Qualification of Qualified Scheduling Entities	16-1

16.2.1	Criteria for Qualification as a Qualified Scheduling Entity	16-1

16.2.2	QSE Application Process	16-3

16.2.2.1	Notice of Receipt of Qualified Scheduling Entity Application	16-3

16.2.2.2	Incomplete Applications	16-4

16.2.2.3	ERCOT Approval or Rejection of Qualified Scheduling Entity Application	16-4

16.2.3	Remaining Steps for Qualified Scheduling Entity Registration	16-5

16.2.3.1	Qualified Scheduling Entity Service Filing	16-5

16.2.3.2	Process to Gain Approval to Follow DSR Load	16-6

16.2.3.3	Maintaining and Updating QSE Information	16-6

16.2.3.4	Qualified Scheduling Entity Service Termination	16-6

16.2.4	Posting of Qualified Scheduling Entity List	16-7

16.2.5	Suspended Qualified Scheduling Entity – Notification to LSEs and Resource Entities Represented	16-7

16.2.6	Emergency Qualified Scheduling Entity	16-7

16.2.6.1	Designation as an Emergency Qualified Scheduling Entity or Virtual Qualified Scheduling Entity	16-7

16.2.6.2	Market Participation by an Emergency Qualified Scheduling Entity or a Virtual Qualified Scheduling Entity	16-9

16.2.6.3	Requirement to Obtain New Qualified Scheduling Entity or Qualified Scheduling Entity Qualification	16-9

16.2.7	Acceleration	16-10

16.3	Registration of Load Serving Entities	16-10

16.3.1	Technical and Managerial Requirements for LSE Applicants	16-10

16.3.1.1	Designation of a Qualified Scheduling Entity	16-11

16.3.2	Registration Process for Load Serving Entities	16-11

16.3.2.1	Notice of Receipt of Load Serving Entity Application	16-11

16.3.2.2	Incomplete Load Serving Entity Applications	16-11

16.3.2.3	ERCOT Approval or Rejection of Load Serving Entity Application	16-12

16.3.3 	Changing QSE Designation	16-12

16.3.4	Maintaining and Updating LSE Information	16-13

16.3.5	Load Serving Entities Outside of ERCOT	16-13

16.4	Registration of ERCOT and Non-ERCOT Transmission and Distribution Service Providers	16-13

16.5	Registration of a Resource Entity	16-14

16.5.1	Technical and Managerial Requirements for Resource Entity Applicants	16-14

16.5.1.1	Designation of a Qualified Scheduling Entity	16-15

16.5.1.2	Waiver for Federal Hydroelectric Facilities	16-15

16.5.1.3	Waiver for Block Load Transfer Resources	16-15

16.5.2	Registration Process for a Resource Entity	16-16

16.5.2.1	Notice of Receipt of Resource Entity Application	16-16

16.5.2.2	Incomplete Resource Entity Applications	16-16

16.5.3	Changing QSE Designation	16-17

16.5.4	Maintaining and Updating Resource Entity Information	16-18

16.6	Registration of Municipally Owned Utilities and Electric Cooperatives in the ERCOT Region	16-18

16.7	Registration of Renewable Energy Credit Account Holders	16-18

16.8	Registration and Qualification of Congestion Revenue Rights Account Holders	16-19

16.8.1	Criteria for Qualification as a CRR Account Holder	16-19

16.8.2	CRR Account Holder Application Process	16-20

16.8.2.1	Notice of Receipt of CRR Account Holder Application	16-20

16.8.2.2	Incomplete Applications	16-20

16.8.2.3	ERCOT Approval or Rejection of CRR Account Holder Application	16-21

16.8.3	Remaining Steps for CRR Account Holder Registration	16-21

16.8.3.1	Maintaining and Updating CRR Account Holder Information	16-22

16.9	Resources Providing Reliability Must-Run Service	16-22

16.10	Resources Providing Black Start Service	16-22

16.11	Financial Security for Counter-Parties	16-22

16.11.1	ERCOT Creditworthiness Requirements for Counter-Parties	16-22

16.11.2	Requirements for Setting a Counter-Party’s Unsecured Credit Limit	16-23

16.11.3	Alternative Means of Satisfying ERCOT Creditworthiness Requirements	16-24

16.11.4	Determination and Monitoring of Counter-Party Credit Exposure	16-24

16.11.4.1 Determination of Total Potential Exposure for a Counter-Party	16-24

16.11.4.2 Determination of Counter-Party Initial Estimated Liability	16-25

16.11.4.3 Determination of Counter-Party Estimated Aggregate Liability	16-27

16.11.4.4 Determination of Counter-Party Aggregate Incremental Liability	16-28

16.11.4.5 Determination of the Counter-Party Future Credit Exposure	16-29

16.11.4.6 Determination of Counter-Party Available Credit Limit	16-33

16.11.4.6.1 Credit Requirements for CRR Auction Participation	16-34

16.11.4.6.2 Credit Requirements for DAM Participation	16-34

16.11.4.7 Credit Monitoring and Management Reports	16-34

16.11.5	Monitoring of a Counter-Party’s Creditworthiness and Credit Exposure by ERCOT	16-35

16.11.6	Payment Breach and Late Payments by Market Participants	16-37

16.11.6.1 ERCOT’s Remedies	16-38

16.11.6.1.1 No Payments by ERCOT to Market Participant	16-38

16.11.6.1.2 ERCOT May Draw On, Hold or Distribute Funds	16-39

16.11.6.1.3 Aggregate Amount Owed by Breaching Market Participant

Immediately Due	16-39

16.11.6.1.4 Repossession of CRRs by ERCOT	16-39

16.11.6.1.5 Declaration of Forfeit of CRRs	16-39

16.11.6.1.6 Revocation of a Market Participant’s Rights and Termination

of Agreements	16-40

16.11.6.2 ERCOT’s Remedies for Late Payments by a Market Participant	16-40

16.11.6.2.1 First Late Payment in Any Rolling 12-Month Period	16-41

16.11.6.2.2 Second Late Payment in Any Rolling 12-Month Period	16-41

16.11.6.2.3 Third Late Payment in Any Rolling 12-Month Period	16-41

16.11.6.2.4 Fourth and All Subsequent Late Payments in Any Rolling

12-Month Period	16-42

16.11.6.2.5 Level I Enforcement	16-42

16.11.6.2.6 Level II Enforcement	16-42

16.11.6.2.7 Level III Enforcement	16-43

16.11.7	Release of Market Participant’s Financial Security Requirement	16-43

16.11.8	Acceleration	16-43

16.12	User Security Administrator and Digital Certificates	16-43

16.12.1	USA Responsibilities and Qualifications for Digital Certificate Holders	16-44

16.12.2	Requirements for Use of Digital Certificates	16-46

16.12.3	Market Participant Audits of User Security Administrators and Digital Certificates	16-47

16.13	Registration of Emergency Interruptible Load Service (EILS)	16-49

16.14	Termination of Access Privileges to Restricted Computer Systems and Control Systems	16-49

16.15	Registration of Independent Market Information System Registered Entity	16-50

17	MARKET MONITORING AND DATA COLLECTION	17-1

17.1	Overview	17-1

17.2	Objectives and Scope of Market Monitoring Data Collection	17-1

17.3	Market Data Collection and Use	17-1

17.3.1 Information System Data Collection and Retention	17-1

17.3.2 Data Categories and Handling Procedures	17-2

17.3.3 Accuracy of Data Collection	17-2

17.3.4 PUCT Staff and IMM Review of Data Collection	17-2

17.3.5 Data Retention	17-2

17.4	Provision of Data to Individual Market Participants	17-3

17.5	Reports to PUCT Staff, IMM, and the FERC	17-3

17.6	Changes to Facilitate Market Operation	17-3

18	Load Profiling	18-1

18.1	Overview	1

18.2	Methodology	1

18.2.1	Guidelines for Development of Load Profiles	2

18.2.2	Load Profiles for Non-Interval Metered Loads	2

18.2.2.1	Load Profiles for Non-Interval Metered Loads Without Distributed Generation	2

18.2.2.2	Load Profiles for Non-Interval Metered Loads With Distributed Generation	2

18.2.3	Load Profiles for Non-Metered Loads	3

18.2.4	Generic Load Profiles for Interval Data Recorders	3

18.2.5	Identification of Weather Zones and Load Profile Types	3

18.2.6	Daily Profile Creation Process	3

18.2.7	Maintenance of Samples and Load Profile Models	3

18.2.7.1	Sample Maintenance	3

18.2.7.2	Model Maintenance	4

18.2.8	Adjustments and Changes to Load Profile Development	4

18.2.9	Special Requirement for Profiling Sample Points	5

18.2.10	Responsibilities for Sampling in Support of Load Profiling	5

18.2.10.1 ERCOT Sampling Responsibilities	5

18.2.10.2 Transmission Service Provider and/or Distribution Service Provider

Sampling Responsibilities	5

18.3	Posting	6

18.3.1	Methodology Information	6

18.3.2	Load Profiling Models	6

18.3.3	Load Profiles	7

18.4	Assignment of Load Profile ID	7

18.4.1	Development of Load Profile ID Assignment Table	7

18.4.2	Load Profile ID Assignment	7

18.4.3	Validation of Load Profile Type and Weather Zone Assignments	8

18.4.3.1	Validation Tests	8

18.4.3.2	Correction Procedure	9

18.4.4	Assignment of Weather Zones to Electric Service Identifiers	9

18.5	Additional Responsibilities	9

18.5.1	ERCOT Responsibilities	9

18.5.2	Transmission Service Provider and/or Distribution Service Provider Responsibilities	9

18.5.3	Competitive Retailer Responsibilities	9

18.6	Installation and Use of Interval Data Recorder Meters	10

18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements	10

18.6.2	Interval Data Recorder Administration Issues	11

18.6.2	Interval Data Recorder Administration Issues	11

18.6.3	Adherence to Interval Data Recorder Requirements	11

18.6.4	Technical Requirements	12

18.6.5	Peak Demand Determination for Non-Interval Data Recorder Premises	12

18.6.6	Interval Data Recorder Meter Optional Removal	12

18.7	Supplemental Load Profiling	13

18.7.1	Load Profiling of Time of Use Metered Electric Service Identifier	13

18.7.1.1	Overview	13

18.7.1.2	Methodology for Load Profiling of Time Of Use	13

18.7.1.3	Collection of Time Of Use Meter Data	14

18.7.1.4	Availability of Time Of Use Schedules	14

18.7.1.5	Post Market Evaluation	14

18.7.2	Other Load Profiling	15

19	Texas Standard Electronic Transaction	19-1

19.1	Overview	1

19.2	Methodology	1

19.3	Texas Standard Electronic Transaction Definitions	2

19.3.1	Defined Texas Standard Electronic Transactions	2

19.3.2	Additional SET Transactions	14

19.4	Texas Standard Electronic Transaction Change Control Documentation	14

19.4.1	Technical Advisory Committee Subcommittee Responsibilities	14

19.4.2	ERCOT Responsibilities	14

19.4.3	Dispute Process	15

19.4.4	Change Control Process	15

19.4.5	Responsibilities of Appropriate TAC Subcommittee	15

19.4.6	Submission of Proposed Changes	15

19.4.7	Priority Classifications of Standard Electronic Transaction Changes	15

19.4.7.1	Emergency Change Request	16

19.4.7.2	Non-Emergency Change Request	16

19.5	Texas Standard Electronic Transactions Acceptable Extended Character Set	16

19.5.1	Alphanumeric Field(s)	16

19.6	Texas Standard Electronic Transaction Envelope Standards	16

19.6.1	ERCOT Validation	16

19.7	Advanced Meter Interval Data Format and Submission	16

19.8	Retail Market Testing	17

20	Alternative Dispute Resolution Procedure	20-1

20.1	Applicability	1

20.2	Initiation and Pursuit of ADR Process	2

20.2.1	Requirement for Written Request	2

20.2.2	Deadline for Initiating ADR Procedure	3

20.2.3	Failure to Pursue ADR Procedure	4

20.3	Alternative Dispute Resolution Process	4

20.4	Mediation Procedures	5

20.5	Arbitration Procedures	5

20.5.1	Initiation of Arbitration	5

20.5.2	Selection of Arbitrators	6

20.5.3	Intervention	7

20.5.4	Conduct of Arbitration	7

20.5.5	Arbitration Decisions	8

20.5.6	Appeal of Arbitration Decision	8

20.6	Dispute Resolution Costs	9

20.7	Requests for Data	9

20.8	Resolution of Disputes and Notification to Market Participants	10

20.9	Settlement of Approved Alternative Dispute Resolution Claims	10

20.9.1	Adjustments Based on Alternative Dispute  Resolution	10

20.9.2	Charges for Approved ADR Claim	11

21	Process for Nodal Protocol Revision	21-1

21.1	Introduction	21-1

21.2	Submission of a Nodal Protocol Revision Request	21-2

21.3	Protocol Revision Subcommittee	21-2

21.4	Nodal Protocol Revision Procedure	21-3

21.4.1	Review and Posting of Nodal Protocol Revision Requests	21-3

21.4.2	Withdrawal of a Nodal Protocol Revision Request	21-3

21.4.3	Protocol Revision Subcommittee Review and Action	21-4

21.4.4	Comments to the Protocol Revision Subcommittee Report	21-5

21.4.5	Nodal Protocol Revision Request Impact Analysis	21-5

21.4.6	Protocol Revision Subcommittee Review of Impact Analysis	21-6

21.4.7	Technical Advisory Committee Vote	21-6

21.4.8	ERCOT Impact Analysis Based on Technical Advisory Committee Report	21-8

21.4.9	ERCOT Board Vote	21-8

21.4.10	Appeal of Action	21-9

21.4.10.1 Appeal of Protocol Revision Subcommittee Action	21-9

21.4.10.2 Appeal of Technical Advisory Committee Action	21-9

21.4.10.3 Appeal of ERCOT Board Action	21-10

21.5	Urgent Nodal Protocol Revision Requests	21-10

21.6	Nodal Protocol Revision Implementation	21-11

21.7	Submission of a System Change Request	21-11

21.8	System Change Request Procedure	21-12

21.8.1	Review and Posting of System Change Requests	21-12

21.8.2	Withdrawal of a System Change Request	21-13

21.8.3	Assigned Technical Advisory Committee Subcommittee Review and Action	21-13

21.8.4	Comments to the Assigned Technical Advisory Committee Subcommittee Report	21-14

21.8.5	System Change Request Impact Analysis	21-15

21.8.6	Assigned Technical Advisory Committee Subcommittee Review of System Change Request Impact Analysis	21-15

21.8.7	Technical Advisory Committee Vote	21-16

21.8.8	ERCOT Impact Analysis Based on Technical Advisory Committee Report	21-18

21.8.9	ERCOT Board Vote	21-18

21.8.10	Posting of ERCOT Board Action	21-19

21.8.11	Appeal of Action	21-19

21.8.11.1 Appeal of Assigned Technical Advisory Committee Subcommittee Action	21-19

21.8.11.2 Appeal of Technical Advisory Committee Action	21-19

21.8.11.3 Appeal of ERCOT Board Action	21-19

21.8.12	Urgent System Change Requests	21-20

21.9	Review of Project Prioritization, Review of Unfunded Project List, and Annual Budget
Process	21-20

21.10	Review of Guide Changes	21-22

22	Attachments

Standard Form Market Participant Agreement	22(A)

Standard Form Reliability Must-Run Agreement	22(B)

Amendment to Standard Form Market Participant Agreement	22(C)

Standard Form Black Start Agreement	22(D)

Notification of Suspension of Operations	22(E)

Standard Form Synchronous Condenser Agreement	22(F)

Standard Form Emergency Interruptible Load Service (EILS) Agreement	22(G)

Notification of Change of Generation Resource Designation	22(H)

23	Intentionally Left Blank 	23-1

24	Retail Point to Point Communications	24-1

24.1	Maintenance Service Order Request	24-1

24.1.1	Disconnect/Reconnect	24-1

24.1.2	Suspension of Delivery Service	24-1

24.1.2.1 Notification	24-1

24.1.2.2 Cancellation	24-2

24.2 	Transmission and/or Distribution Service Provider to Competitive Retailer Invoice	24-2

24.3	Monthly Remittance	24-3

24.3.1	CR to TDSP Monthly Remittance Advice	24-3

24.3.1.1 Remittance Advice Total Matches Payment Total	24-3

24.3.1.2 Negative Remittance Advice	24-4

24.3.1.3 Acceptable Payment Methods	24-4

24.3.1.4 Warehousing an 820 Remittance Advice	24-4

24.4	MOU/EC TDSP to CR Monthly Remittance Advice	24-4

24.4.1	Timing 820 Remittance to CR	24-5

24.4.2	Remittance Advice Total Matches Payment Total	24-5

24.4.3	Negative Remittance Advice	24-5

24.4.4	Acceptable Payment Methods	24-5

24.4.5	Warehousing an 820 Remittance Advice	24-5

24.5	Maintain Customer Information Request	24-6

24.5.1	Timing of 814_PC Maintain Customer Information Request from CR	24-6

24.6	MOU/EC TDSP to CR Maintain Customer Information Request	24-6

24.6.1	Timing of 814_PC Maintain Customer Information Request from MOU/EC TDSP	24-6