## Differences
| Elements Defined in NOGRR084 | Elements Proposed | Format
Load |  | Actual | Graphical
|  | DA Forecast | Graphical
|  | 3-Hour Ahead Forecast | Graphical
| Peak hour | Peak Demand Hour | Numeric
DA Forecast Peak Load
DA Forecast Peak Hour
|  | Peak Demand (Hourly) | Numeric
| Peak Load | Peak Demand (Inst) | Numeric
Weather |  | Previous Day Forecasted Temperatures | Numeric
|  | Previous Day Actual Temperatures | Numeric
Generation |  | Energy (by fuel type, stacked area) | Graphical
|  | PRC (line graph generation plus PRC) | Graphical
|  | Spinning Reserves (line graph of Committed HSL) | Graphical
|  | New Unit Sync (if name is confid, then MW, Fuel type) | Text
Renewables |  | Actual Wind Production | Graphical
|  | DA Wind Forecast | Graphical
|  | 3-Hour Ahead Wind Forecast | Graphical
|  | Actual Solar Production | Graphical
|  | DA Solar Forecast | Graphical
|  | 3-Hour Ahead Solar Forecast | Graphical
Outages (Gen) |  | Planned Gen Outages MW | Graphical
|  | Forced Gen Outages MW | Graphical
Unit Commitment | RUC Intervals Commit/Decommit | RUC (MW, Area and Reason) | Text
| RMR Committed intervals | RMR Commitment (Unit Name, MW, Reason) | Text
|  | VDI (MW, Reason) | Text
| # Resources with manual HSL/LDL manual overrides List of the constraints which were the cause of the override | Manual Overrides (MW, Area and Reason) | Text
Ancillary Services |  | Procured (MW by type by hour) | Graphical
| MW, time, duration for RRS deployment by Gen & CLR MW, time, duration for NSRS deployment by On- & Off-line | Deployment (MW by type by hour) | Graphical
| VDI deployment of RRS | VDI | Text
|  | SASMs | Text
Transmission |  | Active Constraints | Text
|  | Constraints Exceeding threshold% of Limit for > 15 Mins | Text
|  | CMPs developed in or near RT | Text
|  | Major Forced Transmission Outages | Text
| SCED intervals at Shadow Price cap and constraint associated with each | Constraints Violated in SCED (Constr ID, max sp, total amt of time violated each day for the last 4 days, total amt of time violated in last 30 days) | Text
|  | Consistently Irresolvable SCED Constraints (Constr ID, max sp) | Text
Applications |  | Issues | Text
Unusual Events | Emergency Condition Notifications | Energy Emergency Alerts (Level) | Text
|  | Resources Deployed | Text
|  | Times & Duration of event | Text
| Frequency Deviation event>= 0.10 Hz Time, total load, Gen/Load contributing to event | Frequency Events (MW Tripped) | Text
| Approximate lowest frequency. | Lowest Frequency | Text
|  | Recovery Time to 60Hz | Text
|  | Transmission Emergencies | Text
|  | Location | Text
|  | Constraint | Text
|  | Action Taken | Text
Operating Notices |  | List | Text
Other | SCED offset: SCED timestamp, offset timestamp and amount of offset