## Slide 1: Phasor Measurement Task Force Update
Kris Koellner, PE
LCRA Transmission Services

## Slide 2: Topics
Background
Group Activities
Key Deliverables
Top Three Use Cases
Draft Language
Next Steps

## Slide 3: Background
PMTF formed per ROS request
Charter approved September 2013
  “The purpose of the PMTF is to formalize a framework of requirements and criteria associated with the provision of synchrophasor data to ERCOT through the initiation of appropriate Protocol and Guide changes after consideration of the capabilities of the technology, the expected and required uses of the data, and the relevant policy considerations.”
Kick-off meeting held November 2013
  Included representation from ERCOT, CCET, and NASPI
Monthly meetings held throughout 2014
Email list includes 51 subscribers

## Slide 4: Group Activities
Monthly meetings focused on:
  Discussion of technology
  Understanding needs within ERCOT
  Potential policy and language
  Necessary deliverables
Guest speakers from:
  January Baylor – Dr. Mack Grady
  February SEL – David Costello
  March EPG – Ken Martin
  May RPI – Dr. Joe Chow
  July EPG – Prashant Palayam
  August BPA – Dmitry Kosterev, PNNL – Dr. Pavel Etingov, MathWorks – Shripad Chandrachood
September RTDMS training – over 70 attendees

## Slide 5: Key Deliverables
ERCOT Synchrophasor Technology Assessment
  Addresses the nine major questions posed to the PMTF by ROS, plus two other related topics
  Includes an overall summary of key recommendations
ERCOT Synchrophasor Communication Handbook
  Provides guidance for connecting new PMUs to ERCOT’s network
Draft Nodal Operating Guide Section 6 language
  Recommends language to formalize the placement and usage of PMUs within ERCOT.

## Slide 6: Synchrophasor Technology Assessment
How will synchrophasor data be used in ERCOT (real-time monitoring, unit model validation, etc.)? What are the current and planned uses by ERCOT? What are current and planned uses by TSPs and generators?
What kinds of locations of PMUs are needed to meet this use(s)? How will these locations be determined?
What are the data latency and quality requirements and other specifications, in order to meet the intended uses? Should these vary depending on the kind of PMU location?
Who should install and own the PMUs? Who should be responsible for the communications from the PMUs?
How should synchrophasor data be treated in terms of confidentiality?
What reporting should be established for synchrophasor data? ROS/DWG/SPWG/PDCWG etc.
What data retention should be established for synchrophasor data?
What are the CIP implications/requirements for the use of this data?
What is the application of synchrophasor data in the area of Ancillary Services?
Impact of related NERC Reliability Standards and FERC rulings on synchrophasor data usage in ERCOT
Review of other Interconnections’ efforts in this area.

## Slide 7: Key “Use Cases” for ERCOT
Oscillation detection and alarming
  Generator or Flexible AC Transmission System (FACTS) device
  Adds functionality not provided by SCADA or State Estimator
  Addresses Reliability Coordinator (RC) visibility for localized and Inter-area oscillations
Generator model validation
  Supports MOD-026-1 Exciter model verification
  Supports MOD-027-1 Turbine/governor model verification
  Addresses requirements for TPs and GOs
Post-disturbance analysis and reporting
  Supports (future) PRC-002-2 Disturbance monitoring and reporting requirements
  Applies to TOs, GOs, ERCOT

## Slide 8: Top Three Use Cases
These applications have been chosen based on:
  overall potential to improve system reliability,
  overall potential to improve system model validation, and
  compliance with present or future NERC requirements.
Above and beyond these three primary applications, the CCET Synchrophasor project group has identified a more complete set of eleven use cases.
PMU installations and synchrophasor measurement system architecture additions to support the three primary cases may also provide benefits among the broader set of use cases.

## Slide 9: Oscillation detection and alarming
Unable to detect via standard SCADA & EMS systems
ERCOT examples:
  Wind farm – January 10, 2014
  Hydro unit – February 8, 2014
Able to characterize oscillation in terms of:
  Frequency
  Energy
  Damping
  Approximate location
PMU data allows timely operator response

## Slide 10: Generator Model Validation
Focus of August meeting
Supports NERC MOD requirements
PMU data captured during event allows model validation
(taken from Dmitry’s presentation)

## Slide 11: Post-disturbance Analysis & Reporting
Focus of July meeting
Provides wide-area visibility of events
Aligns with upcoming NERC PRC-002 requirements
Notes: Post-Event Analysis of a Compound Event in the ERCOT System using Synchrophasor Data
Sidharth Rajagopalan, Bill Blevins
Operations Planning
ERCOT
Sarma Nuthalapati, Tim Mortensen
Grid Applications Support
ERCOT
2014 CIGRE Grid of the Future Symposium, Houston, Texas

## Slide 12: Select Additional Use Cases
Real-time operations applications
  Integration of PMU data into State Estimator
  PMU-based fault location
  Black start path visibility
  Phase angle monitoring across an open tie line
Planning and off-line applications
  Transmission line parameter derivation
  Load parameter determination
NASPI list of “Actual and Potential Phasor Data Applications”
NERC report: “Real-Time Application of Synchrophasors for Improving Reliability”

## Slide 13: Draft Nodal Operating Guide Section 6 language
Outlines key requirements to support the three main use cases:
  Recording/sampling rate and data format
  Placement within the ERCOT electric system
  Data channels and redundancy
  Data retention and reporting
Vetted by PMTF, consensus recommendation
Addresses transmission and generation

## Slide 14: Next Steps
Review Final Report for completeness
  Review Summary of Key Recommendations
    Including ownership of open/future tasks
Review draft Nodal Operating Guide Section 6 language
  Clarify direction for PMTF
    Revise further?
    Develop as NOGRR?
PMTF status

## Slide 15: Thank-you for your time!
For more info:
https://www.naspi.org/
http://www.ercot.com/committees/board/tac/ros/pmtf/index.html