## Slide 1
ERCOT Compliance update to ROS
Underfrequency-Load Shed survey update
NERC TPL-001-004
October 30, 2014
Notes: <number>

## Slide 2: Completion of UFLS Survey Requirement
ERCOT coordinated and conducted an annual survey on May 13, 2014 with the TSPs and DSPs to ensure that the required automatic under-frequency load shed circuits were configured to provide the appropriate load relief in an under-frequency event as required by table below from Operating Guides 2.6.1(1) Requirements for Under-Frequency Load Shedding:
The results of the requirement were successful and are reflected below:
Detailed timeline
04/23/2014 - ERCOT announcement of survey timeline and effort to OWG
04/10/2014 - ERCOT email notification sent by Client Services to TSP/DSP Authorized Representatives
05/13/2014 - Survey test day
06/13/2014 - Survey results due back to ERCOT
September/October- Results compiled and being reported to OWG/ROS/TAC

## Slide 3: NERC TPL-001-004 implementation Jan 1, 2015
As discussed at Sept. 4 ROS meeting:
  Jan 1, 2015 NERC TPL changes impact Transmission Planners and Planning Coordinator (ERCOT)
    Requirements modify methodology for Planning Models, Steady-State Planning Analysis, Dynamic Planning Analysis, as well as introducing Short-Circuit Analysis, extended Outage impacts, and Spare equipment analysis
  As the Planning Coordinator, ERCOT requested support of ROS to work with the individual working groups on the necessary coordination of guide revisions to achieve readiness in the November 2014 timeframe.
Status as of October 28
  TPs and ERCOT have agreed on details of responsibilities for standard
  TPs and ERCOT drafting agreement to document responsibilities (satisfy Rqt 7)
  Stakeholders adapting procedures to NERC requirements at SSWG/DWG/SPWG
    SSWG leadership has completed procedure changes for approval today
    DWG leadership has completed procedures changes for approval today
    SPWG procedure changes being drafted in November