## Slide 1: PDCWG Report to ROS
Sydney Niemeyer Chair
NRG Energy
Don Blackburn Vice Chair
Luminant Energy
October 30, 2014

## Slide 2: PDCWG Meeting October 7
Reviewed frequency control performance.
  Reviewed CPS, RMS, Profile and GREDP performance.
ERCOT presented Plant Weatherization update and introduction of Weatherization Forum.
Reviewed Time Error Corrections.
  TRE presented data correlating Time Error accumulations with Generator Deviation.
    Generator deviations slightly larger during load increases vs load decreases resulting in a slow accumulation of negative time error.

## Slide 3: PDCWG Meeting continued
BAL-001-TRE-1 Implementation. ERCOT requesting Throttle Pressure Curve data and Limiting factor K from steam turbine generators (non-combined cycle). Reviewed Form entry and derivation of K.
Reviewed the September 11th 06:41 and 07:32 frequency events.
  06:41 event Generators with less than expected performance:
    5 RRS providers
    7 non RRS providers.
  07:32 event Generators with less than expected performance:
    6 RRS providers
    5 non RRS provides.

## Slide 4: Future Meeting Dates
November 11, 2014
December 15, 2014 (moved from Dec 2)
  All meetings at the Met Center.