DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Monday, October 6, 2014 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| Carpenter, Jeremy | Tenaska Power Services | Alt. Rep. for S. Helyer |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Greer, Clayton | Morgan Stanley |  |
| Grimes, Mike | EDP Renewables | Alt. Rep. for S. Weiss |
| Hatfield, Bill | LCRA |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Kolb, Lloyd | Golden Spread Electric Cooperative | Via Teleconference |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Vo, Trieu | CPS Enery |  |

The following proxy was assigned:

- James Armke to Trieu Vo

Guests:

| Ainspan, Malcolm | ECS Grid | Via Teleconference |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Brandt, Andrianne | Austin Energy |  |
| Brown, Jeff | Shell | Via Teleconference |
| Bryant, Mark | PUCT | Via Teleconference |
| Bunch, Kevin | EDF Trading |  |
| Chessmore, Carol | Oncor | Via Teleconference |
| Chhajed, Pushkar | Luminant | Via Teleconference |
| Clemenhagen, Barbara | CES | Via Teleconference |
| Coleman, Diana | PUCT | Via Teleconference |
| Coleman, Katie | TIEC |  |
| Crosby, Bryan | Alpha Inception | Via Teleconference |
| Cruz-Montes, Michael | CenterPoint Energy | Via Teleconference |
| Donohoo, Ken | Oncor | Via Teleconference |
| English, Rock | Luminant | Via Teleconference |
| Garza, Beth | Potomac Economics | Via Teleconference |
| Giffin, Blair | Lone Star Transmission | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gregory, Angela | EDF Trading | Via Teleconference |
| Haney, Kara | Champion Energy Services | Via Teleconference |
| Harvey, Julia | PUCT | Via Teleconference |
| Havemann, Steve | Austin Energy |  |
| Hellinghausen, Bill | EDF | Via Teleconference |
| Hughes, Lindsey | Competitive Power | Via Teleconference |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos Electric | Via Teleconference |
| Lane, Rob | Luminant |  |
| Laughlin, Ken | Tres Amigas | Via Teleconference |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Mattei, Andrew | Brazos Electric | Via Teleconference |
| McClellan, Suzi | Good Company | Via Teleconference |
| Micek, Kassia | Platts | Via Teleconference |
| Morris, Sandy | Direct Energy |  |
| Mottin, Suzanne | Occidental | Via Teleconference |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| O’Grady, Eileen | Argus Media | Via Teleconference |
| Penny, David | Texas Reliability Entity |  |
| Pieniazek, Adrian | NRG Energy |  |
| Priestley, Vanus | Macquarie | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Hunt Power | Via Teleconference |
| Shaw, Pamela | CES |  |
| Siddiqi, Shams | Crescent Power |  |
| Sills, Kevin | Oncor | Via Teleconference |
| Soutter, Mark | Invenergy |  |
| Stanfield, Leonard | CPS Energy | Via Teleconference |
| Teng, Shuye | Austin Energy | Via Teleconference |
| Trefny, Floyd |  | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Wagner, Marguerite | BETM |  |
| Walker, DeAnn | CenterPoint Energy |  |
| White, Lauri | AEP |  |
| Williams, Lori | BTU | Via Teleconference |
| Wittmeyer, Bob | DME |  |
| Woodruff, Taylor | Oncor | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Blackmer, Kelly |  |  |
| Chatlani, Varsha |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Garcia, Freddy |  | Via Teleconference |
| Gilbertson, Jeff |  | Via Teleconference |
| Gonzalez, Ino |  | Via Teleconference |
| Hailu, Ted |  |  |
| Hanson, Kevin |  | Via Teleconference |
| House, Donald |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landry, Kelly |  |  |
| Mago, Nitika |  | Via Teleconference |
| Manning, Brian |  |  |
| Matevosyan, Julia |  | Via Teleconference |
| Morehead, Julianna |  | Via Teleconference |
| Patterson, Mark |  | Via Teleconference |
| Peters, Patrick |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Ruane, Mark |  | Via Teleconference |
| Springer, Agee |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| Thompson, David |  | Via Teleconference |
| Wattles, Paul |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote. Bill Hatfield called the October 6, 2014 ROS meeting to order at 9:10 a.m. Antitrust Admonition Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Agenda Review There were no changes to the agenda. ERCOT Reports to ROS – Questions Only (see Key Documents) There were no questions regarding the ERCOT Reports. ROS Working Group/Task Force Reports – Questions Only (see Key Documents) Brad Schwarz requested that comments to the Planning Working Group (PLWG) white paper regarding model differences between the Capacity, Demand, Reserves (CDR) Report and Planning Studies be sent to PLWG in time for review at the October 22, 2014 PLWG meeting. There was no additional discussion regarding the ROS working group and task force reports.

ROS Voting Items (see Key Documents) September 4, 2014 ROS Meeting Minutes This item was postponed to the October 30, 2014 ROS meeting. Planning Guide Revision Request (PGRR039), Generation Data for Resource Adequacy and Reliability Reporting Mr. Schwarz presented PGRR039 for ROS consideration. Market Participants requested additional time to submit comments to PGRR039. Dennis Kunkel moved to table PGRR039 for one month. Rick Keetch seconded the motion. The motion carried unanimously. Nodal Operating Guide Revision Request (NOGRR) 132, Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration Ebby John asked for clarification as to the type of Load systems included in the Under-Voltage Load Shedding (UVLS) definition, and expressed concern for compliance issues regarding the term “coordinated.” Some Market Participants echoed Mr. John’s concern and requested additional time to clarify language in NOGRR132. Randy Jones moved to table NOGRR132. Mr. John seconded the motion. The motion carried unanimously. Operations Trainers Working Group (OTWG) – Scope Kelly Blackmer presented the OTWG scope and reminded Market Participants that the OTWG would address all operations- and system-related training. It was clarified that training related to market issues would continue to be addressed by separate group. Randy Ryno moved to approve the OTWG scope. Mr. R. Jones seconded the motion. The motion carried unanimously. 2015 Ancillary Service Methodology Dan Woodfin reviewed the current Ancillary Services Methodology and presented proposed revisions to 2015 Ancillary Service Methodology, emphasizing Option 2. Market Participants suggested revisions to ERCOT’s proposal Mr. R. Jones moved to endorse the 2015 Ancillary Services Methodology with: - Option 2 as presented by ERCOT, - Using 20% adjustment factor, - Do not transfer any of calculated NSRS amount to RRS, - Revisit the NSRS procurement methodology; - Amounts published annually are fixed amounts, not advisory, - Amounts are calculated using 70th percentile of cases in each particular bin, - Load Resources remain limited to providing a maximum of 50% of RRS, - Make changes to Regulation as recommended by ERCOT, - Effective date of RRS and Non-Spin changes to be effective June 1, 2015: - Regulation change to be effective January 1, 2015 but remainder of 2014 AS Methodology remains in effect until June 1, 2015. Clayton Greer seconded the motion. It was noted that ROS considers the proposed 2015 Ancillary Service Methodology and the motion solely on the basis of system reliability. The motion carried unanimously. Constraint Management During Energy Emergency Alerts (EEAs) Nodal Protocol Revision Request (NPRR) 642, Constraint Management During Energy Emergency Alerts Chad Thompson presented NPRR642 for consideration, reviewing its background, proposed changes to procedure, and likely implementation. Market Participants discussed the 10/2/14 Luminant comments and discussed transparency regarding emergency events and out-of-market actions taken by ERCOT; preserving ERCOT Operators’ flexibility to act timely to preserve system reliability; and impacts to price signals should actions be taken during Advisories or Watches. Market Participants proposed additional language revisions. Mr. Greer moved to endorse NPRR642 as amended by the 10/2/14 Luminant comments and as revised by ROS/Wholesale Market Subcommittee (WMS). Mr. R. Jones seconded the motion. The motion carried unanimously NOGRR135, Constraint Management During Energy Emergency Alerts Mr. R. Jones moved to table NOGRR135. Dana Showalter seconded the motion. The motion carried unanimously. Update per TAC re New Generation Commissioning Ted Hailu reported on efforts to improve the Resource Interconnection Handbook, in particular the checklist for Stage 3: Synchronizing, Commissioning, and Commercial Operations. Mr. Hailu noted that work continues within the Qualified Scheduling Entity (QSE) Managers Working Group; that ERCOT Staff is consolidating Market Participant comments and that additional comment and input is appreciated at ClientServices@ercot.com; and that updates will be provided at WMS and ROS.

Other Business 2015 Meeting Dates Brittney Albracht reviewed the 2015 ROS meeting dates. There were no objections. Planning Geomagnetic Disturbance Task Force Jeff Billo reported that he would propose the formation of a Planning Geomagnetic Disturbance Task Force to address a coming North American Electric Reliability Corporation (NERC) Transmission Planning (TPL) Standard, and that a draft scope will be available for consideration at the next ROS meeting. TAC Update Mr. Hatfield reviewed the disposition of Revision Requests considered at the September 25, 2014 TAC meeting, and noted TAC discussion of the Voltage Reduction Task Force (VRTF) report, including limiting voltage reduction to EEAs versus other opportunities to deploy voltage reduction, and a request to review eventual findings regarding implementation costs and impacts to Load. Mr. Hatfield added that WMS will also discuss the VRTF report. Review 2014 ROS Goals Ms. Showalter reviewed the status of the 2014 ROS Goals.

Adjournment Mr. Hatfield adjourned the October 6, 2014 ROS meeting at 2:32 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/10/20141006-ROSWMS