## Slide 1: RMS/COPS Workshop I IDR Meter Protocol Requirement Threshold
November 5, 2014
Update to COPS

## Slide 2: 10.20.14 Web Conference
Reviewed and Discussed:
  ERCOT Protocols and Retail Market Guide Requirements
  TDSPs’ Data Processes for IDR vs. AMS Metered Premises
    IDR Data Flow Overview
    AMS Data Flow Overview
ERCOT provided a report of the number of ESI IDs currently meeting IDR Threshold Requirements

## Slide 3: Does ESI ID Qualify for BUSIDRRQ?
Pull a list of all competitive BUSIDRRQ ESI IDs where:
  esh.stoptime is null (ESI ID record is active)
  losscode <> “T” (ESI ID is connected at a distribution voltage)
  mrecode <> “65” (ESI ID is read by a TDSP)
  status <> “I” (ESI ID is active or de-energized)
Pull all interval data for identified ESI IDs from 1/1/2002 to present
Calculate monthly max kW values
Determine if ESI ID monthly max values exceed a specified threshold by occurring twice in a twelve month period

## Slide 4: BUSIDRRQ Counts by Load

## Slide 5: Percent Actual/IDR for Initial Settlements

## Slide 6: Percent of Load by Meter Type

## Slide 7: ERCOT’s Protocol Section: 18.6.1
Should the IDR Mandatory Installation Threshold Be Increased, Eliminated or Continue as shown in Protocols Section 18.6?
  Installation and Use of Interval Data Recorder Meters:
    18.6.1 Interval Data Recorder Meter Mandatory Installation Requirements
      (1) Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having
      either:
        A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or
        (b) Service provided at transmission voltage (above 60 kV).

## Slide 8: Discussion, Comments & Homework
http://www.ercot.com/calendar/2014/10/20141020-IDRWORKSHOP
Responses due to Kathy.Scott@CenterPointEnergy.com NLT Wednesday, November 12, 2014 at 5:00 PM

## Slide 9: Next IDR Meter Threshold Workshop II
RMS/COPS Workshop II - IDR Meter Protocol Requirement Threshold
December 2nd, 1:30 - 4:00 pm, following the RMS meeting
  http://ercot.webex.com
    Meeting Number: 654 980 612
    Meeting Password: Workshop2 Audio Dial-In: 1.877.668.4493
  http://www.ercot.com/calendar/2014/12/20141202-IDRWORKSHOP

## Slide 10: Questions